## Sheet4
SN | KFSHRC Code | Item Specification | UNIT | QUANTITY | Manufacturer | Country Of Origin | Supplier | SFDA. NO | Trade Name | Item Validity Total Shelf Life (months) | Catalog Number | Volume/ Package Size | Quantity Quoted | Unit Price (SR) | Unit Price In Writing (SR) | Total Price (SR) | Free Of Charge % | Company Comments & Remarks | Delivery Period | First Shipment Quantity | First Shipment Delivery Period | Recommended cat. Number
1 | 338300 | AIRWAY ORAL PHARYNGEAL GUEDEL WHITE 70MM PLASTIC SEMIRIGID SIZE 1 INDIVIDUALLY WRAP (54) | EACH | 2000 | [17 empty] | GT016-100-1 (or Equivalent)
2 | 338330 | AIRWAY ORAL PHARYNGEAL BERMAN DUAL CHANNEL 80MM SMALL ADULT NON STERILE DISPOSABLE (54) | EACH | 200 | [17 empty] | GT016-100-000 (or Equivalent)
3 | 342271702 | HUMIDIFIER BUBBLE EMPTY 300ML,6PSI FOR OXYGEN THERAPY, CASE/50, HCS64377 | EACH | 600 | [17 empty] | HCS64377 (or Equivalent)
4 | 342271707 | CANNULA NASAL OXYGEN ADULT WITH 7.6M SUPPLY TUBE | EACH | 600 | [17 empty] | 1127794 (or Equivalent)
5 | 382503 | CATHETER SUCTION TRAY - SIZE 14FR, 50/CS | EACH | 18000 | [17 empty] | DYND40982-MEDLINE (or Equivalent)
6 | 382615 | CATHETER CLOSED SUCTION SYSTEM 12FR WITH DOUBLE SWIVEL ELBOWS ENDOTRACHEAL 54CM (57) | EACH | 3600 | [17 empty] | 2160-5 (or Equivalent)
7 | 413734 | EXCHANGER HEAT MOISTURE TRACHEOSTOMY WITH SPEECH VALVE (54) | EACH | 21600 | [17 empty] | 7704 (or Equivalent)
8 | 73840 | CONSUMABLE MEDICAL CARBON DIOXIDE GRADE 2.5 (99.5%) GAS REFILLING 25KG K CYLINDER | EACH | 48 | [17 empty] | MEDICAL CARBON DIOXIDE GR (or Equivalent)
9 | 30013104 | FACE MASK FULL AMARA SMALL, 1090221, (RCS-TAKE HOME SUPPLIES) | EACH | 50 | [17 empty] | 1090221 (or Equivalent)
10 | 30013105 | FACE MASK FULL AMARA MEDIUM, 1090225, (RCS-TAKE HOME SUPPLIES) | EACH | 50 | [17 empty] | 1090225 (or Equivalent)
11 | 30013106 | FACE MASK FULL AMARA LARGE, 1090228, (RCS-TAKE HOME SUPPLIES) | EACH | 50 | [17 empty] | 1090228 (or Equivalent)
12 | 30013116 | NASAL MASK WISP MULTI SIZE PACKAGE, 1094061, (RCS-TAKE HOME SUPPLIES) | EACH | 200 | [17 empty] | 1094061 (or Equivalent)
13 | 30013117 | NASAL MASK NUANCE MULTI SIZE PACKAGE, 1105168, (RCS-TAKE HOME SUPPLIES) | EACH | 50 | [17 empty] | 1105168 (or Equivalent)
14 | 30013118 | NASAL DREAM WEAR MULTI SIZE PACKAGE,1116696, (RCS-TAKE HOME SUPPLIES) | EACH | 50 | [17 empty] | 1116720 (or Equivalent)
15 | 310440337 | BLADE LARYNGOSCOPE MACINTOSH SIZE 4.0 KARL STORZ | EACH | 1 | [17 empty] | 8403BXC (or Equivalent)
16 | 310440338 | BLADE LARYNGOSCOPE MACINTOSH SIZE 3.0 KARL STORZ | EACH | 1 | [17 empty] | 8403AXC (or Equivalent)
17 | 310440340 | BLADE VIDEO LARYNGOSCOPE C-MAC D-BLADE | EACH | 1 | [17 empty] | 8401C (or Equivalent)
18 | 314271607 | TRACHEOSTOMY TUBE TWIST PLUS WITH LOW PRESSURE CUFF SYSTEM DIAMETER, 7MM X 9.8MM | EACH | 10 | [17 empty] | 311-07 (or Equivalent)
19 | 314271609 | TRACHEOSTOMY TUBE TWIST PLUS WITH DOUBLE FENESTRATED WITH LOW PRESSURE CUFF SYSTEM DIAMETER, 7MM X 9.8MM | EACH | 10 | [17 empty] | 312-07 (or Equivalent)
20 | 314348729 | MOBILE CART FOR SERVO-U VENTILATOR | EACH | 3 | [17 empty] | 6693695 (or Equivalent)
21 | 321998102 | TRAY TRACHEOSTOMY PERCUTANEOUS INTRODUCER SET WITH EZ-PASS HYDROPHILIC COATING (CIAGLIA BLUE RHINO) STERILE | SET | 120 | [17 empty] | C-PTIS-100-WCE-HC (or Equivalent)
22 | 69900814 | CIRCUIT BREATHING ANAESTHESIA PEDIATRIC EXPANDABLE (54) | EACH | 2400 | [17 empty] | GT032-100-P (or Equivalent)
23 | 426037 | FIT TEST SENSITIVITY SOLUTION FOR N95 RESPIRATOR TESTING MASK BX/6 (27) | EACH | 432 | [17 empty] | 70070709657 (or Equivalent)
24 | 450700 | FLOW SENSOR PREVENT® PNEUMOTACHS FOR PFT (54) | EACH | 1800 | [17 empty] | 758100-004 (or Equivalent)
25 | 467700 | CANNULA NASAL OXYGEN PEDIATRIC 84" TUBING PLASTIC 1/4" FEMALE CONNECTOR DISPOSABLE (59) | EACH | 5000 | [17 empty] | 1163000 (or Equivalent)
26 | 467710 | CANNULA NASAL OXYGEN INFANT 7"TUBING OVER EAR-STYLE 1/4" FEMALE CONNECTOR (59) | EACH | 3500 | [17 empty] | 1164000 (or Equivalent)
27 | 467801 | CANNULA NASAL OXYGEN ADULT 84" TUBING PLASTIC HEADBAND CLEAR (59) | EACH | 25000 | [17 empty] | TL013-100-A (or Equivalent)
28 | 468292 | AEROCHAMBER WITH MASK FOR ADULT (72) | EACH | 900 | [17 empty] | 10153256050 (or Equivalent)
29 | 468804 | TUBING OXYGEN CONNECTING 84"DUAL 1/4"FEMALE CONNECTOR DISPOSABLE (59) | EACH | 12000 | [17 empty] | 1174000 (or Equivalent)
30 | 469716 | MASK OXYGEN ADULT NON-REBREATHER 84" TUBING 1/4" FEM CONNECTOR VINYL U-CHIN STYLE (25) | EACH | 3500 | [17 empty] | 1102000 (or Equivalent)
31 | 469738 | MASK OXYGEN SIMPLE ADULT SHORT STYLE MEDIUM CONCENTRATE 1.8M TUBING ELONGATED (25) | EACH | 18000 | [17 empty] | 1115000 (or Equivalent)
32 | 469742 | MASK NON-REBREATHING PEDIATRIC (25) | EACH | 1200 | [17 empty] | 1192000 (or Equivalent)
33 | 469750 | MASK OXYGEN PEDIATRIC-SMALL SHORT STYLE MEDIUM CONCENTRATION 84" TUBE (25) | EACH | 9000 | [17 empty] | 1196000 (or Equivalent)
34 | 471001 | MASK AIR ENTRAINMENT MULTI-VENT ADULT DISPOSABLE (27) | EACH | 2000 | [17 empty] | 1117005 (or Equivalent)
35 | 472059 | HOLDER TUBE TRACHEOSTOMY ANTI-DISCONNECT TRACHSTAY ADULT/PEDIATRIC (54) | EACH | 1800 | [17 empty] | 11270 (or Equivalent)
36 | 524903 | TRAY THORACENTESIS 7"CATH 14GX2" NEEDLE 60CC LL SYRINGE STERILE DISPOSABLE (69) | EACH | 360 | [17 empty] | AK-01000-J (or Equivalent)
37 | 539005 | VALVE BIOPSY ENDOSCOPE DISPOSABLE (57) | EACH | 240 | [17 empty] | NGL2167 (MAJ-210) (or Equivalent)
38 | 540899 | TUBE TRACHEOSTOMY UNFENESTRATED CUFFLESS SIZE 5, INNER DIAMETER 5MM, OUTER DIAMETER 8.6MM, LENGTH 66MM, STERILE DISPOSABLE (54) | EACH | 216 | [17 empty] | 303-05 (or Equivalent)
39 | 540904 | TUBE TRACHEOSTOMY UNFENESTRATED CUFFLESS SIZE 7, INNER DIAMETER 7MM, OUTER DIAMETER 10.4MM, LENGTH 74MM, STERILE DISPOSABLE (54) | EACH | 240 | [17 empty] | 303-07 (or Equivalent)
40 | 540912 | TUBE TRACHEOSTOMY TRACOE MINI PEDIATRIC POLYURETHANE (DEHP) FREE 3 (ID 3MM & OD 4.3MM LENGTH 36MM) (54) | EACH | 72 | [17 empty] | 355-3.0 (or Equivalent)
41 | 541305 | TUBE TRACHEOSTOMY TRACOE MINI PEDIATRIC POLYURETHANE (DEHP) FREE 5 (ID 5MM & OD 7MM LENGTH 50MM) (54) | EACH | 180 | [17 empty] | 355-5.0 (or Equivalent)
42 | 542014 | TUBE TRACHEOSTOMY FENESTRATED CUFFLESS SIZE 8, INNER DIAMETER 8MM, OUTER DIAMETER 11.4MM, LENGTH 76MM, STERILE DISPOSABLE (54) | EACH | 120 | [17 empty] | 304-08 (or Equivalent)
43 | 542038 | TUBE TRACHEOSTOMY TRACOE MINI NEONATE POLYURETHANE (DEHP) FREE 4 (ID 4MM & OD 5.6MM LENGTH 36MM) (54) | EACH | 120 | [17 empty] | 350-4.0 (or Equivalent)
44 | 72200062 | TUBING EXTENSION SET CUSTOMIZED RHEOPARIN COATED STERILE | EACH | 90 | [17 empty] | AG70189 (or Equivalent)
45 | 77700005 | BITE PROOF BITE BLOCK | BX/50 | 15 | [17 empty] | 11040 / 11045 (or Equivalent)
46 | 77700039 | INTRODUCER AIRWAY INTUBATING 8FR 35CM, C-CAE-8.0-35-FII | EACH | 40 | [17 empty] | C-CAE-8.0-35-FII (or Equivalent)
47 | 77700040 | ADAPTER MDI HOLDING CHAMBER ACE WITH LARGE MASK | EACH | 25 | [17 empty] | 11-1120 (or Equivalent)
48 | 77700042 | ADAPTER MDI HOLDING CHAMBER ACE WITH SMALL MASK | EACH | 40 | [17 empty] | 11-1122 (or Equivalent)
49 | 77700043 | ADAPTER MDI HOLDING CHAMBER ACE WITH INFANT MASK | EACH | 40 | [17 empty] | 11-1123 (or Equivalent)
50 | 77700158 | MASK LARYNGEAL AIRWAY SIZE 3 | EACH | 120 | [17 empty] | 125030 (or Equivalent)
51 | 77700159 | MASK LARYNGEAL AIRWAY SIZE 4 | EACH | 120 | [17 empty] | 125040 (or Equivalent)
52 | 77700181 | HOLDER ETT LARGE BLUE NEOBAR | BX/5 | 110 | [17 empty] | N713-LARGE (BLUE) (or Equivalent)
53 | 77700222 | INSTRUMENT LARYNGOSCOPE HANDLE PEDIATRIC | EACH | 30 | [17 empty] | 5-0237-01 (or Equivalent)
54 | 77700224 | BLADE LARYNGOSCOPE MACINTOSH SIZE 1.0 | EACH | 30 | [17 empty] | 5-5052-01 (or Equivalent)
55 | 77700225 | BLADE LARYNGOSCOPE MACINTOSH SIZE 2.0 | EACH | 30 | [17 empty] | 5-5052-02 (or Equivalent)
56 | 77700226 | BLADE LARYNGOSCOPE MACINTOSH SIZE 3.0 | EACH | 50 | [17 empty] | 5-5052-03 (or Equivalent)
57 | 77700227 | BLADE LARYNGOSCOPE MACINTOSH SIZE 4.0 | EACH | 30 | [17 empty] | 5-5052-04 (or Equivalent)
58 | 77700228 | BLADE LARYNGOSCOPE MILLER SIZE 0 | EACH | 50 | [17 empty] | 5-5062-00 (or Equivalent)
59 | 77700229 | (RESPIRATORY) BLADE LARYNGOSCOPE MILLER SIZE 1 | EACH | 50 | [17 empty] | 5-5062-01 (or Equivalent)
60 | 77700230 | (RESPIRATORY) BLADE LARYNGOSCOPE MILLER SIZE 2 | EACH | 50 | [17 empty] | 5-5062-02 (or Equivalent)
61 | 77700231 | (RESPIRATORY) BLADE LARYNGOSCOPE MILLER SIZE 3 | EACH | 50 | [17 empty] | 5-5062-03 (or Equivalent)
62 | 77700232 | (RESPIRATORY) BLADE LARYNGOSCOPE MILLER SIZE 4 | EACH | 50 | [17 empty] | 5-5062-04 (or Equivalent)
63 | 77700268 | CONTACT GEL FOR V-SIGN SENSOR, | BOTTLE | 60 | [17 empty] | GEL-04 (or Equivalent)
64 | 77700275 | TUBE TRACHEAL EXCHANGER FOR SIZE 4.0-6.0MM X 81CM | EACH | 40 | [17 empty] | 5-24002 (or Equivalent)
65 | 77700276 | TUBE TRACHEAL EXCHANGER FOR SIZE 6.5-8.5MM X 81CM | EACH | 25 | [17 empty] | 5-24004 (or Equivalent)
66 | 77700322 | TRAP MOISTURE FOR SERVO I EXPIRATORY CASSETTE | EACH | 30 | [17 empty] | 0 (or Equivalent)
67 | 77700379 | (RESPIRATORY) CANNULA NASAL OXYGEN PREEMIE RAM | BOX/10 | 60 | [17 empty] | N4901 (or Equivalent)
68 | 77700380 | (RESPIRATORY) CANNULA NASAL OXYGEN NEWBORN RAM | BOX/10 | 60 | [17 empty] | N4902 (or Equivalent)
69 | 77700387 | (RESPIRATORY) HOLDER ETT XL ROSE NEOBAR, BX/5 | BX/5 | 175 | [17 empty] | N714 (or Equivalent)
70 | 77700395 | MEMBRANING KIT FOR TCM COMBI M, 12 PREPARATORS, WITH ELECTROLYTE BOTTLE 10ML | KIT | 12 | [17 empty] | 905-868 (or Equivalent)
71 | 77700396 | FIXATION KIT N2O WITH ROLL OF 60 FIXATION RING 20MM & CONTACT SOLUTION 1 VIAL | KIT | 12 | [17 empty] | 905-873 (or Equivalent)
72 | 77700398 | CALIBRATION GAS 1, 0.2 LITER, 7.5% CO2 20.9% O2, FOR RADIOMETER TCM COMBI M | CYLINDER | 12 | [17 empty] | 962-187 (or Equivalent)
73 | 77700419 | (RESPIRATORY) CANNULA OXYGEN MICRO RAM | EACH | 250 | [17 empty] | N4900 (or Equivalent)
74 | 77700421 | BREATHING CIRCUIT INCLUDING CHAMBER FOR AIRVO 2, 900PT501 | EACH | 350 | [17 empty] | 900PT501 (or Equivalent)
75 | 77700422 | TRACHEOSTOMY DIRECT CONNECT FOR AIRVO 2 BREATHING CIRCUIT, OPT870 | EACH | 600 | [17 empty] | OPT870 (or Equivalent)
76 | 77700426 | NASAL CANNULA OPTIFLOW FOR AIRVO 2 INFANT, OPT316 | EACH | 550 | [17 empty] | OPT316 (or Equivalent)
77 | 77700427 | NASAL CANNULA OPTIFLOW FOR AIRVO 2 PEDIATRIC, OPT318 | EACH | 720 | [17 empty] | OPT318 (or Equivalent)
78 | 77700429 | BREATHING CIRCUIT JUNIOR INCLUDING CHAMBER FOR AIRVO 2 | EACH | 250 | [17 empty] | 900PT531 (or Equivalent)
79 | 77700434 | SINGLE USE DELIVERY AND SAMPLING KIT SIZE 22MM FOR NITRIC OXIDE DELIVERY SYSTEM | KIT | 300 | [17 empty] | NOXKIT-2-22 (or Equivalent)
80 | 77700435 | SINGLE USE AND SAMPLING KIT SIZE 10MM DELIVERY FOR NITRIC OXIDE DELIVERY SYSTEM | KIT | 300 | [17 empty] | NOXKIT-1-10 (or Equivalent)
81 | 77700438 | VALVE ONE-WAY 22 MM FOR USE WITH HFOV/NOXBOX HIGH FREQUENCY VENTILATOR | EACH | 50 | [17 empty] | 1921000 (or Equivalent)
82 | 310440356 | INSTRUMENT LARYNGOSCOPE SMALL HANDLE WITH PRO BLADE SIZE 00 STERILE DISPOSABLE | EACH | 300 | [17 empty] | 040-350N (or Equivalent)
83 | 310440357 | INSTRUMENT LARYNGOSCOPE SMALL HANDLE WITH PRO BLADE SIZE 0 STERILE DISPOSABLE | EACH | 300 | [17 empty] | 040-350 (or Equivalent)
84 | 310440358 | INSTRUMENT LARYNGOSCOPE SMALL HANDLE WITH PRO BLADE SIZE 1 STERILE DISPOSABLE | EACH | 300 | [17 empty] | 040-351 (or Equivalent)
85 | 311601800 | FILTER AIR DISPOSABLE FOR USE WITH HUMIDIFIER MACHINE | PACK | 200 | [17 empty] | 900PT913 (or Equivalent)
86 | 311601801 | KIT OXYGEN INLET EXTENSION FOR USE WITH HUMIDIFIER MACHINE | EACH | 10 | [17 empty] | 900PT422 (or Equivalent)
87 | 311601802 | COVER CLEAN STORAGE FOR USE WITH HUMIDIFIER MACHINE | PACK | 50 | [17 empty] | 900PT603 (or Equivalent)
88 | 311602330 | TUBE ENDOTRACHEAL PEDIATRIC KIMVENT* MICROCUFF* ORAL/NASAL 4 MM | EACH | 300 | [17 empty] | 35113 (or Equivalent)
89 | 311602331 | TUBE ENDOTRACHEAL PEDIATRIC KIMVENT* MICROCUFF* ORAL/NASAL 4.5 MM | EACH | 400 | [17 empty] | 35114 (or Equivalent)
90 | 311602424 | TUBE TRACHEOSTOMY FLEXIBLE ADULT SIZE 10 CUFFED WITH REUSABLE INNER CANNULA 9 0 MM ID 13 8 MM OD 79 MM LENGTH | EACH | 10 | [17 empty] | 10CN10R (or Equivalent)
91 | 311606105 | MASK FULL FACE BITRAC™ NIV WITH STANDARD ELBOW WITH SILICONE FOREHEAD PAD AND HEAD STRAP ADULT SMALL | EACH | 150 | [17 empty] | 313-9009 (or Equivalent)
92 | 311606106 | MASK FULL FACE BITRAC™ NIV WITH STANDARD ELBOW WITH SILICONE FOREHEAD PAD AND HEAD STRAP ADULT MEDIUM | EACH | 300 | [17 empty] | 313-9010 (or Equivalent)
93 | 311606107 | MASK FULL FACE BITRAC™ NIV WITH STANDARD ELBOW WITH SILICONE FOREHEAD PAD AND HEAD STRAP ADULT LARGE | EACH | 200 | [17 empty] | 313-9011 (or Equivalent)
94 | 311606110 | ACAPELLA CHOICE VIBRATORY PEP THERAPY SYSTEM WITH MOUTHPIECE | EACH | 500 | [17 empty] | 27-7000 (or Equivalent)
95 | 311607414 | MASK NASAL CRADLE STANDARD FRAME WITH HEADGEAR CUSHION SIZES SMALL AND MEDIUM | EACH | 180 | [17 empty] | 63815 (or Equivalent)
96 | 311607415 | MASK PILLOW NASAL WITH HEADGEAR MULTI SIZES SMALL AND MEDIUM LARGE | EACH | 120 | [17 empty] | 62901 (or Equivalent)
97 | 311607416 | MASK FULL FACE WITH QUIET AIR ELBOW SMALL SIZE | EACH | 100 | [17 empty] | 64110 (or Equivalent)
98 | 311607417 | MASK FULL FACE WITH QUIET AIR ELBOW MEDIUM SIZE | EACH | 80 | [17 empty] | 64111 (or Equivalent)
99 | 311607418 | MASK NASAL WITH SILICONE CUSHION SMALL SIZE | EACH | 30 | [17 empty] | 63509 (or Equivalent)
100 | 311607419 | MASK NASAL WITH SILICONE CUSHION MEDIUM SIZE | EACH | 60 | [17 empty] | 63511 (or Equivalent)
101 | 311607420 | MASK NASAL WITH SILICONE CUSHION LARGE SIZE | EACH | 30 | [17 empty] | 63512 (or Equivalent)
102 | 311607421 | MASK FULL FACE WITH SILICONE CUSHION SMALL SIZE | EACH | 60 | [17 empty] | 63405 (or Equivalent)
103 | 311607422 | MASK FULL FACE WITH SILICONE CUSHION MEDIUM SIZE | EACH | 100 | [17 empty] | 63406 (or Equivalent)
104 | 311607423 | MASK FULL FACE WITH SILICONE CUSHION LARGE SIZE | EACH | 60 | [17 empty] | 63407 (or Equivalent)
105 | 382630 | CATHETER CLOSED SUCTION SYSTEM 8FR WITH ELBOW ENDOTRACHEAL TUBE ADAPTERS 35.5 CM (57) | EACH | 180 | [17 empty] | 208-5 (or Equivalent)
106 | 388408 | CONNECTOR OXYGEN OMNI-FLEX SYSTEM DISPOSABLE (50) | EACH | 4000 | [17 empty] | BAX3215 (or Equivalent)
107 | 422715000203 | TUBE ENDOTRACHEAL ORAL/RAE CUFFED 8.0MM 115-80(JED) | EACH | 30 | [17 empty] | 111780MM8.0 (or Equivalent)
108 | 472057 | HOLDER TUBE TRACHEOSTOMY DALE 240 BLUE (54) | EACH | 6500 | [17 empty] | 240 (or Equivalent)
109 | 314271620 | KIT STARTER ULTRA WITH ADAPTER AND OXYGEN TUBING | EACH | 300 | [17 empty] | AG-AS7500-EU (or Equivalent)
110 | 314271621 | NEBULIZER CONTINUOUS SYRINGE | EACH | 300 | [17 empty] | AG-AS3085 (or Equivalent)
111 | 314271622 | NEBULIZER CONTINUOUS TUBE SET | EACH | 300 | [17 empty] | AG-AS3075 (or Equivalent)
112 | 337001 | BLADE GLIDESCOPE SIZE 1 DISPOSABLE (59) | EACH | 200 | [17 empty] | 0574-0026 (or Equivalent)
113 | 337002 | BLADE GLIDESCOPE SIZE 2 DISPOSABLE (59) | EACH | 200 | [17 empty] | 0574-0027 (or Equivalent)
114 | 65900251 | BLADE LARYNGOSCOPE SIZE 00 REUSABLE | EACH | 30 | [17 empty] | 68065 (or Equivalent)
115 | 77700044 | THERAPEP POSITIVE EXPIRATORY PRESSURE THERAPY SYSTEM | EACH | 300 | [17 empty] | 23-0757 (or Equivalent)
116 | 77700337 | (RESPIRATORY) FACE MASK FULL FOR NON INVANSIVE POSITIVE PRESSURE VENTILATION WITH HEADSTRAP (ADULT SMALL) | EACH | 100 | [17 empty] | 313-9055W (or Equivalent)
117 | 77700338 | (RESPIRATORY) FACE MASK FULL NON INVANSIVE POSITIVE PRESSURE VENTILATION WITH HEADSTRAP (SMALL) | EACH | 100 | [17 empty] | 313-9053W (or Equivalent)
118 | 77700404 | FACE MASK ORO-NASAL SE YELLOW HEADGEAR CRAYONS XX SMALL | EACH | 5 | [17 empty] | 1083086 (or Equivalent)
119 | 77700405 | FACE MASK ORO-NASAL SE SE YELLOW HEADGEAR CRAYONS X SMALL | EACH | 20 | [17 empty] | 1083085 (or Equivalent)
120 | 77700416 | ADULT FACEMASK TOTAL WITH HEADGEAR SMALL REUSABLE PERFORMAX EE AND SE | EACH | 20 | [17 empty] | 1052553 (or Equivalent)
121 | 77700417 | ADULT FACEMASK TOTAL WITH HEADGEAR LARGE REUSABLE FOR PERFORMAX EE AND SE | EACH | 20 | [17 empty] | 1052554 (or Equivalent)
122 | 77700421 | BREATHING CIRCUIT INCLUDING CHAMBER FOR AIRVO 2, 900PT501 | EACH | 360 | [17 empty] | 900PT501 (or Equivalent)
123 | 77700423 | NASAL CANNULA OPTIFLOW FOR AIRVO 2 SMALL, OPT842 | EACH | 120 | [17 empty] | OPT842 (or Equivalent)
124 | 77700424 | NASAL CANNULA OPTIFLOW FOR AIRVO 2 MEDIUM, OPT844 | EACH | 360 | [17 empty] | OPT844 (or Equivalent)
125 | 77700425 | NASAL CANNULA OPTIFLOW FOR AIRVO 2 LARGE, OPT846 | EACH | 240 | [17 empty] | OPT846 (or Equivalent)
126 | 77700426 | NASAL CANNULA OPTIFLOW FOR AIRVO 2 INFANT, OPT316 | EACH | 40 | [17 empty] | OPT316 (or Equivalent)
127 | 77700427 | NASAL CANNULA OPTIFLOW FOR AIRVO 2 PEDIATRIC, OPT318 | EACH | 160 | [17 empty] | OPT318 (or Equivalent)
128 | 77700429 | BREATHING CIRCUIT JUNIOR INCLUDING CHAMBER FOR AIRVO 2 | EACH | 100 | [17 empty] | 900PT531 (or Equivalent)
129 | 310059200 | DOSE CALIBRATOR REFERENCE SOURCES CO-57 185MBQ, CO-60 1.85MBQ, CS-137 7.4MBQ, BA-133 9.25MBQ | SET | 1 | [17 empty] | RV-SET-1 (or Equivalent)
130 | 421421000012 | DRY ICE CO2 BLOCKS INDIVIDUALY PACKED IN PLASTIC BAG 0.5KG | EACH | 850 | [17 empty] | DRY ICE CO2 BLOCKS (or Equivalent)
| Total Number of Original Offers | 0
| Total Amount of Offered Items (Original) | 0