## Sheet1
SN | KAMC Item Code | Item Description | Category Code | Nedded QTY | Manufacturer | Country Of Origin | Supplier | SFDA. NO | Trade Name | Item Validity Total Shelf Life (months) | Catalog Number | Volume/ Package Size | Quantity Quoted | Unit Price (SR) | Unit Price In Writing (SR) | Total Price (SR) | Free Of Charge % | Company Comments & Remarks | Delivery Period | First Shipment Quantity | First Shipment Delivery Period
1 | 6600095 | TIOGLYCOLATE BROTH MEDIA (STERILE), READY TO USE BOTTLES, SIZE 28 ML, EACH BOTTLE MUST CONTAIN 10 ml medium | LAB | 3400
2 | 6600125 | INDOLE SPOT TEST, (READY TO USE AND RESULT WITH IN 2-3 MINUTES), 2-3ML/VIAL. | LBW Miscellaneous | 100
3 | 6600127 | Bile solubility test for Streptococcus pneumoniae identification | LAB | 2
4 | 6600140 | Safety subculture unit (blood culture) ITL | LAB | 4000
5 | 6600145 | TAQSCREEN MPX 96 NAT ASSAY BY REALTIME PCR FOR COBAS S201 INSTRUMENT, COMPLETE WITH ALL REAGENTS, CONTROLS AND CONSUMABLES TO PERFORM THE TEST (96 TESTS/KIT) ALSO (13 ITEM) INCLUSIVE ITEMS STARTING FROMITEM NO.786050067 TO ITEM NO 786050079 | LAB | 9648
6 | 6600163 | BCR/ABL Monitor, IVD 10 tests BCR/ABL | LAB | 2160
7 | 6600166 | FII & FV, 10 tests | LAB | 220
8 | 6600195 | PML-RARa BCR1 By Molcular Methods, 24 tests / KIT, for QIAGEN RotorGene Q & QIASYMPHONY | LAB | 1008
9 | 6600196 | PML-RARa BCR 2 By Molcular Methods, 24 tests / KIT, for QIAGEN RotorGene Q & QIASYMPHONY | LAB | 1008
10 | 6600197 | PML-RARa BCR 3 By Molcular Methods, 24 tests / KIT, for QIAGEN RotorGene Q & QIASYMPHONY | LAB | 1008
11 | 6600198 | JAK2 V617F Quantitative MutaQuant kit by real time PCR 24 tests / KIT, for QIAGEN RotorGene Q & QIASYMPHONY | LAB | 1008
12 | 6600200 | REVERSE TRANSCREPTASE KIT INCLUDING ENZYME & OTHER REAGENT TO MAKE Cdna (50 TEST/KIT) | LAB | 2592
13 | 6600202 | BCR-ABL mBCR IS-MMR Kit by real time PCR 24 tests / KIT, for QIAGEN RotorGene Q & QIASYMPHONY | LAB | 624
14 | 6600204 | QIAmp DNA Blood Mini Kit 50 tests / KIT, for QIAGEN RotorGene Q & QIASYMPHONY | LAB | 1250
15 | 6600205 | QIAmp DNA Mini Kit 50 tests / KIT, for QIAGEN RotorGene Q & QIASYMPHONY | LAB | 9200
16 | 6600206 | QIAmp RNA Blood Mini | LAB | 3760
17 | 6600210 | PHILADELPHIA Tests by Molcular Methods with Positive Controls ( BCR-ABL P190/ BCR-ABL P210/ BCR-ABL: ABL, 25 Tests / Kit) | LAB | 450
18 | 6600217 | AGAROSE MS (MOLECULAR BIOLOGY GRADE) FOR IN-HOUSE PCR, (1KG /BOTTLE ). | LAB | 3
19 | 6600229 | BKV KIT,QUANTITATION BY REAL TIME PCR ,96 SAMPLE SIZE SIZE | LAB | 192
20 | 6600286 | COOMB'S ANTIHUMAN GLOBULIN POLYSPECIFIC SERUM, 10 ML/ VIAL, | LAB | 36
21 | 6600294 | TUBE METHOD- REVERSE GROUPING DAICELL ABO CELLS (2X10 ml = 200 test) | LAB | 3600
22 | 6600349 | PLASMA D-DIMER TEST FOR (BCT,BCS AUTOMATED ANALYZERS), COMPLETE WITH ALL REAGENTS AND CONTROLS, (240TEST/KIT) | LAB | 3000
23 | 6600384 | FIBRINOGEN DETERMINATION TEST FOR STAGO INSTRUMENTS, COMPLETE WITH ALL REAGENTS & CALIBRATORS TO PERFORM THE TEST | LAB | 3840
24 | 6600432 | RAPID MALARIA TEST, ANTIGENS TO P.FALCIPARAM, P.VIVAX, P.OVALE AND P.MALARIAE IN WHOLE BLOOD WITH ALL REAGENTS, CONTROLS (MUST INCLUDING POSITIVE CONTROL), AND CONSUMABLES TO PERFORM THE TESTS | LAB | 8225
25 | 6600474 | Microscopic Slides with smooth twin colored frosted end, 26x76 mm, 1 mm thickness, polished edges, pre-cleaned with no distortion, corrosion resistance, 50-70 piece/box | LAB | 215040
26 | 6600494 | PARAFILM ROLL SIZE 4x125 INCH/ROLL | LAB | 1400
27 | 6600497 | VACCUM BLOOD COLLECTING TUBE 4 ML,POLYSTYRENE, ROUND BOTTOMED, LEAKPROOF, CAPPED WITH CONVENIENT -NOT SCREW- CAP AND STANDARD LABEL, WITHOUT ANTICOAGULANT, SINGLE USE HOLDER TO BE SUPPLIED EQUAL TO NUMBER OF NEEDLES REQUIRED I.E ONE HOLDER | LAB | 242000
28 | 6600505 | CD5 FITC, Clone L17F12, for original EURO FLOW panels, 100 test/vial | LAB | 6
29 | 6600507 | CD5 PerCP-Cy5.5, Clone L17F12, for original EURO FLOW panels | LAB | 18
30 | 6600508 | CD7 PE - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LAB | 7
31 | 6600520 | CD16 PE-Cy7, Clone 3G8, for original EURO FLOW panels, 100 test/kit | LAB | 7
32 | 6600523 | CD19 PE-Cy7, Clone J3-119, for original EURO FLOW panels, 100 TEST/KIT. | LAB | 2006
33 | 6600525 | CD22 PE - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LAB | 7
34 | 6600529 | CD33 FITC - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LAB | 7
35 | 6600530 | CD33 PE-Cy7, Clone 2D1, used for PNH and Leukemia Diagnosis, 100 test/kit | LAB | 102
36 | 6600541 | CD177 FITC, For Leukemia Diagnosis, 100 test/kit | LAB | 201
37 | 6600543 | CD61 PerCP-Cy5.5, For Leukemia Diagnosis, 50 test/kit | LAB | 6
38 | 6600545 | CD64 APC-H7, For Leukemia Diagnosis, 50 test/kit | LAB | 8
39 | 6600549 | CD79a PE - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LAB | 7
40 | 6600552 | CD103 PE - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 50 test/kit | LAB | 6
41 | 6600553 | CD117 PE, Clone 104D2, for original EURO FLOW panels | LAB | 13
42 | 6600555 | Anti-HLA-DR APC-H7, For Leukemia Diagnosis, 100 test/kit | LAB | 8
43 | 6600556 | smIg Anti-Kappa PE, Polyclonal for original EURO FLOW panels, 50 test/kit | LAB | 10
44 | 6600575 | CD163 PE, For Leukemia Diagnosis, 100 test/kit | LAB | 6
45 | 6600576 | CD235a FITC, Clone KC16, used for PNH, 100 test/kit | LAB | 3
46 | 6600594 | PEREMEABILIZING SOLUTION, 25 ML / BOTTLE | LAB | 4
47 | 6600611 | RPMI media For preservation of lymph nodes and body fluids samples, 500 ml/bottle | LAB | 4
48 | 6600661 | Tissue paper, Delicate-task Wipers, 280/box | LAB | 34160
49 | 6600667 | Microscopic Slides, 90°C Corners, Positively Charged, White Frosted End with Smooth Marking Area, Optimized to allow labelling by Pencil, Markers, Inkjet & Laser Printers | LAB | 45760
50 | 6600671 | Dispposable Microtome Blades S35 (50 Blades/Box) | LAB | 7000
51 | 6600710 | Beta Catenin Protien - 14 - Mouse Monoclonal Antibody Ready To Use for Automated Ventana Benchmark Ultra System | LAB | 4
52 | 6600732 | CD20 - L26 - Mouse Monoclonal Antibody Ready To Use for Automated Ventana Benchmark Ultra System | LAB | 15
53 | 6600736 | CD25 - 4C9 - Mouse Monoclonal Antibody Ready To Use for Automated Ventana Benchmark Ultra System | LAB | 3
54 | 6600762 | Cytokeratin 7 - SP52 - Rabbit Monoclonal Antibody Ready To Use for Automated Ventana Benchmark Ultra System | LAB | 570
55 | 6600767 | EBV (Epstein Barr Virus) - CS1-4 - Mouse Cocktail Antibody Ready To use for Automated ventana Benchmark Ultra System | LAB | 5
56 | 6600788 | MUM1 - MRQ-43 - Rabbit Monoclonal Antibody Ready To Use for Automated Ventana Benchmark Ultra System | LAB | 6
57 | 6600805 | Uroplakin III - SP73 - Rabbit Monoclonal Antibody Ready To Use for Automated Ventana Benchmark Ultra System | LAB | 50
58 | 6600807 | WT1 - Wilms' Tumor Protein - 6F-H2 - Mouse Monoclonal Antibody Ready To Use for Automated Ventana Benchmark Ultra System | LAB | 5
59 | 6600813 | C-MYC - 9E11 - Mouse Monoclonal Antibody Ready To Use for Automated Ventana Benchmark Ultra System | LAB | 3
60 | 6600908 | Decalcification Solution | LAB | 10
61 | 6600911 | EA50, Ready To Use, Cytology Staining Solution | LAB | 37
62 | 6600912 | Eosin Y Alcoholic, Ready To Use, Histology Staining Solution | LAB | 45
63 | 6600930 | HIGH DENSITY LIPOPROTEIN (HDL) TEST FOR DIMENSION, Vista, Atellica ANALYZER,(480 TEST/ KIT),COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO.780181714 | LAB | 24000
64 | 6600973 | AMIKACIN TEST FOR DIMENSION ANALYZER, (80 TEST/ KIT), COMPLETE WITH ALL REAGENTS,CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 3
65 | 6601074 | ALPHA-FETOPROTEIN (AFP) TEST FOR SIEMENS ADVIA CENTAUR, (100 TEST/KIT), COMPLETE WITH ALL REAGENTS, CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES,THIS ITEM & THE NEXT (32) ITEM STARTING FROM ITEM NO.780240700 TO ITEM NO 780240732, MUST | LAB | 2200
66 | 6601075 | ANTI -THYROGLOBIN (ANTI-T.G.) TEST FOR SIEMENS ADVIA CENTAUR, (100 TEST/KIT), COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST,THIS ITEM & ITEM NO .780240700, MUST BE DELIVERED FROM THE SAME MA | LAB | 1200
67 | 6601076 | THYRO PEROXIDASE ANTIBODIES (ANTI-TPO) TEST FOR SIEMENS ADVIA CENTAUR, (100 TEST/KIT) ,COMPLETE WITH ALL REAGENTS , CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM | LAB | 1900
68 | 6601077 | BNP REAGENT FOR ADVIA CENTAUR, COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 8200
69 | 6601078 | CANCER ANTIGEN 15-3 (CA15-3) TEST FOR SIEMENS ADVIA CENTAUR, 100 TEST/ KIT,COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 1800
70 | 6601079 | CANCER ANTIGEN 125 (CA 125) TEST FOR SIEMENS ADVIA CENTAUR, 100 TEST/ KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 3600
71 | 6601080 | CANCER ANTIGEN 19-9 (CA19-9) TEST FOR SIEMENS ADVIA CENTAUR, 50 TEST/ KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 3250
72 | 6601081 | CARCINOEMBRYONIC ANTIGEN (CEA) TEST FOR SIEMENS ADVIA CENTAUR,100 TEST/ KIT, COMPLETE WITH ALL REAGENTS, CONTROLS,CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 2800
73 | 6601082 | C-PEPTIDE TEST FOR SIEMENS ADVIA CENTAUR,100 TEST/KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 400
74 | 6601083 | CORTISOL TEST FOR SIEMENS ADVIA CENTAUR, 250 TEST/KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 3600
75 | 6601086 | ESTRADIOL TEST FOR SIEMENS ADVIA CENTAUR,100 TEST/KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 1800
76 | 6601088 | FREE TRIIODOTHYRONINE (FT3) TEST FOR SIEMENS ADVIA CENTAUR, 250 TEST/KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUF | LAB | 16000
77 | 6601091 | FOLATE REAGENT FOR ADVIA XPT COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 1600
78 | 6601093 | PARATHYROID HORMONE (PTH) TEST FOR SIEMENS ADVIA CENTAUR , 100 TEST/KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 6900
79 | 6601099 | PROCALCITONIN TEST FOR SIEMENS ADVIA CENTAUR, 100 TEST/ KIT, COMPLETE WITH ALL REAGENTS, CONTROLS,CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 5000
80 | 6601100 | TOTAL PROSTATIC SPECIFIC ANTIGEN (TPSA) TEST FOR SIEMENS ADVIA CENTAUR,100 TEST/KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTU | LAB | 2500
81 | 6601101 | FREE PROSTATIC SPECIFIC ANTIGEN ( F PSA) TEST FOR SIEMENS ADVIA CENTAUR, 100 TEST/KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFAC | LAB | 2500
82 | 6601105 | THYROID STIMULATING HORMONE (TSH) TEST FOR SIEMENS ADVIA CENTAUR, 100 TEST/KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST ,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 21900
83 | 6601107 | BETA HUMAN CHROIONIC GONADOTROPIN (B HCG) TEST FOR SIEMENS ADVIA CENTAUR, 50 TEST/ KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST, THIS ITEM & ITEM NO.780240700 MUST BE DELIVERED FROM THE SAME MANUFA | LAB | 1200
84 | 6601108 | TROPONIN I (ULTRA TROPONIN I) TEST FOR SIEMENS ADVIA CENTAUR,100 TEST/KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 5300
85 | 6601110 | VITAMIN D ( TOTAL) TEST FOR SIEMENS ADVIA CENTAUR, 100 TEST/ KIT, COMPLETE WITH ALL REAGENTS, CONTROLS,CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240700, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 23000
86 | 6601111 | CARBAMAZEPINE REAGENT FOR ADVIA XPT COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 1200
87 | 6601113 | DIGOXIN REAGENT FOR ADVIA XPT COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 700
88 | 6601114 | GENTAMICIN REAGENT FOR ADVIA XPT COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 200
89 | 6601116 | PHENYTOIN REAGENT FOR ADVIA XPT COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 600
90 | 6601119 | VALPROIC ACID REAGENT FOR ADVIA XPT COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 400
91 | 6601120 | VANCOMYCIN REAGENT FOR ADVIA XPT COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 2880
92 | 6601206 | CARBAMAZEPINE TEST FOR ARCHITECT (ci8200,ci4100,i1000sr,i2000sr modules) ANALYZER,COMPLETE WITH ALL REAGENTS,CONTROLS,STANDARDS,CALIBRATORS AND ACCESSORIES TO PERFORM THE TEST. | LAB | 100
93 | 6601211 | STAT CK-MB MASS TEST FOR ARCHITECT (ci8200,ci4100,i1000sr,i2000sr modules) (100TEST/KIT),COMPLETE WITH ALL REAGENTS,CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST. | LAB | 7100
94 | 6601212 | STAT TROPONINE-I TEST FOR ARCHITECT (ci8200,ci4100,i1000sr,i2000sr modules) (100TEST/KIT),COMPLETE WITH ALL REAGENTS,CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST. | LAB | 5300
95 | 6601213 | CYCLOSPORINE TEST FOR ARCHITECT (ci8200,ci4100,i1000sr,i2000sr modules) (100TEST/KIT),COMPLETE WITH ALL REAGENTS,CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST. | LAB | 700
96 | 6601215 | DIGOXIN TEST FOR ARCHITECT (ci8200,ci4100,i1000sr,i2000sr modules) (100TEST/KIT),COMPLETE WITH ALL REAGENTS,CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST. | LAB | 100
97 | 6601236 | TACROLIMUS TEST FOR ARCHITECT (ci8200,ci4100,i1000sr,i2000sr modules) (100TEST/KIT),COMPLETE WITH ALL REAGENTS,CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST. | LAB | 1300
98 | 6601250 | STAT BNP TEST FOR ARCHITECT (ci8200,ci4100,i1000sr,i2000sr modules) (100TEST/KIT),COMPLETE WITH ALL REAGENTS,CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST. | LAB | 1600
99 | 6601253 | CEA TEST FOR ARCHITECT (ci8200,ci4100,i1000sr,i2000sr modules) (100TEST/KIT),COMPLETE WITH ALL REAGENTS,CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST. | LAB | 200
100 | 6601273 | TOTAL B-hCG TEST FOR ARCHITECT (ci8200,ci4100,i1000sr,i2000sr modules) (100TEST/KIT),COMPLETE WITH ALL REAGENTS,CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST. | LAB | 4000
101 | 6601331 | BETA HUMAN CHROIONIC GONADOTROPIN (BHCG)TEST FOR ELECSYS COBAS 411, 601,(100 TEST/ KIT),COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240251,MUST BE DELIVERED FROM THE SAME MANUFACT | LAB | 3300
102 | 6601338 | HUMAN GROWTH HORMONE (Hgh) FOR COBAS INTEGRA e411, Cobas 6000 & Cobas 7000, (100 TEST/KIT), COMPLETE WITH ALL REAGENTS,CONTROLS,STANDARDS OR CALIBRATORS & CONSUMABLS TO PERFORM THE TEST | LAB | 2100
103 | 6601348 | NT-proBNP TEST FOR ELECSYS,,COBAS 411, 601(100 TEST/KIT),COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS,CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST,THIS ITEM & ITEM NO. 780240251, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 800
104 | 6601350 | ELECSYS PRO-CALCITONIN TEST, 100/PK (INCLUDING CONTROL & CALIBRATOR) | LAB | 3000
105 | 6601355 | PARATHYROID HORMONE (PTH) TEST FOR ELECSYS ,COBAS 411, 601(100 TEST/ KIT), COMPLETE WITH ALL REAGENTS, CONTROLS, CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO. 780240251, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 1000
106 | 6601363 | THYROGLOBLIN TEST FOR ELECSYS COBAS e 411, (100 TEST/KIT) COMPLETE WITH ALL REAGENTS,CONTROLS,CALIBRATOR & CONSUMABLS TO PERFORM THE TEST,THIS ITEM & ITEM NO.780240251, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 3200
107 | 6601526 | HAPTAGLOBIN TEST FOR IMMAGE, 150 TEST/ KIT, COMPLETE WITH ALL REAGENTS, CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST,THIS ITEM & ITEM NO.782080000 MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 600
108 | 6601564 | ANTI DUBLE STRAND DNA Activity (deoxyribose nucleic) TEST, EIA METHOD,COMPLETE WITH ALL REAGENTS, CONTROLS AND CONSUMABLES TO PERFORM THE TEST, ( 96-100 TESTS/KIT). | LAB | 1248
109 | 6601588 | Anti smooth muscle ABs { ELISA } - ASMA (ANTI Smooth muscle Antibodies TEST, EIA METHOD, COMPLETE WITH ALL REAGENTS, CONTROLS AND CONSUMABLES TO PERFORM THE TEST) | LAB | 768
110 | 6601613 | I. H. A. SCHISTOSOMA TEST WITH REAGENT, POSITIVE AND NEGATIVE CONTROLS AND TRIS-BUFFER SOLUTION REAGENT, THIS ITEM & THE NEXT (3) ITEM, MUST BE DELIVERED FROM SAME MANUFACTURER | LAB | 1320
111 | 6601733 | FAST-TRACK DIAGNOSTIC (FTD) ATYPICAL CAP KIT , MOLECULAR DAGNOSIS OFMYCOPLASMA PNEUMONIAE, CHLAMYDIA PNEUMONIAE AND LEGIONELLA SPP. TO USE WITH ABI 7500 REAL TIME PCR KIT FOR 48 PATIENTS. | LAB | 1908
112 | 6601734 | Detection AND quantification of Pneumocystis jirovecii | LAB | 2876
113 | 6601741 | BRAF Mutation detection by Hybridization-based PCR, 20 Test / Kit | LAB | 340
114 | 6601742 | KRAS Mutation detection by Hybridization-based PCR, 20 Tests / Kit | LAB | 360
115 | 6601743 | NRAS Mutation detection by Hybridization-based PCR, 20 Tests / Kit | LAB | 620
116 | 6601744 | EGFR Mutation detection by Hybridization-based PCR, 20 Test / Kit | LAB | 460
117 | 6601783 | ANTIBIOTIC SENSITIVITY YS08 CARD TEST FOR VITEK 2, 20 CARD/PACK . THIS ITEM & ITEM NO.788060600, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 540
118 | 6601784 | ANTIBIOTIC SENSITIVITY P576 CARD TEST FOR VITEK 2, 20 CARD/PACK . THIS ITEM & ITEM NO.788060600, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 200
119 | 6601788 | ANTIBIOTIC SENSITIVITY P586 CARD TEST FOR VITEK 2, 20 CARD/PACK . THIS ITEM & ITEM NO.788060600, MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 200
120 | 6601789 | ANTIBIOTIC SENSITIVITY ST-03 CARD TEST FOR VITEK II, 20 CARD/PACK . | LAB | 160
121 | 6601796 | UREASE SPOT TEST (READY TO USE AND RESULT WITH IN 2-3 MINUTES), 2-3ML/VIAL, | LAB | 200
122 | 6601809 | Ep T.I.P.S. Reloads, size 20-200 ul | LAB | 90
123 | 6601857 | ICT SAMPLE DILUENT TEST FOR ARCHITECT (ci8200, ci4100, c4000, c8000, i1000sr, i2000sr modules) ANALYZER, COMPLETE WITH ALL REAGENTS, CONTROLS, STANDARDS, CALIBRATORS AND ACCESSORIES TO PERFORM THE TEST | LAB | 21000
124 | 6601860 | METHOTREXATE FOR ARCHITECT i8200 | LAB | 2100
125 | 6601996 | iStat B-HCG Cartridge | LAB | 40
126 | 6601998 | iStat Creatinine Cartridge | LAB | 30
127 | 6602046 | Mumps IgG TEST (EIA),COMPLETE WITH ALL REAGENT,CONTROL AND OTHER CONSUMABLES NEEDED TO PERFORM THE TEST,(96 TEST/KIT), | LAB | 1728
128 | 6602047 | Measles IgG TEST (EIA),COMPLETE WITH ALL REAGENT,CONTROL AND OTHER CONSUMABLES NEEDED TO PERFORM THE TEST,(96 TEST/KIT), | LAB | 1920
129 | 6602070 | CD10 APC, Clone HI10A, for original EURO FLOW panels, 100 test/kit | LAB | 7
130 | 6602074 | CD4 V450, For Leukemia Diagnosis, 100 tests/kit | LAB | 8
131 | 6602078 | CD7 APC, Clone 124-1D1, for original EURO FLOW panels, 50 test/kit | LAB | 802
132 | 6602081 | CD8 FITC, Clone UCH-T4, for original EURO FLOW panels, 100 test/kit | LAB | 6
133 | 6602083 | CD8 APC - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LAB | 5
134 | 6602100 | CD19 PE - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 50 test/kit | LAB | 5
135 | 6602114 | CD34 PE-Cy7 - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LAB | 31
136 | 6602124 | Anti-Lamda PE - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 50 test/kit | LAB | 12
137 | 6602128 | CD3 PerCP-Cy5.5, Clone SK7, for original EURO FLOW panels | LAB | 22
138 | 6602131 | CD3 PE-Cy7 - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LAB | 7
139 | 6602134 | CD5 V450 - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LAB | 8
140 | 6602135 | CD11c FITC - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LBW Miscellaneous | 2
141 | 6602136 | CD11c V450 - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LAB | 5
142 | 6602141 | CD16 V450, For Leukemia Diagnosis, 100 test/kit | LAB | 6
143 | 6602150 | CD22 PerCp-Cy5.5, Clone S-HCL-1, for original EURO FLOW panels, 50 test/kit | LAB | 19
144 | 6602153 | CD25 V450, For Leukemia Diagnosis, 120 test/kit | LAB | 8
145 | 6602164 | CD117 PE-Cy7, Clone 104D2D1, for original EURO FLOW panels, 100 test/kit | LAB | 25
146 | 6602165 | CD138 APC - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LAB | 7
147 | 6602168 | Anti-HLA-DR V450, For Leukemia Diagnosis, 100 test/kit | LAB | 25
148 | 6602175 | CD52 Alexa Flour, For Leukemia Diagnosis | LAB | 4
149 | 6602178 | Anti-FLAER Alexa488 – used for PNH, 100 test/kit | LAB | 5
150 | 6602192 | 7AAD PerCP, For Leukemia Diagnosis, 50 Test/vial | LAB | 21
151 | 6602205 | CD56 V450 - CELL DIFFERENTIATION ANTIBODY BIND WITH FLORECENT USED FOR LEUKAIMA DIAGNOSIS, 100 test/kit | LAB | 7
152 | 6602263 | AMIKACIN TEST FOR ARCHITECT (ci8200,ci4100,i1000sr,i2000sr modules) ANALYZER,COMPLETE WITH ALL REAGENTS,CONTROLS,STANDARDS,CALIBRATORS AND ACCESSORIES TO PERFORM THE TEST. | LAB | 320
153 | 6602264 | CHLORIDE (CL)TEST BY QUIKLYTE METHOD,FOR DIMENSION RxL & Xpand ANALYZER,COMPLETE WITH ALL REAGENTS,CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO. 780181714,MUST BE DELIVERED FROM THE SAME MANUFACTU | LAB | 378000
154 | 6602302 | Acinetobacter Bomani Oxagenotypical kit, 96 Test / Kit | LAB | 12480
155 | 6602387 | 10% Prefilled Neutral Buffered Formalin, 40 ml/ Bottle | LAB | 6000
156 | 6602406 | CD59 PE, Clone MEM43, used in PNH, 100 test/kit | LAB | 5
157 | 6602407 | Acute Leukemia Orientation Tube (A LOT) - Combined Antibodies tube for original EURO FLOW panels | LBW Miscellaneous | 4
158 | 6602416 | CD4 APC-H7, Clone SK3, for original EURO FLOW panels, 100 test/kit | LAB | 8
159 | 6602421 | CD24 APC-H7, Clone ML5, for original EURO FLOW panels, 100 test/kit | LAB | 7
160 | 6602429 | CD43 APC-H7, Clone IG10-7, for original EURO FLOW panels, 100 test/kit | LAB | 6
161 | 6602430 | CD49d APC-H7, Clone 9F10, for original EURO FLOW panels, 100 test/kit | LAB | 5
162 | 6602448 | CD123 APC, Clone AC145, for original EURO FLOW panels, 100 test/kit | LAB | 10
163 | 6602449 | Anti-Lambda APC-H7, Clone 1-155-2, for original EURO FLOW panels, 100 test/kit | LAB | 5
164 | 6602454 | Anti-IREM-2 APC, Clone UP-H2, for original EURO FLOW panels | LAB | 6
165 | 6602461 | HELICO BACTER PYLORI ANTIBODIES IN SERUM TEST IgG (EIA) COMPLETE WITH ALL REAGENTS, CONTROL AND CONSUMABLES TO PERFORM THE TEST ( 96-100 TESTS/KIT). | LAB | 768
166 | 6602462 | HELICO BACTER PYLORI ANTIBODIES IN SERUM TEST IgA (EIA) COMPLETE WITH ALL REAGENTS, CONTROL AND CONSUMABLES TO PERFORM THE TEST ( 96-100 TESTS/KIT). | LAB | 576
167 | 6602485 | Stem Cell Control CD34, Whole Blood Process Control | LAB | 21
168 | 6602545 | P63 - Transformation Protien 63 - 4A4 - Mouse Monoclonal Antibody Ready To Use for Automated Ventana Benchmark Ultra System | LAB | 250
169 | 6602573 | Bone Marrow Filter, Filcon,for BM samples , non-steril 300 /case | LAB | 2400
170 | 6602588 | ROTAVIRUS RAPID SINGLE IMMUNOCHROMATOGRAPHIC OR IMMUNOASSAY TEST CASSETTE FOR USE IN THE QUALITATIVE SCREENING OF HUMAN FECAL SAMPLES FOR DETECTION OF THE PRESENCE OF ROTAVIRUS ANTIGEN WITH ALL CONTROLS | LAB | 80
171 | 6602618 | Anti-goat compensation beads for Lambda antibody (Flow Cytometry Protein G Antibody Binding Beads) for MRD kit, 5 ml/vial | LAB | 9
172 | 6602622 | CD27-BV510 for MM-MRD kit, 25 test/vial | LAB | 27
173 | 6602645 | CD15 PerCP-Cy5.5, Clone MMA, used in PNH, 100 test/kit | LAB | 7
174 | 6602649 | IntraSure Kit, Ready-to-use Fixation and permeabilization reagents for staining intracellular markers | LAB | 210
175 | 6602651 | BD FACS 7 COLOR SETUP BEADS FOR FACS Canto II MACHINE, 25 test/kit | LAB | 450
176 | 6602652 | iStat Creatinine Control Multiple Levels : Level 1, Level 2, Level 3 | LAB | 29
177 | 6602654 | Quantiferone Test, (100 test / Kit) | LAB | 600
178 | 6602662 | ID-Gel Card for Screening DAT test (IgG and C3d) | LAB | 248
179 | 6602809 | CD-CHEX CD103, Positive control for CD103 | LAB | 15
180 | 6602810 | CD-CHEX CD117, Positive control for CD117 | LAB | 15
181 | 6602811 | CD-CHEX TdT, Positive control for TdT | LAB | 15
182 | 6602826 | FMC7 FITC, For Leukemia Diagnosis, 50 test/kit | LAB | 302
183 | 6602873 | ANTI-C RH TYPING SERUM, TITER NOT LESS THAN 1/8 | LAB | 18
184 | 6600933-1 | ALKALINE PHOSPHATASE(ALP)TEST FOR DIMENSION Vista ANALYZER, (1600TEST/KIT), COMPLETE WITH ALL REAGENTS,CONTROLS, STANDARDS,CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST,THIS ITEM & ITEM NO.780181714 | LAB | 28800
185 | 6600937-1 | ASPARTATE AMINO-TRANSFERASE (AST) TEST FOR DIMENSION Vista ANALYZER, (1600TEST/KIT),COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO.780181714 | LAB | 48000
186 | 6600939-2 | CALCIUM TEST FOR DIMENSION ANALYZER,(480 TEST/KIT), COMPLETE WITH ALL REAGENTS,CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO. 780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 14400
187 | 6600940-1 | CREATININE TEST FOR DIMENSION Vista ANALYZER,2040 TEST/KIT), COMPLETE WITH ALL REAGENTS,CONTROLS ,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO. 780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 110160
188 | 6600941-1 | CHOLESTEROL TEST FOR DIMENSION Vista ANALYZER,600 TEST/KIT), COMPLETE WITH ALL REAGENTS,CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO.780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 10800
189 | 6600943-1 | CREATININE KINASE MB(CKMB)ACTIVITY TEST FOR DIMENSION Vista ANALYZER,(120 TEST/KIT),COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO.780181714 | LAB | 15840
190 | 6600943-2 | CREATININE KINASE MB(CKMB)ACTIVITY TEST FOR DIMENSION ANALYZER,(120 TEST/KIT),COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO.780181714, | LAB | 7200
191 | 6600944-1 | CRP TEST FOR DIMENSION Vista ANALYZER, (400 TEST/KIT), COMPLETE WITH ALL REAGENTS,CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 4800
192 | 6600944-2 | CRP TEST FOR DIMENSION ANALYZER, (120 TEST/KIT), COMPLETE WITH ALL REAGENTS,CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 1440
193 | 6600947-1 | ENZYMATIC BICARBONATE TEST FOR DIMENSION Vista ANALYZER (3360TEST/KIT),COMPLETE WITH ALL REAGENTS,CONTROLS, STANDARDS,CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO.780181714 | LAB | 43920
194 | 6600949-1 | GAMMA-GT TEST FOR DIMENSION Vista ANALYZER (420 TEST/KIT), COMPLETE WITH ALL REAGENTS,CONTROLS ,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO.780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 45360
195 | 6600950-1 | GLUCOSE TEST FOR DIMENSION Vista ANALYZER (4800 TEST/KIT), COMPLETE WITH ALL REAGENTS,CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO. 780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 9600
196 | 6600951-1 | HEMOGLOBIN A1c TEST WITH CALIBRATOR & CONTROL FOR DIMENSION Vista ANALYZER (240 TEST/KIT), COMPLETE WITH ALL REAGENTS, CONTROLS ,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO. 780181714 | LAB | 8640
197 | 6600952-1 | RON BINDING CABACITY TOTAL (IBCT) TEST FOR DIMENSION Vista ANALYZER (160TEST/KIT),COMPLETE WITH ALL REAGENTS, CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO.780181714 | LAB | 2400
198 | 6600958-1 | LACTATE DEHYDROGENASE (LDH) TEST FOR DIMENSION Vista ANALYZER,(800 TEST/KIT), COMPLETE WITH ALL REAGENTS, CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO. 780181714 | LAB | 4800
199 | 6600960-1 | MAGNESIUM TEST FOR DIMENSION Vista ANALYZER,(360 TEST/KIT)., COMPLETE WITH ALL REAGENTS,CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO.780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 49680
200 | 6600960-2 | MAGNESIUM TEST FOR DIMENSION ANALYZER,(120 TEST/KIT)., COMPLETE WITH ALL REAGENTS,CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO.780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 15120
201 | 6600961-1 | MICROALBUMIN TEST FOR DIMENSION Vista ANALYZER MODEL RXL & XPAND,(400 TEST/KIT),COMPLETE WITH ALL REAGENTS, CONTROLS ,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST..THIS ITEM & ITEM NO. 780181714 | LAB | 2400
202 | 6600963-1 | PHOSPHORS TEST FOR DIMENSION Vista ANALYZER,(1200 TEST/KIT), COMPLETE WITH ALL REAGENTS,CONTROLS ,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO. 780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 28800
203 | 6600966-1 | TOTAL BILIRUBIN TEST FOR DIMENSION Vista ANALYZER, (640 TEST/ KIT), COMPLETE WITH ALL REAGENTS,CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO.780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 34560
204 | 6600967-1 | TOTAL PROTEIN TEST FOR DIMENSION Vista ANALYZER (1560 TEST/KIT), COMPLETE WITH ALL REAGENTS, CONTROLS ,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO. 780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 37440
205 | 6600969-1 | TRIGLYCERIDES TEST FOR DIMENSION Vista ANALYZER,(600 TEST/KIT), COMPLETE WITH ALL REAGENTS, CONTROLS ,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO. 780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER. | LAB | 10800
206 | 6600971-1 | CEREBROSPINAL FLUID (CSF) &URINE PROTEIN TEST FOR DIMENSION Vista ANALYZER, (180 TEST/KIT) ,COMPLETE WITH ALL REAGENTS, CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO. 780181714 | LAB | 2160
207 | 6600979-1 | METHOTREXATE REAGENT FOR DIMENSION Vista ANALYZER,(80 TEST/ KIT), COMPLETE WITH ALL REAGENTS, CONTROLS,STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST. | LAB | 480
208 | 6602265-1 | POTTASIUM (K) TEST BY QUIKLYTE METHOD, FOR DIMENSION Vista ANALYZER,(6000TEST/KIT),COMPLETE WITH ALL REAGENTS,CONTROLS,STANDARDS,CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST | LAB | 216000
209 | 6602266-2 | SODIUM (NA) TEST BY QUIKLYTE METHOD, FOR DIMENSION ANALYZER,COMPLETE WITH ALL REAGENTS,CONTROLS, STANDARDS, CALIBRATORS AND CONSUMABLES TO PERFORM THE TEST.THIS ITEM & ITEM NO. 780181714,MUST BE DELIVERED FROM THE SAME MANUFACTURER | LAB | 18000