## Sheet1
SN | Nupco Item Code | Item Description | UOM | Nedded QTY | Manufacturer | Country Of Origin | Supplier | SFDA. NO | Trade Name | Item Validity Total Shelf Life (months) | Catalog Number | Volume/ Package Size | Quantity Quoted | Unit Price (SR) | Unit Price In Writing (SR) | Total Price (SR) | Free Of Charge % | Company Comments & Remarks | Delivery Period | First Shipment Quantity | First Shipment Delivery Period
1 | 4220341064800 | PERCUTANEOUS LEFT VENTRICULAR ASSIST DEVICE | each | 5
2 | 4220341075500 | ADULT PUMP HEAD FOR CENTRIMAG MACHINE | each | 5
3 | 4220341010900 | EMBOLIZATION COIL, DETACHABLE, FOR NEUROVASCULAR EMBOLIZATION, PLATINUM ALLOY MATERIAL, ELECTRICAL DETACHMENT, ELECTRICAL CABLELESSDETACHMENT SYSTEM, AVERAGE DETACHMENT TIME, LESS THAN 6 SECONDS, COIL PRE - LOADED ON DELIVERY WIRE, NON - HELICAL CONFIGURATION OF COIL, SOFT COILS, 0.010 IN - 0.014 IN, STERILE, COILED DIAMETER, 2 MM, ASSORTED EXTENDED LENGTHS, 1 - 8 CM, (ELECTRICAL DETACHMENT UNIT MUSTBE DELIVERED TO EVERY HOSPITAL S ITE, WITH CONNECTING CABLES), SPECIFIC COILS SIZE S/LENGTHS MUST BE DETERMINED BY RECEIVING CENTER PRIOR TO DELIVERY | each | 10
4 | 4220341051600 | LEAD APRON - X - RAY PROTECTION OF 0.5 FRONTAL AND 0.25 BACK TWO PIECESTEAR RESISTANT FLEXIBLE EASY TO DISINFICTED NOVLITE TECHNOLOGYLIGHT PREVENTING ABSORPTION OF FLUID SIDE ARM PROTECTION AND THE LOGOON TOP SZ | each | 10
5 | 4220341090400 | MICRO PUNCTURE INTRODUCER SET FOR 0.035 IN GUIDEWIRE ACCESS ACCESSNEEDLE 21 OR 22 G 7 CM LENGTH GUIDEWIRE 0.018 IN 40 CM LONG COAXIALINTRODUCER CATHETER 4 FR X 10 - 15 CM DISPOSABLE STERILE | each | 100
6 | 4220341006500 | ELECTROPHYSIOLOGY PACK1 BACK TABLE COVER 60 IN X 75 IN 1 BACK TABLECOVER 60 IN X 75 IN (FOLDED) 1 FEMORAL ANGIOGRAPHY SHEET 76 IN X 124 IN3 UTILITY DRAPE 30 IN X 30 IN 1 MOSQUITO FORCEPS 5 IN STRAIGHT 3GALLIPOT 120 ML 1 HAND TOWEL OR CLOTH BLUE 44 X 60 CM 1 KIDNEY BASIN700 CC (REGULAR) 1 SCALPEL BL ADE # 11 WITH HANDLE BLUE 1 OPERATINGSCISSORS BL/SH 5 IN STRAIGHT 1 NC - 20 COUNT FM W/ADH RED 1 BOWL 1000 CC(SPONGE) 1 NEEDLE 19 GX 1.5 IN (3.8 C M) BEIGE 1 NEEDLE 23 GX 1.0 IN(3.0 CM) BLUE 1 SPLASH STOP WASTE COLLECTION BOWL W/SOLIDIFIER 1 NEEDLE21 GX 1.5 IN (3.5 CM/ 35 MM) GREEN 30 GAUZE SWAPS 4 X 412 PLY NXRD 5SYRINGE 10 ML L/L 1 SYRINGE 3 ML L/L 1 NEEDLE HOLDER 5 IN 2 TOWEL CLAMPS9 MEDICATION LABEL CUTOMIZED 2 FLUSH 2 CONTRAST 1 HEPARINI SED/SALINE 1FLUORO COVER 30 IN X 30 IN 3 FLUORO COVER 50 IN X 50 IN 2 INTRODUCERNEEDLE 18 GX 2.75 IN (7 CM) W/WINGS 1 SYRINGE 10 ML MED LT BLUE MEDALLION | each | 60
7 | 4227150500300 | TRANSPORT VENTILATOR CIRCUIT, DOUBLE LUMEN, WITH FLOW SENSOR, EXHALATION VALVE, PRESSURE LINE AND VALVE LINE DIFFERENT SIZE S (ADULT, PEDIATRIC, NEONATAL) (SHOULD BE COMPATIBLE WITH EACH HOSPITAL STANDARD MACHINE) | each | 500
9 | 4229590100200 | STENT DRAINAGE FOR PANCREATIC PSEUDOCYST STENT DIAMETER AND LENGTH ONDEMAND 180 CM LENGTH STERILE DISPOSABLE | each | 2
10 | 4229610023600 | PANCREATIC PSEUDOCYST DRAINAGE BODY DIAMETER 16 MM FLARE DIAMETER 31 MM | each | 2
11 | 4223160916800 | TUBE ENDOSCOPIC GASTROSTOMY JEJUNAL FEEDING 16FR THROUGH THEPERCUTANEOUS STERILE DISPOSABLE | each | 6
12 | 4229590602300 | STENT HOT AXIOS WITH ELECTROCAUTERY ENHANCED DELIVERY SYSTEM 10X10 MMSTERILE DISPOSABLE | each | 3
13 | 4229490011600 | NEEDLE BIOPSY ULTRASOUND 5.2 F CATHETER TAPERED TO 4 FR 19 G 22 G 25 G NEEDLE ULTRA TAPER TIP STERILE | each | 12
14 | 4214380800300 | CYSTO GASTRO SET 8.5 FR STERILE DISPOSABLE | each | 10
15 | 4229541410900 | CYSTO GASTRO SET 10 FR STERILE DISPOSABLE | each | 10
16 | 4228160404500 | HIGH LEVEL DISINFECTANT T& CLEANING SPORICIDAL DRY WIPES WHICH PRODUCE 0.3% PERACETIC ACID &HYDROGEN PEROXIDE AS ACTIVE INGREDIENT WITH THE ADDITION OF WATER , THE COMBINATION HAS HIGH POWER OXIDATIVE KILL AGAINST ALL MICROORGANISMS | each | 20000
17 | 4229162733200 | BUR, SURGICAL, 8 CM, 2.3 MM, TAPERED, LEGEND | each | 85
18 | 4229610100700 | CLIP, ANEURYSM, STRAIGHT, PERAMANENT, STANDARD | each | 75
19 | 4229494101900 | CATHETER FOR SPYSCOPE DISPOSABLE | each | 3
20 | 4229491901400 | GUIDEWIRE SAVARY 250CM REUSABLE | each | 6
21 | 4227191540100 | KIT INTRAVASCULAR HEAT EXCHANGE CATHETER | each | 30
22 | 4111620501200 | KIT START UP FOR INTRAVASCULAR TEMPERATURE MANAGEMENT MACHINEDISPOSABLE STERILE | each | 30
23 | 4218220501200 | PROBE TEMPERATURE FOR ESOPHAGEAL OR RECTAL FOR INTRAVASCULARTEMPERATURE MANAGEMENT MACHINE DISPOSABLE STERILE | each | 12
24 | 4229610200500 | CLIP, ANEURYSM, STRAIGHT, STANDARD, TEMPORARY | each | 2
25 | 4229350301100 | TUBE SUCTION VASER STERILE DISPOSABLE | each | 240
26 | 4229350301000 | TUBE INFILTRATION VASER STERILE DISPOSABLE | each | 240
27 | 4229552200100 | VAGAL NERVE STIMULATOR DEVICE IMPLANTABLE DEVICE WHICH SEND ELECTRICALPULSE FROM 0.25 - 3.0 MA. THE SYSTEM CONTAINS LEAD AND TUNNELIER TOSTIMULATE VAGUS NERVE NEURO | each | 8
28 | 4231260201600 | DRESSING NEGATIVE PRESSURE WOUND THERAPY LARGE ANTIMICROBIAL (SILVER OR EQUIVALENT) FOAM OR GAUZE KIT WITH CONNECTER | each | 650
29 | 4228160315600 | DRESSING NEGATIVE PRESSURE WOUND THERAPY LARGE FOAM KIT WITH CONNECTOR | each | 600
30 | 4228170404800 | DETERGENT FOR THE PERACETIC ACID (PAA) PROCESS IN THE ENDOTHERMODISINFECTORS (ETD) SYSTEM | each | 100
31 | 4228170403200 | DETERGENT DISINFECTANT BASED ON PERACETIC ACID (PAA) ACTIVEINGREDIENT PEROXYACETIC ACID HYDROGEN PEROXIDE ACETIC ACID STABILIZ= ER 2.8 LE TTER CANISTER | each | 110
32 | 4228170402700 | DETERGENT PHOSPHATES SODIUM HYDROXIDE ALLOWS THE PERACETIC ACID (PAA)PROCESS TO WORK IN A NEUTRAL PH VALUE RANGE AND THUS EFFICIENTLY PROTECTS SENSITIVE ENDOSCOPE MATERIALS IT IS AN ADDITIVE TO PAA 5 LETTERCANISTER | each | 110
33 | 4227191506300 | TUBE TRACHEOSTOMY ADULT CUFFED FLEXIBLE ADJUSTABLE NECK FLANGE SZ 7 | each | 60
34 | 4227191506400 | TUBE TRACHEOSTOMY ADULT CUFFED FLEXIBLE ADJUSTABLE NECK FLANGE SZ 8 | each | 60
35 | 4227223100600 | KIT INFANT FLOW FOR NASAL CPAP GENERATOR FOR SIPAP | each | 500
36 | 4216170103500 | EXTRACORPOREAL FILTER TO REMOVE CYTOKINE, FREE HEMOGLOBIN, ANTI-BODY, BIO-ACTIVE LIPIDS AND INFLAMMATORY MEDIATOR AND FOR PATIENTS ORGAN FAILURE | each | 100
37 | 4229162738700 | DRILL DIAMOND FINE FOR STRYKER 4 MM STERILE DISPOSABLE | each | 100
38 | 4229170300200 | PERFORATOR SCALP 14 MM FOR NEUROSURGERY DISPOSABLE | each | 100
39 | 4229170300000 | PERFORATOR, SURGICAL, 11 MM, CRANIAL | each | 50
40 | 4229170300100 | PERFORATOR CRANIAL 9 MM DISPOSABLE STERILE | each | 50
41 | 4229681603600 | ROUTER CUTTING PEDIATRIC 1.5 MM | each | 50
42 | 4229681603700 | ROUTER CUTTING ADULT NEURO DRILL | each | 100
43 | 4222160300500 | SET INTRAVENOUS INFUSION TUBING | each | 30000
44 | 4222200500600 | TUBE EXTENSION INTRAVENOUS STANDARD TYPE LUER LOCK PVC ORIGINALPERFUSOR IV | each | 15000
45 | 4231150004400 | TAPE ADHESIVE PLASTER MEDICAL PLASTIC 2.5 CM X 9 M OR 5 MWATERPROOF | each | 1000
46 | 4111613801200 | THE LOCK SOLUTION CONTAINS (CYCLE) - TAUROLIDINE CITRATE (4%) NDUROKINASE (25 000 IU). (CYCLE) - TAUROLIDINE HAS BROAD ANTIMICROBIALACTIVITY (INCL. MRSA AND VRE).CITRATE POSSESSES EFFECTIVE ANTICOAGULANTPROPERTIES | each | 1500
47 | 4220340526400 | CATHETER PICC DOUBLE LUMEN 26 G : PUR CATHETER 1.9 FR CATHETER 50CM X - RAY OPAQUE ONE PIECE CATHETER CONSTRUCTION INTEGRAL EXTENSIONWITH WING CATHETER GRADUATIONS EVERY CM STATLOCK STABILIZATION DEVICEKIT CONTENTS SHOULD BE 1 X CATHETER 1 X MICROFLASH INTRODUCER 1 X TAPEMEASURE 2 X BALL SWABS 1 X GALLIPOT 1 X SPONGE STICK 1 X 10 MLSYRINGE 1 X STERILE FIELD/OUTER WRAP 1 X FENESTRATED DRAPE WEIGHINGAND LT 1 KG DISPOSABLE STERILE | each | 200
48 | 4227160007800 | NEONATAL NITRIC OXIDE DELIVERY AND SAMPLING COMPLETED KIT (SHOULD BECOMPATIBLE WITH EACH HOSPITAL STANDARD MACHINE) | each | 200
49 | 4222151202400 | INFUSOMAT SPACELINE INFUSION PUMP SET L=230 CM | each | 15000
50 | 4229517111600 | NEEDLE VACUUM - ASSISTED BREAST BIOPSY IN DIFFERENT SIZE S STERILEDISPOSABLE | each | 100
51 | 4111193100700 | FLOW SENSOR WITH HOUSING, NEONATAL SIZE, STRAIGHT DESIGN, DISPOSABLE, COMPATIBLE WITH ACUTRONIC MODEL FABIAN | each | 1400
52 | 4227160700200 | BREATHING SYSTEM PEDIATRIC LENGTH 1.6 M WITH Y CIRCUIT 22.0 MM/ 1000ML BAG 0.8 M LIMB/ANGLED CONNECTOR 15 MM - CO 2 PORT SAMPLING LINE HMEFILTER MACHINE BACTERIA FILTER EXTENDABLE LATEX FREE DISPOSABLE | each | 1500
53 | 4111600472300 | SKIN GRAFTING ZIMMER DERMATOME BLADE STERILE | each | 300
54 | 4229521300100 | MESHER CARRIER, 16 IN LENGTH, STERILE, LATEX-FREE, FOR SKIN GRAFT MESHER | each | 300
55 | 4229548016800 | KIT, SURGICAL, CORONARY ARTERY BYPASS, SUPPLEMENT, CASPAR SCALPEL HANDLE RND 180 MM - 1, HALLE ELEVATOR BLUNT 3.3 MM 180 MM - 1, MIC. SCISSORS RD HDL 25 S/S 165 MM - 1, MIC. SCISSORS RD HDL 45 S/S 165 MM - 1, MIC. SCISSORS RD HDL 90 S/S 165 MM - 1, MIC. SCISSORS RD HDL 125 S/S 165 MM - 1, FINE SCISSORS STR AIGHT 190 MM LONG - 1, MICRO FORCEPS DE'BAKEY 1 MM STR. 210 MM - 2, DIAMOND DUSTED MICRO FORCEPS PLATEAU STR. 210 MM - 2, DIAMOND DUSTED MICRO RING FORCEP S 1 MM STR. 210 MM - 2, MICRO ATR. BULLDOGCLAMP ANG. 10/45 MM - 2, MICRO ATR. BULLDOGCLAMP ANG. 14/50 MM - 2, MICRO ATR. BULLDOGCLAMP ANG. 20/55 MM - 2, DIAMOND D USTED NEEDLE HOLD. W/DIAMANT COAT. MOUTH - 1, DIAMOND DUSTED MICRO NEEDLE HOLDER RD HDL 210 MM - 1, DIAMOND DUSTED MICRO NEEDLE HOLDER RD HDL 210 MM - 1, RETRACTOR MEDIUM 3 X 3 T. SHARP 40 MM - 1, DE'BAKEY DILATOR MALL 0.5 MM 190 MM - 1, DE'BAKEY DILATOR MALL 1.0 MM 190 MM - 1, DE'BAKEY DILATOR MALL 1.5 MM 190 MM - 1, DE'BAKEY DILATOR MALL 2.0 MM 190 MM - 1, DE'BAKEY DILATOR MALL 2.5 MM 190 MM - 1, DE'BAKEY DILATOR MALL 3.0 MM 190 MM - 1, DE'BAKEY DILATOR MALL 3.5 MM 190 MM - 1, DE'BAKEY DILATOR MALL 4.0 MM 190 MM - 1, VASCULAR CUTTING HDL. F. AORTA PUNCHES - 1, VASCULAR CUTTING HEAD OF PUNCH ALL. ROUND D, 4 MM - 1, VASCULAR CUTTING HEAD OF PUNCH ALL. ROUND D, 5 MM - 1, VASCULAR CUTTING HEAD OF PUNCH ALL. ROUND D, 6 MM - 1, CONTAINER BOTTOM 1/1 HEIGHT 120 MM - 1, CONTAINER LID 1/1 - 1, IDENT. LABELD - 2, PERFORATED BASKET 1/1106 MM - 1, MINITRAY WI TH LID 145 X 44 X 25 MM - 1 | each | 50
56 | 4229496600300 | CATHETER FOR HEMODIALYSIS 14 FR DOUBLE LUMEN TIP TO CUFF LENGTH 50CM DISPOSABLE STERILE | each | 20
57 | 4229496600200 | CATHETER FOR HEMODIALYSIS 14 FR DOUBLE LUMEN TIP TO CUFF LENGTH 55CM DISPOSABLE STERILE | each | 20
58 | 4229610006800 | CRANIOPLATE 1.5 KIT 4 MM CENT. 2 HOLES STR NEURO | each | 150
59 | 4214370500500 | PUMP CONTINUOUS ELASTOMERIC MEDICATION PUMPS DESIGNED TO PROVIDE AMBULATORY INFUSION THERAPY AT HOME DISPOSABLE | each | 1000
60 | 4228160402000 | DISINFECTANT FOR SURFACES BASED ON HYDROGEN PEROXIDE (6%) VAPOR SOLUTION 1 LITER BOTTLE | each | 400