## Sheet1
SN | NUPCO Code | Item Specification | UNIT | QUANTITY | Manufacturer | Country Of Origin | Supplier | SFDA. NO | Trade Name | Item Validity Total Shelf Life (months) | Catalog Number | Volume/ Package Size | Quantity Quoted | Unit Price (SR) | Unit Price In Writing (SR) | Total Price (SR) | Free Of Charge % | Company Comments & Remarks | Delivery Period | First Shipment Quantity | First Shipment Delivery Period
1 | Under Process | LEAD GLASS EYE PROTECTION ,.75 MM LEAD EQUIVALENCY SAFETY,LEAD GLASS LENSES PROVIDE PROTECTION INCLUDE FRONT AND SIDE FROM HARMFUL RADIATION EXPOSUREGLASS CAN BE PERSONALIZATION,FIFFERENT FRAMES, | piece | 25
2 | Under Process | Vessel tip cannula, blunt 3mm, plastic sterile, use during vein harvesting | piece | 200
3 | Under Process | external thoracic stablilzation after median sternotomy ,chest piece is not flexible,pad for light anterior-posterior compression,100%polypropylene,cushions 100%Pufoam,plastic buckles,(different sizes , fit for male) | piece | 200
4 | Under Process | external thoracic stablilzation after median sternotomy ,chest piece is not flexible,pad for light anterior-posterior compression,100%polypropylene,cushions 100%Pufoam,plastic buckles,(different sizes , fit for female) | piece | 200
5 | 4229541511400 | Slush+ Warmer Disc Drape (Ecolab) - Automatically stirs the solution while cooling and eliminates concerns with conventional sluch that may have sharp edges which can cause trauma to delicate tissues. | piece | 100
6 | Under Process | "Standard and Primary Sets,compitable with fresenius infusion mashine ,Approximate set length:285 cm,Approximate priming volume:16 ml,Main materials:PVC (tubing: diameter 3.0 x 4.1 mm),Silicone (tubing: diameter 3.41 x 5.11 mm),Anti free-flow safety clamp, Latex-free, DEHP as plasticizer is not used, | piece | 20000
7 | 4214170502400 | DOUBLE COATED PATIENT TRANSFER AIR MATTERES ,FLUID AND STAIN RESISTANCE ,Weight Limit 250 kg,Radiolucent and MRI compatible for artifact-free imaging,Inflated mattress moves patient in stable position, reducing skin shear and bruising,disposable . | piece | 480
8 | Under Process | PICCO KIT :PiCCO-Catheter with Seldinger insertion instruments, guide wire, canula, dilatator ,with injectate sensor housing and pressure transducer, femoral access, 5 frensh,20 cm length,disposable,sterile | piece | 25
9 | Under Process | PICCO KIT:PiCCO-Catheter with Seldinger insertion instruments, guide wire, canula, dilatator , injectate sensor housing and pressure transducer, brachial access, size 4 frensh.length 20 cm, sterile ,disposable | piece | 25
10 | Under Process | pulmonary artery catheter,CCOmbo RVEDV (CCO + SvO2 +RVEDV),size 7.5 french,110 cm length,two lumens,sterile,disposable,(a compitable introducer sheath has to be supplied with each catheter | piece | 35
11 | Under Process | Clip Applier 7 inches, Blue – Small ligation | piece | 1
12 | Under Process | Clip Applier 7 inches, white – Medium ligation | piece | 4
13 | Under Process | Clip Applier 7 inches, green – Large ligation | piece | 1
14 | Under Process | MIC TECHNIQUE - APPROACH SET | piece | 4
15 | Under Process | COR- KNOT TYING SYSTEM FOR VALVE REPLACEMENT AND REPAIR CASES CONTANING 2 APPLICATORS AND KNOTS OF 12 PIECES . | piece | 100
16 | Under Process | COR-KNOT TITANIUM LOADS FOR VALVE REPLAEMENT AND REPAIR CASES CONTAING FASTTENER , WIRE SNARE AND CURVED HANDLE . | piece | 100
17 | Under Process | BIO - GLUE , 2 ML PER EACH CONTAINER SURGICAL SEALENT COMPOSED OF BOVINE SERUM ALBUMIN AND GLUTERADHYDE EACH ONE IN A SEPRATE TUBES WITH DIFFERENT APPLICATORS | piece | 50
18 | Under Process | BIO - GLUE , 5 ML PER EACH CONTAINER SURGICAL SEALENT COMPOSED OF BOVINE SERUM ALBUMIN AND GLUTERADHYDE EACH ONE IN A SEPRATE TUBES WITH DIFFERENT APPLICATORS | piece | 50
19 | Under Process | STERNAL CLOSURE SYSTEM , SIZE 7 , NEEDLE 55 MM , DIAMOND POINT TIP . | dozen | 50
20 | Under Process | Silk Braided Suture Size 1, 150 cm without Needle Sterile Packing, one dozen/box | dozen | 50
21 | Under Process | Sternal saw blade to open the sternum stainless steel sterile pack | piece | 100
22 | 4229680037100 | BEAVER Blade, Scalpel #65, STAINLESS STEEL MINI BLADE FOR POKING CORONARY ARTERY | piece | 150
23 | 4229680037100 | BEAVER Blade, Scalpel #67, STAINLESS STEEL MINI BLADE FOR POKING CORONARY ARTERY | piece | 150
24 | Under Process | DIAMOND Blade, Scalpel, STAINLESS STEEL MINI BLADE FOR POKING CORONARY ARTERY ,Stab Knife Straight Blade and Threaded Tip | piece | 150
25 | Under Process | Mister Blower for clear blood during CABG Anastamosis | piece | 50
26 | Under Process | DIAPOSABLE STERILE FLEXIBLE STAINLESS STEEL Needle with BULB SHAPED Tip TO DIALATE INTERNAL MAMMARY ARTERY DURING CARDIAC SURGERY, TERMINATE WITH THE FEMALE LUER LOCK | piece | 20
27 | 4229680023200 | Stainless Steel KELLY OR ARTERY forceps 5-1/2" (14 cm) | piece | 20
28 | 4229680143800 | Stainless Steel LONG ARTERY forceps 8 " (20 cm) | piece | 6
29 | Under Process | Debakey, Stainless Steel, 20cm 7-8'' 2mm thickness to grasp tissue | piece | 6
30 | Under Process | Debakey, Stainless Steel, 20cm 2.8 mm thickness to grasp tissue | piece | 6
31 | Under Process | Debaky Angled Stainless Steel 6-7'' 18-20 cm 2mm thickness to grassping mammary artery | piece | 2
32 | Under Process | ClampFor the removal of calcified material from the stenotic aortic valve and in peripheral vascular surgery for trimming stenotic arteries and plaque removal. size 3.5 mm wide-bite, Working length 5-1/8" (13 cm), Slight downward angle (25 degrees) | piece | 5
33 | 4229680147200 | Stainless Steel MICRO VASCULAR NERVE HOOK Micro hook, small, 7-1/4" (18.5 cm) | piece | 3
34 | 4229680276300 | Stainless Steel REVUELTA-GARCIA VALVE MIRROR 9" (23 cm) | piece | 3
35 | Under Process | COOLEY MITRAL VALVE RETRACTOR should provide optimum exposure of the mitral valve, particularly for complete valve replacement. The wire frame blades are shaped to help solve exposure problems in the approach from a right or left thoracotomy.Right, medium blade width 1-3/8" (3.5 cm), depth 3/4" (2 cm), overall length 7-1/2" (19 cm) different sizes with handle | piece | 4
36 | Under Process | COOLEY Aortic VALVE RETRACTOR should provide optimum exposure of the mitral valve, particularly for complete valve replacement. The wire frame blades are shaped to help solve exposure problems in the approach from a right or left thoracotomy Left, large blade width 1-7/8" (4.5 cm), depth 3/8" (1 cm), overall length 8-7/8" (22.5 cm) different sizes with handle | piece | 2
37 | 4229680311600 | CASTRO VIEJO NEEDLE HOLDER, STRAIGHT WITH FLAT HANDLE, LOCK, WIDE TIP AND DIAMA-GRIP JAWS 1.8mm, LENGTH 8.5-9 INCHES / 21 CM | piece | 2
38 | 4229680311600 | CASTRO VIEJO NEEDLE HOLDER, STRAIGHT WITH ROUND HANDLE, LOCK, WIDE TIP AND DIAMA-GRIP JAWS 1.8mm, LENGTH 8.5-9 INCHES / 21 CM | piece | 3
39 | 4229680311600 | CASTRO VIEJO NEEDLE HOLDER, STRAIGHT WITH ROUND HANDLE, LOCK, WIDE TIP AND DIAMA-GRIP JAWS LENGTH 23 CM | piece | 3
40 | 4229680038000 | Stainless Steel Coronary spring Forward Potts Sharp Tip 45 Degree Angled Tip, 6.5'' | piece | 4
41 | 4229680037800 | Stainless Steel Coronary spring Reverse potts, Sharp Tip 125 Degree Angled Tip, 6.5-7'' | piece | 4
42 | 4229680038200 | Stainless Steel Coronary spring Right Angle Potts 90 Degree Angled Tip, 6.5-7'' | piece | 4
43 | 4229680037600 | Stainless Steel Coronary spring Forward Potts with Ball Tip 45 Degree Angled Tip, 6.5-7'' | piece | 2
44 | 4229680018600 | Stainless Steel Gerrald Fine Forceps, 7'' (18cm), Jaw 1 mm to grasp the epicardial tissue | piece | 4
45 | 4229680018600 | Stainless Steel Gerrald Fine Forceps, 7'' (18cm), Jaw 1.2 mm to grasp the epicardial tissue | piece | 6
46 | Under Process | Stainless Steel Fine Coronary Forceps, 7'', Jaw 0.4 mmx 7mm to grasp the epicardial tissue | piece | 4
47 | Under Process | Stainless Steel Beaver Blade/ Micro Surgical Blade Holder, 18 cm length to keep the micro blade to make incision over the coronary Artery | piece | 2
48 | Under Process | Stainless Steel Diamond Blade/ Micro Surgical Blade Holder, 18 cm length to keep the micro blade to make incision over the coronary Artery | piece | 2
49 | Under Process | Metal Bulldog Stainless Steel, length 43-45 mm , Jaw Length 14 mm, closing pressure 180 gr, weight 3g to occulte arteries and veins | piece | 6
50 | Under Process | Stainless Steel Tenotomy Vein Cutting/ Dissecting scissor 18cm, 6'' to Cut the Conduits ( Arteries and Veins) in CABG | piece | 2
51 | Under Process | Stainless Steel Metal Heparine Needle , Stainless Steel , 2mm diameter, 45 mm length used to check the patency of the saphanous vein | piece | 6
52 | Under Process | Metzenbaum dissecting Scissor , Stainless Steel, curved, 18-20cm 7-8'' to cutting the prolene sutures | piece | 4
53 | Under Process | Heavy Dissecting Scissor Stainless Steel 7'' 18-20cm strainght for cutting sternal catridge | piece | 6
54 | Under Process | Heavy Dissecting Scissor Stainless 9'' 23 cm curved for cutting tissue | piece | 6
55 | Under Process | Metzenbaum dissecting Scissor , Stainless Steel, curved, 23-25cm 9.5-11'''' to cutting the deep / inner part of the the heart | piece | 4
56 | Under Process | Universal Tube Cutting Scissor , Stainless Steel with black Handle, 7.5'' 19cm for the the tubes before cannulation | piece | 6
57 | Under Process | more Curved blunt Scissor for Cutting Stenotic/ calcified Valve 22-25 cm , 8-10'' | piece | 3
58 | Under Process | Needle Holder Stainless Steel, standard teeth, jaw tip 2.5mm, 5.5" 14 cm for holding the suture needle whlie suturing the skin | piece | 8
59 | Under Process | Needle Holder Stainless Steel standard teeth, jaw tip 3 mm, 8" 20 cm holding the suture needle whlie suturing the subcutaneus tissue | piece | 8
60 | Under Process | Needle Holder Stainless Steel standard teeth, jaw tip 2.5mm, 9-10" 23-25 cm holding the the suture needle while fixing the mitral valve. | piece | 4
61 | Under Process | Ryder Needle Holder, Stainless Steel, 1.6mm, 7" 20 cm for valve Suturing holding the the fine suture needle | piece | 4
62 | Under Process | Ryder Needle Holder Stainless Steel, 1.9mm 9-10", 23-25 cm for valve Suturing holding the the fine suture needle | piece | 4
63 | Under Process | Adult Malleable/ Ribbon Retractor, Stainless Steel, Flexible retractor, 10.5'', 25x30 mm to retracting purpose | piece | 2
64 | Under Process | Deaver Retractor, Stainless Steel, 8.5 '' 22 cm for retracting the intestine during abdominal aortic dissection procedure | piece | 2
65 | Under Process | Langenbeck Retractor Stainless Steel, 21.5 cm, blade lengthx width 55x 11mm for lifting the sternam for internal mammry hemostatis | piece | 2
66 | Under Process | Adult Single Blade Retractor , Stainless Steel, for Retracting Sternum , 150x10cm, Blade size 20x25mm | piece | 1
67 | Under Process | Pediatric Single Blade Retractor, Stainless Steel, for Retracting Sternum | piece | 1
68 | Under Process | Pediatric Double Blade Retractor, Stainless Steel, for Retracting Sternum | piece | 1
69 | Under Process | Snugger Rod , Stainless Steel to snugging Sutures or make purse string to hold the cannulas For Cannulation 1.5 mm in diameter, 26 cm length | piece | 4
70 | Under Process | Graduated Jug, Stainless Steel, 1000 ml capacity for Keeping Saline during surgery | piece | 2
71 | Under Process | Bowl , Stainless Steel 1 litre Capacity, 7.5 cm, Diameter- 16 cm to keep Saline during Surgery | piece | 2
72 | Under Process | Flask Stainless Steel For Preserving Hot/ Cold Water for Cardiac Surgery in the surgical field | piece | 3
73 | Under Process | Whisker, Stainless Steel to Crush Ice In Hush Slusher during Cardiac Surgery, 25 cm | piece | 2
74 | Under Process | Kocher Forceps, teeth 1x2 , Stainless Steel, 7- 8'', 20 cm using for Sternal Closure to hold the steel wires for grip | piece | 40
75 | Under Process | Wire Twister, standard Teeth, Stainless Steel, 6mm Jaw/ Teeth 7-8'', 18-20 cm for tightenning the steel wire in sternal closure | piece | 10
76 | Under Process | Wire Cutter (Maxi cutter) Stainless Steel, 22cm, 2.2mm-3 mm Tip used to cutting steel wires during sternal closure | piece | 5
77 | Under Process | Yankauer Metal Suction 10-11'', 24cm length for sucking Blood and Fluid during surgery | piece | 2
78 | Under Process | Nerve hook, stainless Steel, 7'' 90 Degree, 5mm tip, 18-20 cm to removing knot from fine poly prolene sutures | piece | 2
79 | Under Process | Valve Hook, stainless Steel, 9.5-11.5'' 90 Degree, 5mm tip, 18-20 cm o removing knot from fine Braided sutures | piece | 2
80 | Under Process | Adult Vascular Clamps/ Cross clamp 30-35 Degree Angled, 6 1/4 '' 17-18cm, jaw 60-80 mm to Clamp the Aorta during cardiac surgery | piece | 3
81 | Under Process | Cooley clamp, Partial clamp, Curved 4- 4 1/2 '' 10-12cm for Pediatric to Clamp The Aorta Partially during cardiac surgery | piece | 3
82 | Under Process | Stabilizer Flexible arm Stainless Steel For positioning the heart during CABG with Removable octopus Suction tip | piece | 1
83 | Under Process | Fexible arm, provides maximum surgical exposure in vascular and mitral valve procedure with bLades 20mm, 35mm, 40 mm | piece | 1
84 | Under Process | Coronary Tray, Plastic Universal Tray with Lid, 7 x 11'', tray lid and Silicon Matt Dimensions 270x160x16 mm for keeping all coronary instruments for sterilization purposes | piece | 2
85 | Under Process | Coronary Tray, Aluminium, Universal Tray lid, 7 x 11'', tray lid and Silicon Matt Dimensions 270x160x16 mm or keeping all coronary instruments for sterilization purposes | piece | 2
86 | Under Process | Basic Set Tray , Aluminum, sterilization box, with Lid 590x280x100mm silver to secure instruments during sterilization for surgery | piece | 1
87 | Under Process | Basic Set Tray , Aluminum, sterilization box, with Lid 290x290x100mm silver to secure instruments during sterilization for surgery | piece | 1
88 | Under Process | Clean Loop Wire Mesh Tray, Stainless Steel, 485x 255x100 mm with handleor keeping all instruments for sterilization purposes | piece | 1
89 | Under Process | Clean Loop Wire Mesh Tray, Stainless Steel, 255-x235x100 mm with handle or keeping all instruments for sterilization purposes | piece | 1
90 | 4229680049100 | Tube Occluding Clamp should be made up of Stainless Steel. The Clamp must have straight serrated jaws with straight shanks. Total length should be 7" (18cm). | piece | 10
91 | 4229680049200 | Tube Occluding Clamp should be made up of Stainless Steel. The Clamp must have straight serrated jaws with straight shanks. Total length should be 8" (20cm). | piece | 10
92 | Under Process | Fresenius Kabi’s CATSmart cell saver kit which is designed for intra and post-operative autotransfusion | piece | 50
93 | Under Process | Mounting level sensor pad which is compitable to stockert Heart lung.mounting Pad to fix oxygenator venous Reservoir. | piece | 150
94 | Under Process | Connector, Y shaped, with luer lock, disposibale,3/8x3/8x1/4.Sterile | piece | 30
95 | 4220341074800 | Connector, Y shaped, with luer lock, disposibale,3/8x1/4x1/4.Sterile | piece | 30
96 | Under Process | Connector, Y shaped, with luer lock, disposibale,1/4x1/4x1/4.Sterile | piece | 40
97 | Under Process | COOLEY’S OR VALVE RETRACTORS | piece | 2
98 | Under Process | METAL STABILIZER(Stainless steal hand establish maximum fixation of the upper part of the ventricular section of the heart to ensure suturing of the mechanical valve replacement procedure) | piece | 2
99 | Under Process | METAL STABILIZER SUCTION TIP | piece | 2
100 | Under Process | ANGLED FORCEPS/ DEBAKEY | piece | 5
101 | Under Process | PPM PACK, CONTENTS: 1X SCALPEL NO 11,1X SCALPEL NO 22,1X NEEDLE 18G 7CM WITH WINGS(PINK),1X NEEDLE 21G 4CM,1X NEEDLE 23G3CM,5 CLAMP TOWEL, 2X FORCEPS ARTERY MOSQUITO STRAIGHT,1X NEEDLE HOLDER MYO 18CM,1X MYOSCISSORS 18CM,3 FLURO COVER LARGE, 1X COVER TROLLEY 140X140CM,1X COVER TROLLEY 140X210CM,1X DRAPE PACING ,1X BOWL KIDNEY EMESIS 700ML,9X PRINTED WATER LABELS,4X SYRINGE 10ML L/L,8X SPONGE STICK MEDIUM 15CM,GALLIPOT 250ML,10X SWAB GAUZE 10X10 CM12PLY 10 PER PACK,3 GENERAL UTILITY DRAPE 75X 75CM WITH ONE SIDE ADHESIVE,2X BOWL 500ML,1X BOWL 1000ML ,1X NEEDLE CONTAINMENT DEVICE,1X LARGE SURGEON GOWN,1X X-LARGE SUGEON GOWN,2X FORCEPS ARTERY MOSQUITO CURVED,1X SCISSORS METZENBAUN 18CM,1X TRAY FULL DEEP 28X25CM,1X RETRACTOR WEISLANDER SELF RETAINING.1X FORCEPS DISSECTING TOOTHED 15CM,1X FORCEPS DISSECTING VASCULAR 15CM,1X BAG WELTON,2X 20ML SYRINGE L/S,1X JUG 1000ML CLEAR,1X 50/60ML SYRINGE CATHETER TIP,1PAIR X CATS PAW RETRACTOR 15CM | piece | 200
102 | Under Process | Tray, Sterilization, DIN Special 536x240x85mm, with lid ValveGate™PRO | piece | 1
103 | Under Process | Scalpel, Handle, for mini-blades 37cm with protection ValveGate™ | piece | 1
104 | Under Process | Catcher, Suture 35.5cm 1.8mm ValveGate™ | piece | 1
105 | Under Process | Hook, Nerve, with Ball ValveGate™ | piece | 1
106 | Under Process | Pusher, for Valve positioning 35cm ValveGate™ | piece | 1
107 | Under Process | Retractor, MICS, with Double-hinge 35x35mm/50x35mm ValveGate™ | piece | 1
108 | Under Process | Rongeur, Conchotome, for decalcification 30cm 3mm ValveGate™ | piece | 1
109 | Under Process | Rongeur, Conchotome, for decalcification 30cm 3mm 30° upwards ValveGate™ | piece | 1
110 | Under Process | Pusher, Knot, Tube-shaft shorts jaw pulling action ValveGate™PRO Ø5 25cm | piece | 1
111 | Under Process | Clamp, Atraumatic, slider-shaft 36cm 100mm 1x2 DeBakey-serrations ValveGate™ | piece | 1
112 | Under Process | Clamp, Atraumatic, slider-shaft 36cm 100mm 2x3 DeBakey-serrations ValveGate™ | piece | 1
113 | Under Process | Clamp, Atraumatic, slider-shaft 34cm 75mm 1x2 DeBakey-serrations ValveGate™ | piece | 1
114 | Under Process | Clamp, Atraumatic, slider-shaft 32cm 50mm 1x2 DeBakey-serrations ValveGate™ | piece | 1
115 | Under Process | Holder, Needle, TC, Tube-shaft curved with catch ValveGate™PRO Ø5 25cm | piece | 1
116 | Under Process | Holder, Needle, TC, Tube-shaft with catch ValveGate™PRO Ø5 25cm | piece | 1
117 | Under Process | Holder, Needle, TC, Ryder tube-shaft 1.2mm tip with catch ValveGate™PRO Ø5 25cm | piece | 1
118 | Under Process | Scissors, 15°, double-action , Tube-shaft ValveGate™PRO Ø5 25cm | piece | 1
119 | Under Process | Scissors, Robust, 30°, Tube-shaft ValveGate™PRO Ø7 25cm | piece | 1
120 | Under Process | Clamp, Leaflet, acc. Lange, Tube-shaft with catch ValveGate™PRO Ø5 25cm | piece | 1
121 | Under Process | Forceps, acc. Resano, Tube-shaft 2.9mm 16mm ValveGate™PRO Ø5 25cm | piece | 1
122 | Under Process | Retractor, MICS, with Double-hinge 50x40mm/70x40mm ValveGate™ | piece | 1
123 | Under Process | Retractor, Valve, MICS, Tripod for Atrial-Hooks 29-1379/29-1380 ValveGate™ | piece | 1
124 | Under Process | Scissors, 40°, single-action, Tube-shaft ValveGate™ classic Ø5 25cm | piece | 1
125 | Under Process | Scissors, 70°, double-action, Tube-shaft ValveGate™PRO Ø5 25cm | piece | 1
126 | Under Process | Harley-Street Suction Tube for MIC 320 MM | piece | 1
127 | Under Process | DeBakey Bulldog Clamp straight | piece | 1
128 | Under Process | Iron-AssistantTM Instrument Holder, extra long straight bar | piece | 1
129 | Under Process | Probe, Magnet ValveGate(Magnatic probe to approach aortic valve leaflet for aortic valve repair and aortic valve replacement) | piece | 1
130 | Under Process | Retractor, Lifting, MIDCAB, Thoralift -Frame right open | piece | 1
131 | Under Process | Retractor, Lifting, Thorax, MIDCAB -Frame left open | piece | 1
132 | Under Process | Flexarm, OPCAB(Metal device which make fixation of the heart beating during open heart operation To establish stability during coronary bypass procedures) | piece | 1
133 | Under Process | Stabilizer, Tissue, acc. Riess- with with ball connector | piece | 1
134 | Under Process | Stabilizer, Tissue, C-shape - with with ball connector | piece | 1
135 | Under Process | Stabilizer, Tissue, acc. Satoh II - with with ball connector | piece | 1
136 | 4220341078000 | Elongated Aortic cannula | piece | 100
137 | 4220341078800 | Silicone Coronary Artery Ostial Cannula,Cannulae should be featured a silicone body with soft bulb-shaped tip. Cannulae must have a female Luer connection site. Sterile | piece | 20