## البنود المتعثرة
SN | MATERIAL NUMBER | Item Description | UOM | Nedded QTY | Manufacturer | Country Of Origin | Supplier | SFDA. NO | Trade Name | Item Validity Total Shelf Life (months) | Catalog Number | Volume/ Package Size | Quantity Quoted | Unit Price (SR) | Unit Price In Writing (SR) | Total Price (SR) | Free Of Charge % | Company Comments & Remarks | Delivery Period | First Shipment Quantity | First Shipment Delivery Period
1 | 4229590300300 | STENT UROLOGICAL 20 CM 6 P | EA | 50
2 | 4229610007400 | MATRIX FLOSEAL HEMOSTATIC MATRIX 10 ML NEURO | EA | 500
3 | 4229421912600 | UNCEMENTED FEMORAL STEM FOR BIPOLAR HIP ASSORTED SIZE S AS REQUIRED BY END USER ORTHOPEDIC | EA | 2
4 | 4229421913500 | HEAD CERAMIC FOR UNCEMENTED TOTAL HIP ASSORTED SIZE S AS REQUESTED BY END USER ORTHOPEDIC | EA | 2
5 | 4229421914300 | TITANIUM FLAT HEAD SCREW S FOR UNCEMENTED CUP ASSORTED SIZE S AS REQUESTED BY END USER ORTHOPEDIC | EA | 2
6 | 4229421914400 | TOTAL HIP SYSTEM CEMENTED MODULAR FULL PROFILE HIGHLY CROSS LINKED POLYETHYLENE CUP ASSORTED SIZE S AND HEAD DIAMETER AS REQUIRED BY END USER ORTHOPEDIC | EA | 2
7 | 4229421914500 | UNCEMENTED FEMORAL STEM WITH CALCAR REPLACEMENT (UNIVERSAL STANDARD CONE) ASSORTED SIZE S AS REQUESTED BY END USER ORTHOPEDIC | EA | 2
8 | 4229421914200 | POSTERO - SUPERIOR RIMMED CEMENTED HIGHLY CROSSLINKED POLYETHYLENE CUP POLYETHYLENE INNER ASSORTED SIZE S AND HEAD DIAMETER AS REQUIRED BE END USER ORTHOPEDIC | EA | 2
9 | 4229610002500 | DURAL REGENERATION MATRIX 3 INCH X 3 INCH (7.5 CM X 7.5 CM) NEURO | EA | 25
10 | 4229552200100 | VAGAL NERVE STIMULATOR DEVICE IMPLANTABLE DEVICE WHICH SEND ELECTRICAL PULSE FROM 0.25 - 3.0 MA. THE SYSTEM CONTAINS LEAD AND TUNNELIER TO STIMULATE VAGUS NERVE NEURO | EA | 1
11 | 4232161050400 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 5 MM LENGTH 25 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 50
12 | 4232161050500 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 5 MM LENGTH 30 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 100
13 | 4232161050600 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 5 MM LENGTH 35 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 150
14 | 4232161050700 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 5 MM LENGTH 40 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 200
15 | 4232161050800 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAN) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6 MM LENGTH 40 MM OR EQUI VALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 200
16 | 4232161050900 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6 MM LENGTH 45 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 100
17 | 4232161051000 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6.5 MM LENGTH 30 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 20
18 | 4232161051100 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6.5 MM LENGTH 35 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 50
19 | 4232161051200 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6.5 MM LENGTH 40 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 100
20 | 4232161051300 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6.5 MM LENGTH 45 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 100
21 | 4232160727200 | CAGES INTEGRATED PEEK CAGE WITH TITANIUM PLATE ANTERIOR CERVICAL FOR DISC FUSION 5 MM HEIGHT DIFFERENT DEPTH ACORDING TO END USER OR EQUIVALE NT SPINAL | EA | 20
22 | 4232160727300 | CAGES INTEGRATED PEEK CAGE WITH TITANIUM PLATE ANTERIOR CERVICAL FOR DISC FUSION 6 MM HEIGHT DIFFERENT DEPTH ACORDING TO END USER DEPTH OR EQ UIVALENT SPINAL | EA | 10
23 | 4232161042400 | SCREW LOCKING FOR (ALIF) TITANIUM DIAMETER 4 MM LENGTH 25 MM OR EQUIVALENT SPINAL | EA | 10
24 | 4232160781500 | POLYAXIAL CEMENT AUGMENTED EXPANDABLE TITANIUM TIP SCREW TITANIUM PEDICLE DIAM 6.5 X 45 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 100
25 | 4229610001400 | PASSIVE SPHERES NEURO | EA | 350
26 | 4229610007600 | NAVIGATED BIOPSY NEEDLE NEURO | EA | 20
27 | 4229610007700 | NAVIGATED NON - INVASIVE TUMOR RESECTION NEURO | EA | 25
28 | 4229610007800 | NAVIGATED NON - INVASIVE SHUNT PLACEMENT NEURO | EA | 15
29 | 4229552500500 | BONE FORMING BIOLOGIC SPINE IMPLANT WITH BIODEGRADABLE MESH FOR POSTEROLATERAL SPINE FUSION 1 CM - 20 CM SPINAL | EA | 10
30 | 4229610000100 | DRAPE C–ARM DRAPE MICROTEK NEURO | EA | 100
31 | 4229610001100 | DRAPE LEICA MICROSCOPE DRAPE NEURO | EA | 50
32 | 4229610003900 | ZEISS MICROSCOPE DRAPE WITH HANDLE COVERS 76 CM X 163 CM 65 MM NEURO | EA | 125
33 | 4229610007100 | FORCEPS DISPOSABLE BIPOLAR FORCEPS ALL SIZE S NEURO | EA | 60
34 | 4229610000900 | DURASEAL XACT ADHESION BARRIER AND SEALANT SYSTEM 3 ML NEURO | EA | 35
35 | 4229610002100 | NEURO PATTIES ALL SIZE S NEURO | EA | 2500
36 | 4229610003000 | JASKSON SPINAL TABLE KIT REORDER P/N 5808 PV MIZUHO OSI NEURO | EA | 125
37 | 4229610003500 | DURAGUARD DURAL - REPAIR PATCH ALL SIZE S NEURO | EA | 25
38 | 4232160102000 | CERVICAL DISC PROSTHESIS MEDIUM 6 MM HEIGHT OR EQUIVALENT SPINAL | EA | 2
39 | 4232160102100 | CERVICAL DISC PROSTHESIS MEDIUM 7 MM HEIGHT OR EQUIVALENT SPINAL | EA | 2
40 | 4229610000200 | CATHETER DISPOSABLE CATHETER PASSER 60 CM NEURO | EA | 10
41 | 4229610002800 | VALVE CSF - FLOW CONTROL VALVE CONTOURED REGULAR LOW AND MEDIUM AND HIGH PRESSURE (32 MM 14 MM 18 MM) NEURO | EA | 5
42 | 4229610003300 | VENTRICULAR CATHETER STANDARD BARIUM IMPREGNATED 23 CM 1.3 MM ID 5 MM OD NEURO | EA | 10
43 | 4229610002700 | CATHETER CSF - LUMBOPERITONEAL CATHETER SYSTEM 84 CM (OD 1.5 MM ID 0.7 MM) NEURO | EA | 5
44 | 4229610005500 | CRANIOPLATE 1.5 SCR. MAG. CROSS EMER ALL SIZE S NEURO | EA | 10
45 | 4229610005800 | CRANIOPLATE 1.5 Y - Y - PLATE 6 HOLES ALL LENGTHS NEURO | EA | 10
46 | 4229610005900 | CRANIOPLATE 1.5 BOX CAR 4 HOLES NEURO | EA | 10
47 | 4229610006000 | CRANIOPLATE 1.5 MESH ALL SIZE S NEURO | EA | 5
48 | 4229610006200 | CRANIOPLATE 1.52 HOLES STR. ALL LENGTHS NEURO | EA | 30
49 | 4229610006300 | CRANIOPLATE 1.54 HOLES STR ALL LENGTHS NEURO | EA | 20
50 | 4229610007000 | CRANIOPLATE 1.5 KIT 4 MM CENT. BUR. COVER NEURO | EA | 5
51 | 4229610021900 | CRANIAL FLAP FIXATION CLAMP TITANIUM (DOUBLE DISCS) SIZE SMALL ONE HOLDER AND APPLYER MUST BE PROVIDED FOR EACH 60 PCS NEURO | EA | 150
52 | 4229610022000 | CRANIAL FLAP FIXATION CLAMP TITANIUM (DOUBLE DISCS) SIZE MEDIUM ONE HOLDER AND APPLYER MUST BE PROVIDED FOR EACH 60 PCS NEURO | EA | 30
53 | 4229610022400 | SKULL BONE PERFORATOR (DISPOSABLE HUDSON CHUCK) LARGE SIZE NEURO | EA | 50
54 | 4231160702900 | ABSORBENT HEMOSTAT 10 X 20 CM TISSUE | EA | 300
55 | 4231160000300 | HEMOSTASIS DRESSING SURGICAL SURGICEL OR EQUIVALENT SIZE: 1.25 X 5 CM PACKING : INDIVIDUALLY WRAPPED DISPOSABLE STERILE | EA | 1300
56 | 4231200603600 | CLIP APPLIER MULTIPLE 29.2 CM WITH 20 MEDIUM TITANIUM CLIPS 3.8 MM CLOSED CLIP LENGTH 2.1 MM CLIP APERTURE DISPOSABLE STERILE | EA | 60
57 | 4215161473100 | HEMOSTASIS GELATIN MATRIX KIT CONTAINING 2 SYRINGES (MALE AND FEMALE) 2 APPLICATORS PREPARED BY MIXING GELATIN SYRINGE WITH SALINE | EA | 260
58 | 4229495802000 | DEVICE SEALING 9 CM WITH ADAPTIVE TISSUE TECHNOLOGY PERMANENTLY FUSES TISSUE BUNDLES VESSEL WITH DISSECTION HAND AND FOOT SWITCH ACTIVA TION CURVED SHEAR ARTERY FORCEPS SHAPE PROVIDES FINE GRASPING CAPABILITY FOR OPEN SURGERY HARMONIC FOCUS+ | EA | 100
59 | 4231160706000 | AGENT HEMOSTATIC SURGICAL SNOW ABSORBABLE STRUCTURED NON WOVEN OXID IZED REGENERATED CELLULOSE 5 X 10 CM AND 10 X 10 CM ACCORDING TO CENTRERE QUEST | EA | 130
60 | 4231200908300 | STAPLER LINEAR CUTTER FOR LAPAROSCOPIC 60 MM RELOADS WITH GRIPING SURFACE TECHNOLOGY TO PREVENT TISSUE SLIPPAGE 2.5 MM DISPOSABLE STERILE | EA | 130
61 | 4231200908600 | STAPLER LINEAR CUTTER FOR LAPAROSCOPIC 60 MM RELOADS WITH GRIPING SURFACE TECHNOLOGY TO PREVENT TISSUE SLIPPAGE 3.5 MM DISPOSABLE STERILE | EA | 460
62 | 4231201100200 | STAPLER LINEAR CUTTER FOR LAPAROSCOPIC 60 MM RELOADS WITH GRIPING SURFACE TECHNOLOGY TO PREVENT TISSUE SLIPPAGE 3.8 MM DISPOSABLE STERILE | EA | 460
63 | 4231200912800 | STAPLER LINEAR CUTTER FOR LAPAROSCOPIC 60 MM RELOADS WITH GRIPING SURFACE TECHNOLOGY TO PREVENT TISSUE SLIPPAGE 4.1 MM DISPOSABLE STERILE | EA | 460
64 | 4231200908400 | STAPLER LINEAR CUTTER FOR LAPAROSCOPIC 60 MM RELOADS WITH GRIPING SURFACE TECHNOLOGY TO PREVENT TISSUE SLIPPAGE 4.2 MM DISPOSABLE STERILE | EA | 200
65 | 4231200913000 | STAPLER LINEAR CUTTER 60 MM ARTICULATING BATTERY OPERATED WITH SURFACE GRIPING TECHNOLOGY TO PREVENT TISSUE SLIPPAGE FOR IMPROVED HEMOSTASIS 3 POINT GAP CONTROL FOR STRONG COMPRESSION 340 MM DISPOSABLE STERILE | EA | 100
66 | 4229490601300 | INSTRUMENT ULTRASONIC CUTTING AND COAGULATION FOR LAPAROSCOPIC 36 CM WITH ADAPTIVE TISSUE TECHNOLOGY AND ADVANCED HEMOSTASIS MODE RELIABLY SEALS VESSELS UP TO 7 MM IN DIAMETER WORK THROUGH 5 MM TROCAR ROTATING TITANIUM CURVED BLADE WITH GRIP HOUSING ASSEMBLY HAND CONTROL PIS TOL GRIP ONE CABLE PER/ 100 PIECE DISPOSABLE STERILE | EA | 60
67 | 4231200500500 | ADHESIVE SKIN OCTYL/BUTYL TOPICAL | EA | 200
68 | 4231160703500 | BONE WAX HEMOSTATIC 2.5 GM/PACK STERILE | EA | 130
69 | 4231200500400 | STRIP SKIN CLOSURE SIZE: 6 X 75 MM STERILE | EA | 4000
70 | 4231200500800 | STRIP SKIN CLOSURE SIZE: 3 X 75 MM STERILE | EA | 4000
71 | 4231151000300 | DRESSING FOAM 10 X 30 CM FIVE LAYER SUPER ABSORBENT NON WOVEN LAYER | EA | 4000
72 | 4229540800700 | BRUSH FOR OPERATION DISPOSABLE STERILE | EA | 4000
73 | 4229514301100 | KIT ELECTROSURGERY CONTAINS PATIENT RETURN ELECTRODE PLATE UNIVERSAL PLUG CORD ELECTROSURGICAL GENERATORS ADULT STERILE DISPOSABLE | EA | 1000
74 | 4229495800600 | INSTRUMENT SEALER DIVIDER OPEN SURGERY | EA | 100
75 | 4229421100000 | TRAY SURGICAL INSTRUMENT OPEN | EA | 60
76 | 4231200912500 | STAPLER LINEAR CUTTER DEVICE TITANIUM FOR NORMAL TISSUE 77.0 MM STAPLE LINE | EA | 15
77 | 4231201000100 | STAPLER FOR SKIN OPEN SURGERY FOR OPEN SURGERIES WITH READY STAINLESS STEEL STAPLES AND SUTURE FOR PURSE STRING SAFETY INTERNAL SYSTEM SIZE: 45 DISPOSABLE STERILE | EA | 5
78 | 4231200911300 | STAPLER CIRCULAR SIZE 28 - 29 MM CURVED END TO END ANASTOMOSIS STAPLER APPLIES TWO ROWS OF CIRCULAR STAGGERED STAPLER WITH A KNIFE IN BETWEEN AIRTIGHT FOR BOTH OPEN AND LAPAROSCOPIC PROCEDURE SHAFT MARKED AND ALONE PIN TROCAR SLIM ANVIL DISPOSABLE STERILE | EA | 30
79 | 4231200905100 | STAPLER SKIN SUTURE SKIN CLOSURE STERILE DISPOSABLE | EA | 600
80 | 4229633900200 | PORT THORACOSCOPIC WITH SHREDDED SLEEVES AND BLUNT OBTURATOR SIZE: 11 - 12 MM DISPOSABLE STERILE | EA | 30
81 | 4213170101500 | PACK ENDO - UROLOGIC CONTENTS 1 BACK TABLE COVER REINFORCED 140 X 190 CM 1 MAYO STAND COVER REINFORCED 75 X 145 CM 1 REINFORCED PERINEAL DRA PE SPECIALIZED FOR ENDOUROLOGICAL OPERATIONS 75 X 180 CM FENESTRATED 12 X 12 X 12 CM WITH FLUID COLLECTION POUCH WITH SUCTION PORT/S AND TUBE HOLDER IN BOTH SIDES 2 ADHESIVE TAPE 10 X 50 CM 1 UPPER DRAPE 110 X 170 CM 2 LEGGING 110 X 75 CM 1 EASY APPLICABLE CAMERA CABLE COVER SURGICAL GOWN XL SIZE . 1 SURGICAL GOWN L SIZE . 1 ABSORBENT TOWEL 2 (ACCORDING TO THE ATTACHED FABRIC SPECIFICATION) | EA | 200
82 | 4213170100900 | PACK UNIVERSAL : CONTENTS : 1 BACK TABLE COVER REINFORCED 140X 190 CM 1 MAYO STAND COVER REINFORCED 75X145 CM 4 UTILITY DRAPES WITH ADHESIVE TAPE 75X50 CM 1 UTILITY BAG 1 UPPER PART DRAPE REINFORCED WITH ADHESIVE TAPE 125 X150 CM WITH TUBE HOLDER 1 LOWER DRAPE REINFORCED 125 X 170CM WITH ADHESIVE TAPE WITH TUBE HOLDER 2 SIDE DRAPE REINFORCED 120 X80CM WITH ADHESIVE TAPE 2 EXTRA DRAPES 125 X 100 CM WITH ADHESIVE TAPE 1 NEEDLE COUNTER AND. 2 ADHESIVE TAPE 10 X 50 CM. 4 UTILITY DRAPES WITH ADHESIVE TAPE 75X50 CM. 1 UTILITY BAG. 1 UPPER PART DRAPE REINFORCED WITH ADHESIVE TAPE 125 X150 CM WITH TUBE HOLDER. 1 LOWER DRAPE REINFORCED 125 X 170CM WITH ADHESIVE TAPE WITH TUBE HOLDER. 2 SIDE DRAPE REINFORCED 120 X80CM WITH ADHESIVE TAPE. 2 EXTRA DRAPES 125X100 CM WITH ADHESIVE TAPE. 1 NEEDLE COUNTER . 2 ADHESIVE TAPE (STERI -TAPE )10 X 50 CM. 1 SURGICAL GOWN XL SIZE. 1 SURGICAL GOWN L SIZE. 2 ABSORBENT TOWEL. (ACCORDING TO THE ATTACHED FABRIC SPECIFICATION ) | EA | 1000
83 | 4229493300000 | LAPAROSCOPIC SUCTION/ IRRIGATION DEVICE 5 MM DIAMETER SHAFT POOL SUCTION AND IRRIGATION ACCOMMODATE GRAVITY FEED SYSTEM | EA | 60
84 | 4229161321300 | BLADE SCALPEL CARBON/STAINLESS STEEL WITH PLASTIC HANDLE SIZE: 11 G DISPOSABLE STERILE | EA | 3300
85 | 4229161302200 | BLADE SCALPEL CARBON/STAINLESS STEEL SIZE: 11 G DISPOSABLE STERILE | EA | 4000
86 | 4229161302300 | BLADE SCALPEL CARBON/STAINLESS STEEL SIZE: 12 G DISPOSABLE STERILE | EA | 4000
87 | 4229161302600 | BLADE SCALPEL CARBON/STAINLESS STEEL SIZE: 21 G DISPOSABLE STERILE | EA | 4000
89 | 4229161302700 | BLADE SCALPEL CARBON STEEL/STAINLESS STEEL DISPOSABLE STERILE SIZE: G22 | EA | 6000
89 | 4229161302500 | BLADE SCALPEL CARBON/STAINLESS STEEL SIZE: 20 G DISPOSABLE STERILE | EA | 4000
90 | 4229554600300 | MESH LIGHTWEIGHT MACROPOROUS PARTIALLY ABSORBED FLAT SHEET FOR OPEN HERNIA REPAIR SURGERY SIZE 30 X 30 CM DISPOSABLE STERILE | EA | 5

## المتعثرة بتوزيع المناطق
SN | Nupco Item Code | MATERIAL NUMBER | Item Description | UOM | Nedded QTY | Region | Manufacturer | Country Of Origin | Supplier | SFDA. NO | Trade Name | Item Validity Total Shelf Life (months) | Catalog Number | Volume/ Package Size | Quantity Quoted | Unit Price (SR) | Unit Price In Writing (SR) | Total Price (SR) | Free Of Charge % | Company Comments & Remarks | Delivery Period | First Shipment Quantity | First Shipment Delivery Period
1 | 4229590300301 | 4229590300300 | STENT UROLOGICAL 20 CM 6 P | EA | 50 | KAMC - King Abdullah Medical City
2 | 4229610007401 | 4229610007400 | MATRIX FLOSEAL HEMOSTATIC MATRIX 10 ML NEURO | EA | 500 | KAMC - King Abdullah Medical City
3 | 4229421912602 | 4229421912600 | UNCEMENTED FEMORAL STEM FOR BIPOLAR HIP ASSORTED SIZE S AS REQUIRED BY END USER ORTHOPEDIC | EA | 2 | KAMC - King Abdullah Medical City
4 | 4229421913501 | 4229421913500 | HEAD CERAMIC FOR UNCEMENTED TOTAL HIP ASSORTED SIZE S AS REQUESTED BY END USER ORTHOPEDIC | EA | 2 | KAMC - King Abdullah Medical City
5 | 4229421914303 | 4229421914300 | TITANIUM FLAT HEAD SCREW S FOR UNCEMENTED CUP ASSORTED SIZE S AS REQUESTED BY END USER ORTHOPEDIC | EA | 2 | KAMC - King Abdullah Medical City
6 | 4229421914402 | 4229421914400 | TOTAL HIP SYSTEM CEMENTED MODULAR FULL PROFILE HIGHLY CROSS LINKED POLYETHYLENE CUP ASSORTED SIZE S AND HEAD DIAMETER AS REQUIRED BY END USER ORTHOPEDIC | EA | 2 | KAMC - King Abdullah Medical City
7 | 4229421914502 | 4229421914500 | UNCEMENTED FEMORAL STEM WITH CALCAR REPLACEMENT (UNIVERSAL STANDARD CONE) ASSORTED SIZE S AS REQUESTED BY END USER ORTHOPEDIC | EA | 2 | KAMC - King Abdullah Medical City
8 | 4229421914202 | 4229421914200 | POSTERO - SUPERIOR RIMMED CEMENTED HIGHLY CROSSLINKED POLYETHYLENE CUP POLYETHYLENE INNER ASSORTED SIZE S AND HEAD DIAMETER AS REQUIRED BE END USER ORTHOPEDIC | EA | 2 | KAMC - King Abdullah Medical City
9 | 4229610002502 | 4229610002500 | DURAL REGENERATION MATRIX 3 INCH X 3 INCH (7.5 CM X 7.5 CM) NEURO | EA | 25 | KAMC - King Abdullah Medical City
10 | 4229552200101 | 4229552200100 | VAGAL NERVE STIMULATOR DEVICE IMPLANTABLE DEVICE WHICH SEND ELECTRICAL PULSE FROM 0.25 - 3.0 MA. THE SYSTEM CONTAINS LEAD AND TUNNELIER TO STIMULATE VAGUS NERVE NEURO | EA | 1 | KAMC - King Abdullah Medical City
11 | 4232161050402 | 4232161050400 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 5 MM LENGTH 25 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 50 | KAMC - King Abdullah Medical City
12 | 4232161050502 | 4232161050500 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 5 MM LENGTH 30 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 100 | KAMC - King Abdullah Medical City
13 | 4232161050602 | 4232161050600 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 5 MM LENGTH 35 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 150 | KAMC - King Abdullah Medical City
14 | 4232161050702 | 4232161050700 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 5 MM LENGTH 40 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 200 | KAMC - King Abdullah Medical City
15 | 4232161050802 | 4232161050800 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAN) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6 MM LENGTH 40 MM OR EQUI VALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 200 | KAMC - King Abdullah Medical City
16 | 4232161050902 | 4232161050900 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6 MM LENGTH 45 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 100 | KAMC - King Abdullah Medical City
17 | 4232161051001 | 4232161051000 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6.5 MM LENGTH 30 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 20 | KAMC - King Abdullah Medical City
18 | 4232161051101 | 4232161051100 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6.5 MM LENGTH 35 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 50 | KAMC - King Abdullah Medical City
19 | 4232161051201 | 4232161051200 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6.5 MM LENGTH 40 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 100 | KAMC - King Abdullah Medical City
20 | 4232161051301 | 4232161051300 | SCREW TOP LOADING (POLYAXIAL OR UNIAXIAL ON DEMAND) FOR DEFORMITY WITH TOP REDUCTION MECHANISM TITANIUM PEDICLE DIAM 6.5 MM LENGTH 45 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 100 | KAMC - King Abdullah Medical City
21 | 4232160727202 | 4232160727200 | CAGES INTEGRATED PEEK CAGE WITH TITANIUM PLATE ANTERIOR CERVICAL FOR DISC FUSION 5 MM HEIGHT DIFFERENT DEPTH ACORDING TO END USER OR EQUIVALE NT SPINAL | EA | 20 | KAMC - King Abdullah Medical City
22 | 4232160727302 | 4232160727300 | CAGES INTEGRATED PEEK CAGE WITH TITANIUM PLATE ANTERIOR CERVICAL FOR DISC FUSION 6 MM HEIGHT DIFFERENT DEPTH ACORDING TO END USER DEPTH OR EQ UIVALENT SPINAL | EA | 10 | KAMC - King Abdullah Medical City
23 | 4232161042402 | 4232161042400 | SCREW LOCKING FOR (ALIF) TITANIUM DIAMETER 4 MM LENGTH 25 MM OR EQUIVALENT SPINAL | EA | 10 | KAMC - King Abdullah Medical City
24 | 4232160781502 | 4232160781500 | POLYAXIAL CEMENT AUGMENTED EXPANDABLE TITANIUM TIP SCREW TITANIUM PEDICLE DIAM 6.5 X 45 MM OR EQUIVALENT WITH PROPER LOCKING MECHANISM SPINAL | EA | 100 | KAMC - King Abdullah Medical City
25 | 4229610001401 | 4229610001400 | PASSIVE SPHERES NEURO | EA | 350 | KAMC - King Abdullah Medical City
26 | 4229610007601 | 4229610007600 | NAVIGATED BIOPSY NEEDLE NEURO | EA | 20 | KAMC - King Abdullah Medical City
27 | 4229610007701 | 4229610007700 | NAVIGATED NON - INVASIVE TUMOR RESECTION NEURO | EA | 25 | KAMC - King Abdullah Medical City
28 | 4229610007801 | 4229610007800 | NAVIGATED NON - INVASIVE SHUNT PLACEMENT NEURO | EA | 15 | KAMC - King Abdullah Medical City
29 | 4229552500501 | 4229552500500 | BONE FORMING BIOLOGIC SPINE IMPLANT WITH BIODEGRADABLE MESH FOR POSTEROLATERAL SPINE FUSION 1 CM - 20 CM SPINAL | EA | 10 | KAMC - King Abdullah Medical City
30 | 4229610000101 | 4229610000100 | DRAPE C–ARM DRAPE MICROTEK NEURO | EA | 100 | KAMC - King Abdullah Medical City
31 | 4229610001101 | 4229610001100 | DRAPE LEICA MICROSCOPE DRAPE NEURO | EA | 50 | KAMC - King Abdullah Medical City
32 | 4229610003901 | 4229610003900 | ZEISS MICROSCOPE DRAPE WITH HANDLE COVERS 76 CM X 163 CM 65 MM NEURO | EA | 125 | KAMC - King Abdullah Medical City
33 | 4229610007101 | 4229610007100 | FORCEPS DISPOSABLE BIPOLAR FORCEPS ALL SIZE S NEURO | EA | 60 | KAMC - King Abdullah Medical City
34 | 4229610000901 | 4229610000900 | DURASEAL XACT ADHESION BARRIER AND SEALANT SYSTEM 3 ML NEURO | EA | 35 | KAMC - King Abdullah Medical City
35 | 4229610002101 | 4229610002100 | NEURO PATTIES ALL SIZE S NEURO | EA | 2500 | KAMC - King Abdullah Medical City
36 | 4229610003001 | 4229610003000 | JASKSON SPINAL TABLE KIT REORDER P/N 5808 PV MIZUHO OSI NEURO | EA | 125 | KAMC - King Abdullah Medical City
37 | 4229610003501 | 4229610003500 | DURAGUARD DURAL - REPAIR PATCH ALL SIZE S NEURO | EA | 25 | KAMC - King Abdullah Medical City
38 | 4232160102002 | 4232160102000 | CERVICAL DISC PROSTHESIS MEDIUM 6 MM HEIGHT OR EQUIVALENT SPINAL | EA | 2 | KAMC - King Abdullah Medical City
39 | 4232160102102 | 4232160102100 | CERVICAL DISC PROSTHESIS MEDIUM 7 MM HEIGHT OR EQUIVALENT SPINAL | EA | 2 | KAMC - King Abdullah Medical City
40 | 4229610000201 | 4229610000200 | CATHETER DISPOSABLE CATHETER PASSER 60 CM NEURO | EA | 10 | KAMC - King Abdullah Medical City
41 | 4229610002802 | 4229610002800 | VALVE CSF - FLOW CONTROL VALVE CONTOURED REGULAR LOW AND MEDIUM AND HIGH PRESSURE (32 MM 14 MM 18 MM) NEURO | EA | 5 | KAMC - King Abdullah Medical City
42 | 4229610003301 | 4229610003300 | VENTRICULAR CATHETER STANDARD BARIUM IMPREGNATED 23 CM 1.3 MM ID 5 MM OD NEURO | EA | 10 | KAMC - King Abdullah Medical City
43 | 4229610002701 | 4229610002700 | CATHETER CSF - LUMBOPERITONEAL CATHETER SYSTEM 84 CM (OD 1.5 MM ID 0.7 MM) NEURO | EA | 5 | KAMC - King Abdullah Medical City
44 | 4229610005501 | 4229610005500 | CRANIOPLATE 1.5 SCR. MAG. CROSS EMER ALL SIZE S NEURO | EA | 10 | KAMC - King Abdullah Medical City
45 | 4229610005801 | 4229610005800 | CRANIOPLATE 1.5 Y - Y - PLATE 6 HOLES ALL LENGTHS NEURO | EA | 10 | KAMC - King Abdullah Medical City
46 | 4229610005901 | 4229610005900 | CRANIOPLATE 1.5 BOX CAR 4 HOLES NEURO | EA | 10 | KAMC - King Abdullah Medical City
47 | 4229610006001 | 4229610006000 | CRANIOPLATE 1.5 MESH ALL SIZE S NEURO | EA | 5 | KAMC - King Abdullah Medical City
48 | 4229610006201 | 4229610006200 | CRANIOPLATE 1.52 HOLES STR. ALL LENGTHS NEURO | EA | 30 | KAMC - King Abdullah Medical City
49 | 4229610006301 | 4229610006300 | CRANIOPLATE 1.54 HOLES STR ALL LENGTHS NEURO | EA | 20 | KAMC - King Abdullah Medical City
50 | 4229610007001 | 4229610007000 | CRANIOPLATE 1.5 KIT 4 MM CENT. BUR. COVER NEURO | EA | 5 | KAMC - King Abdullah Medical City
51 | 4229610021902 | 4229610021900 | CRANIAL FLAP FIXATION CLAMP TITANIUM (DOUBLE DISCS) SIZE SMALL ONE HOLDER AND APPLYER MUST BE PROVIDED FOR EACH 60 PCS NEURO | EA | 150 | KAMC - King Abdullah Medical City
52 | 4229610022002 | 4229610022000 | CRANIAL FLAP FIXATION CLAMP TITANIUM (DOUBLE DISCS) SIZE MEDIUM ONE HOLDER AND APPLYER MUST BE PROVIDED FOR EACH 60 PCS NEURO | EA | 30 | KAMC - King Abdullah Medical City
53 | 4229610022401 | 4229610022400 | SKULL BONE PERFORATOR (DISPOSABLE HUDSON CHUCK) LARGE SIZE NEURO | EA | 50 | KAMC - King Abdullah Medical City
54 | 4231160702901 | 4231160702900 | ABSORBENT HEMOSTAT 10 X 20 CM TISSUE | EA | 300 | KAMC - King Abdullah Medical City
55 | 4231160000301 | 4231160000300 | HEMOSTASIS DRESSING SURGICAL SURGICEL OR EQUIVALENT SIZE: 1.25 X 5 CM PACKING : INDIVIDUALLY WRAPPED DISPOSABLE STERILE | EA | 1300 | KAMC - King Abdullah Medical City
56 | 4231200603601 | 4231200603600 | CLIP APPLIER MULTIPLE 29.2 CM WITH 20 MEDIUM TITANIUM CLIPS 3.8 MM CLOSED CLIP LENGTH 2.1 MM CLIP APERTURE DISPOSABLE STERILE | EA | 60 | KAMC - King Abdullah Medical City
57 | 4215161473102 | 4215161473100 | HEMOSTASIS GELATIN MATRIX KIT CONTAINING 2 SYRINGES (MALE AND FEMALE) 2 APPLICATORS PREPARED BY MIXING GELATIN SYRINGE WITH SALINE | EA | 260 | KAMC - King Abdullah Medical City
58 | 4229495802001 | 4229495802000 | DEVICE SEALING 9 CM WITH ADAPTIVE TISSUE TECHNOLOGY PERMANENTLY FUSES TISSUE BUNDLES VESSEL WITH DISSECTION HAND AND FOOT SWITCH ACTIVA TION CURVED SHEAR ARTERY FORCEPS SHAPE PROVIDES FINE GRASPING CAPABILITY FOR OPEN SURGERY HARMONIC FOCUS+ | EA | 100 | KAMC - King Abdullah Medical City
59 | 4231160706001 | 4231160706000 | AGENT HEMOSTATIC SURGICAL SNOW ABSORBABLE STRUCTURED NON WOVEN OXID IZED REGENERATED CELLULOSE 5 X 10 CM AND 10 X 10 CM ACCORDING TO CENTRERE QUEST | EA | 130 | KAMC - King Abdullah Medical City
60 | 4231200908301 | 4231200908300 | STAPLER LINEAR CUTTER FOR LAPAROSCOPIC 60 MM RELOADS WITH GRIPING SURFACE TECHNOLOGY TO PREVENT TISSUE SLIPPAGE 2.5 MM DISPOSABLE STERILE | EA | 130 | KAMC - King Abdullah Medical City
61 | 4231200908601 | 4231200908600 | STAPLER LINEAR CUTTER FOR LAPAROSCOPIC 60 MM RELOADS WITH GRIPING SURFACE TECHNOLOGY TO PREVENT TISSUE SLIPPAGE 3.5 MM DISPOSABLE STERILE | EA | 460 | KAMC - King Abdullah Medical City
62 | 4231201100201 | 4231201100200 | STAPLER LINEAR CUTTER FOR LAPAROSCOPIC 60 MM RELOADS WITH GRIPING SURFACE TECHNOLOGY TO PREVENT TISSUE SLIPPAGE 3.8 MM DISPOSABLE STERILE | EA | 460 | KAMC - King Abdullah Medical City
63 | 4231200912801 | 4231200912800 | STAPLER LINEAR CUTTER FOR LAPAROSCOPIC 60 MM RELOADS WITH GRIPING SURFACE TECHNOLOGY TO PREVENT TISSUE SLIPPAGE 4.1 MM DISPOSABLE STERILE | EA | 460 | KAMC - King Abdullah Medical City
64 | 4231200908401 | 4231200908400 | STAPLER LINEAR CUTTER FOR LAPAROSCOPIC 60 MM RELOADS WITH GRIPING SURFACE TECHNOLOGY TO PREVENT TISSUE SLIPPAGE 4.2 MM DISPOSABLE STERILE | EA | 200 | KAMC - King Abdullah Medical City
65 | 4231200913001 | 4231200913000 | STAPLER LINEAR CUTTER 60 MM ARTICULATING BATTERY OPERATED WITH SURFACE GRIPING TECHNOLOGY TO PREVENT TISSUE SLIPPAGE FOR IMPROVED HEMOSTASIS 3 POINT GAP CONTROL FOR STRONG COMPRESSION 340 MM DISPOSABLE STERILE | EA | 100 | KAMC - King Abdullah Medical City
66 | 4229490601302 | 4229490601300 | INSTRUMENT ULTRASONIC CUTTING AND COAGULATION FOR LAPAROSCOPIC 36 CM WITH ADAPTIVE TISSUE TECHNOLOGY AND ADVANCED HEMOSTASIS MODE RELIABLY SEALS VESSELS UP TO 7 MM IN DIAMETER WORK THROUGH 5 MM TROCAR ROTATING TITANIUM CURVED BLADE WITH GRIP HOUSING ASSEMBLY HAND CONTROL PIS TOL GRIP ONE CABLE PER/ 100 PIECE DISPOSABLE STERILE | EA | 60 | KAMC - King Abdullah Medical City
67 | 4231200500501 | 4231200500500 | ADHESIVE SKIN OCTYL/BUTYL TOPICAL | EA | 200 | KAMC - King Abdullah Medical City
68 | 4231160703501 | 4231160703500 | BONE WAX HEMOSTATIC 2.5 GM/PACK STERILE | EA | 130 | KAMC - King Abdullah Medical City
69 | 4231200500401 | 4231200500400 | STRIP SKIN CLOSURE SIZE: 6 X 75 MM STERILE | EA | 4000 | KAMC - King Abdullah Medical City
70 | 4231200500802 | 4231200500800 | STRIP SKIN CLOSURE SIZE: 3 X 75 MM STERILE | EA | 4000 | KAMC - King Abdullah Medical City
71 | 4231151000301 | 4231151000300 | DRESSING FOAM 10 X 30 CM FIVE LAYER SUPER ABSORBENT NON WOVEN LAYER | EA | 4000 | KAMC - King Abdullah Medical City
72 | 4229540800701 | 4229540800700 | BRUSH FOR OPERATION DISPOSABLE STERILE | EA | 4000 | KAMC - King Abdullah Medical City
73 | 4229514301101 | 4229514301100 | KIT ELECTROSURGERY CONTAINS PATIENT RETURN ELECTRODE PLATE UNIVERSAL PLUG CORD ELECTROSURGICAL GENERATORS ADULT STERILE DISPOSABLE | EA | 1000 | KAMC - King Abdullah Medical City
74 | 4229495800601 | 4229495800600 | INSTRUMENT SEALER DIVIDER OPEN SURGERY | EA | 100 | KAMC - King Abdullah Medical City
75 | 4229421100001 | 4229421100000 | TRAY SURGICAL INSTRUMENT OPEN | EA | 60 | KAMC - King Abdullah Medical City
76 | 4231200912501 | 4231200912500 | STAPLER LINEAR CUTTER DEVICE TITANIUM FOR NORMAL TISSUE 77.0 MM STAPLE LINE | EA | 15 | KAMC - King Abdullah Medical City
77 | 4231201000101 | 4231201000100 | STAPLER FOR SKIN OPEN SURGERY FOR OPEN SURGERIES WITH READY STAINLESS STEEL STAPLES AND SUTURE FOR PURSE STRING SAFETY INTERNAL SYSTEM SIZE: 45 DISPOSABLE STERILE | EA | 5 | KAMC - King Abdullah Medical City
78 | 4231200911301 | 4231200911300 | STAPLER CIRCULAR SIZE 28 - 29 MM CURVED END TO END ANASTOMOSIS STAPLER APPLIES TWO ROWS OF CIRCULAR STAGGERED STAPLER WITH A KNIFE IN BETWEEN AIRTIGHT FOR BOTH OPEN AND LAPAROSCOPIC PROCEDURE SHAFT MARKED AND ALONE PIN TROCAR SLIM ANVIL DISPOSABLE STERILE | EA | 30 | KAMC - King Abdullah Medical City
79 | 4231200905101 | 4231200905100 | STAPLER SKIN SUTURE SKIN CLOSURE STERILE DISPOSABLE | EA | 600 | KAMC - King Abdullah Medical City
80 | 4229633900202 | 4229633900200 | PORT THORACOSCOPIC WITH SHREDDED SLEEVES AND BLUNT OBTURATOR SIZE: 11 - 12 MM DISPOSABLE STERILE | EA | 30 | KAMC - King Abdullah Medical City
81 | 4213170101502 | 4213170101500 | PACK ENDO - UROLOGIC CONTENTS 1 BACK TABLE COVER REINFORCED 140 X 190 CM 1 MAYO STAND COVER REINFORCED 75 X 145 CM 1 REINFORCED PERINEAL DRA PE SPECIALIZED FOR ENDOUROLOGICAL OPERATIONS 75 X 180 CM FENESTRATED 12 X 12 X 12 CM WITH FLUID COLLECTION POUCH WITH SUCTION PORT/S AND TUBE HOLDER IN BOTH SIDES 2 ADHESIVE TAPE 10 X 50 CM 1 UPPER DRAPE 110 X 170 CM 2 LEGGING 110 X 75 CM 1 EASY APPLICABLE CAMERA CABLE COVER SURGICAL GOWN XL SIZE . 1 SURGICAL GOWN L SIZE . 1 ABSORBENT TOWEL 2 (ACCORDING TO THE ATTACHED FABRIC SPECIFICATION) | EA | 200 | KAMC - King Abdullah Medical City
82 | 4213170100901 | 4213170100900 | PACK UNIVERSAL : CONTENTS : 1 BACK TABLE COVER REINFORCED 140X 190 CM 1 MAYO STAND COVER REINFORCED 75X145 CM 4 UTILITY DRAPES WITH ADHESIVE TAPE 75X50 CM 1 UTILITY BAG 1 UPPER PART DRAPE REINFORCED WITH ADHESIVE TAPE 125 X150 CM WITH TUBE HOLDER 1 LOWER DRAPE REINFORCED 125 X 170CM WITH ADHESIVE TAPE WITH TUBE HOLDER 2 SIDE DRAPE REINFORCED 120 X80CM WITH ADHESIVE TAPE 2 EXTRA DRAPES 125 X 100 CM WITH ADHESIVE TAPE 1 NEEDLE COUNTER AND. 2 ADHESIVE TAPE 10 X 50 CM. 4 UTILITY DRAPES WITH ADHESIVE TAPE 75X50 CM. 1 UTILITY BAG. 1 UPPER PART DRAPE REINFORCED WITH ADHESIVE TAPE 125 X150 CM WITH TUBE HOLDER. 1 LOWER DRAPE REINFORCED 125 X 170CM WITH ADHESIVE TAPE WITH TUBE HOLDER. 2 SIDE DRAPE REINFORCED 120 X80CM WITH ADHESIVE TAPE. 2 EXTRA DRAPES 125X100 CM WITH ADHESIVE TAPE. 1 NEEDLE COUNTER . 2 ADHESIVE TAPE (STERI -TAPE )10 X 50 CM. 1 SURGICAL GOWN XL SIZE. 1 SURGICAL GOWN L SIZE. 2 ABSORBENT TOWEL. (ACCORDING TO THE ATTACHED FABRIC SPECIFICATION ) | EA | 1000 | KAMC - King Abdullah Medical City
83 | 4229493300001 | 4229493300000 | LAPAROSCOPIC SUCTION/ IRRIGATION DEVICE 5 MM DIAMETER SHAFT POOL SUCTION AND IRRIGATION ACCOMMODATE GRAVITY FEED SYSTEM | EA | 60 | KAMC - King Abdullah Medical City
84 | 4229161321302 | 4229161321300 | BLADE SCALPEL CARBON/STAINLESS STEEL WITH PLASTIC HANDLE SIZE: 11 G DISPOSABLE STERILE | EA | 3300 | KAMC - King Abdullah Medical City
85 | 4229161302202 | 4229161302200 | BLADE SCALPEL CARBON/STAINLESS STEEL SIZE: 11 G DISPOSABLE STERILE | EA | 4000 | KAMC - King Abdullah Medical City
86 | 4229161302302 | 4229161302300 | BLADE SCALPEL CARBON/STAINLESS STEEL SIZE: 12 G DISPOSABLE STERILE | EA | 4000 | KAMC - King Abdullah Medical City
87 | 4229161302602 | 4229161302600 | BLADE SCALPEL CARBON/STAINLESS STEEL SIZE: 21 G DISPOSABLE STERILE | EA | 4000 | KAMC - King Abdullah Medical City
88 | 4229161302702 | 4229161302700 | BLADE SCALPEL CARBON STEEL/STAINLESS STEEL DISPOSABLE STERILE SIZE: G22 | EA | 6000 | KAMC - King Abdullah Medical City
89 | 4229161302502 | 4229161302500 | BLADE SCALPEL CARBON/STAINLESS STEEL SIZE: 20 G DISPOSABLE STERILE | EA | 4000 | KAMC - King Abdullah Medical City
90 | 4229554600301 | 4229554600300 | MESH LIGHTWEIGHT MACROPOROUS PARTIALLY ABSORBED FLAT SHEET FOR OPEN HERNIA REPAIR SURGERY SIZE 30 X 30 CM DISPOSABLE STERILE | EA | 5 | KAMC - King Abdullah Medical City