## البنود
SN | SRM Transaction Number | Generic Code | generic description | qty
1 | 3000010237 | 4217210501500 | TRAY LINER, MADE OF CELLULOSE FIBERS 80 G TO BE USE UNDER THE SURGICAL TRAY TO ABSORB ANY MOISTURE AFTER THE CYCLE, WHITE, SIZE 500 X 300 MM. | 61500
2 | 3000010237 | 4228152700100 | CASSETTE HYDROGEN PEROXIDE STERILANT FOR STERRAD NX STERILIZER WITH AN EXTERNAL LEAK MONITOR FOR 5 CYCLES. | 6
3 | 3000010237 | 4228152700300 | V-PRO MAX CARTRIDGE OR CUP, 59% HYDROGEN PEROXIDE, (15 CYCLES / CUP) . | 53
4 | 3000010237 | 4228152700900 | CASSETTE HYDROGEN PEROXIDE STERILANT FOR STERRAD 100 S STERILIZER WITH AN EXTERNAL LEAK MONITOR FOR 5 CYCLES. | 25
5 | 3000010237 | 4228152801500 | CHEMICAL INDICATOR, EMULATING TYPE 6 FOR STEAM STERILIZATION, USE FOR BOTH OF 121 AND 134, NON-TOXIC INK, LEAD OR HEAVY METALS FREE, PERMANENT COLOR CHANGE AFTER EXPOSURE, ENDPOINT COLOR FOR PASS AND FAIL. 6 - 7 CM (L) X 2 - 3 CM (W) STRIP, HIGH QUALITY FULL LAMINATED FROM BOTH SIDES. | 178833
6 | 3000010237 | 4228152801900 | CLEANING INDICATOR, MONITORING THE CLEANING EFFICIENCY OF THE WASHER DISINFECTOR TO DETECT ITS CHEMICAL AND MECHANICAL ACTIVITY PROBLEMS, NO TOXIC, LEAD OR HEAVY METALS FREE, PLASTIC PLATE INDICATOR CONTAIN PRINTED DIE (BLOOD EQUIVALENT) , STORAGE IN ROOM TEMP, SUPPLIER PROVIDE 1 HOLDER FOR EVERY 200 STRIPS. | 1658
7 | 3000010237 | 4228152802700 | CLEANING INDICATOR, MONITORING THE CLEANING EFFICIENCY OF THE ULTRASONIC, SELF-CONTAINED VIAL VISUALLY CHECKED FOR COLOR CHANGE, STO RAGE IN ROOM TEMPERATURE. | 21
8 | 3000010237 | 4228152803000 | INDICATOR, CHEMICAL, FOR STERIS SYSTEM ONE | 2978
9 | 3000010237 | 4228170402900 | ALKALINE DETERGENT SODIUM/POTASSIUM HYDROXIDE EFFECTIVE ON HARD TO CLEAN SOILS DISSOLVES COMPLETELY IN HARD OR SOFT WATER EASY TO RINSE LOW FOAMING SUITABLE FOR AUTOMATIC CLEANING 2-5 ML DOSE FORMULA PH ALKALINE 10 – 13 BEFORE DILUTION CORROSION INHIBITOR BIODEGRADABLE FIT TO CABINET (WIDE CAP) GALLON 3 – 5 L | 460
10 | 3000010237 | 4228180300900 | BIOLOGICAL INDICATOR, SELF-CONTAINED INDIVIDUAL VIALS FOR PLASMA STERILIZERS, READOUT INCUBATION TIME LESS THAN 30 MIN, EXTERNAL CHEMICAL INDICATOR TYPE 1, PROVIDE 1 INCUBATOR 1000 INDICATOR. | 160
11 | 3000010237 | 4228180301200 | BIOLOGICAL INDICATOR, SELF-CONTAINED INDIVIDUAL VIALS FOR STEAM STERILIZERS, READOUT INCUBATION TIME LESS THAN 30 MIN, EXTERNAL CHEMICAL INDICATOR TYPE 1. | 15571
12 | 3000010237 | 4228180801800 | ROLL, 14 INCH X 76 YDS, FOR STERRAD 100 S STERILIZER | 546
13 | 3000010237 | 4228181000600 | BOWIE-DICK TEST PACK, MONITORING THE PERFORMANCE OF STEAM STERILIZERS, OPERATING AT 134C AND 121C, DETECT (WET STEAM, SUPERHEATED STEAM AND NON-CONDENSABLE GASES PROBLEMS, INADEQUATE STEAM PENETRATION AND VACUUM PUMP FAILURES) , LEAD AND TOXIC FREE, 20 MM DISTANCE BETWEEN INK LINES, TEST LAYER LAMINATED, TEST SHEET BACK INCLUDE INQUIRIES DOCUMENTATION INFORMATION, SIZE 12X 12 CM. | 6238
14 | 3000010237 | 4228190203400 | BIOLOGICAL INDICATOR, CHALLENGE PACK FOR STEAM STERILIZER (SELF-CONTAINED BIOLOGICAL INDICATOR PLUS CHEMICAL INTEGRATOR TYPE 5) , READOUT INCUBATION TIME LESS THAN 30 MIN, EXTERNAL CHEMICAL INDICATOR TYPE 1, PROVIDE BIOLOGICAL INDICATOR CONTROL WITH SAME LOT NUMBER. | 19
15 | 3000010237 | 4228190204400 | TYVEK POUCH H2O2 STERILIZATION ROLL FLAT, 70 GSM, PUNCTURE RESISTANT PLASTIC, TRANSPARENT FILM, PROCESS INDICATOR TYPE 1 PRINTED AT DISTANCE EVERY 15 CM, SIZE: 150 MM X 70 M | 627
16 | 3000010237 | 4228190204600 | STEAM POUCH STERILIZATION ROLL GUSSET, MEDICAL GRADE, NOT LESS THAN 60 GSM, PUNCTURE RESISTANT PLASTIC, TRANSPARENT FILM, PROCESS INDICATOR TYPE 1 PRINTED AT DISTANCE EVERY 15 CM, SIZE: 300 MM X100 MM X 100 M. | 3288
17 | 3000010237 | 4231154606200 | BRUSH CLEANING CANNULATED INSTRUMENT, SINGLE ENDED, HIGH QUALITY WHITE MEDICAL GRADE SOFT NYLON BRISTLES, STAINLESS STEEL HANDLE, DISPOSABLE, NON-STERILE, BRISTLE DIAMETER WIDE: 20 - 25 MM, OVERALL LENGTH NOT LESS THAN 35 CM. | 315
18 | 3000010237 | 4231154607200 | BRUSH CLEANING CANNULATED, DOUBLE ENDED, HIGH QUALITY WHITE MEDICAL GRADE SOFT NYLON BRISTLE, ATTACHED TO PLASTIC WIRE, RUBBER PADDED TIP, LATEX-FREE, DISPOSABLE, NON-STERILE, BRUSH DIAMETER: BRISTLE TAPERED 4 - 6 MM, BRISTLE LENGTH: 2 - 3 CM, OVERALL LENGTH: 230 - 250 CM. | 7528
19 | 3000010237 | 4231154607600 | REGULAR CLEANING BRUSH, SINGLE-ENDED, HIGH QUALITY WHITE MEDICAL GRADE SOFT NYLON BRISTLES, DISPOSABLE, NON-STERILE, BRISTLE DIAMETER (3 L, 1 W) CM, OVERALL LENGTH 17-18 CM. | 642
20 | 3000010237 | 4231160601400 | PRE CLEAN SPONGE, SCOPE SHAPED IMPREGNATED IN ENZYMATIC SOLUTION, SURFACTANTS, ANTICORROSIVE, AND ANTIFOAMING AGENT, ALDEHYDES AND C HLORINE COMPONENT FREE, NONTOXIC AND SAFE TO HANDLE, RINSE FREE, BIODEGRADABLE, BACTERICIDAL, SIZE 500 – 600 ML | 36
21 | 3000010237 | 4231210805000 | POUCH STEAM STERILIZATION PRE-CUT FLAT HEAT SEAL, MEDICAL GRADE PAPER NOT LESS THAN 60 GSM (WHITE) , THICK PLASTIC TRANSPARENT FILM, PUNCTURE RESISTANT INDICATOR TYPE 1 PRINTED AT DISTANCE EVERY 15 CM, SEAL EDGE 9 MM, SIZE: L 406 MM X W 200 MM | 191416

## توزيع المناطق
Generic Code | Plant | Delivery Address | Total
4217210501500 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 500
4217210501500 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 2000
4217210501500 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 6000
4217210501500 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 1000
4217210501500 | 1100 | MOH - Madinah Health Directorateالمديريةالعامة للشؤون الصحية المدين | 1500
4217210501500 | 1100 | MOH - North boarders Health Direct.المديريةالعامة للشؤون الصحية الحدود | 500
4217210501500 | 1100 | MOH - Qasim Health Directorateالمديريةالعامة للشؤون الصحية القصيم | 6500
4217210501500 | 1100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | 1000
4217210501500 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 2500
4217210501500 | 1100 | MOH - Taif Health Clusterالتجمع الصحي بالطائف | 10000
4217210501500 | C2C1 | MOH - PMAH | 500
4217210501500 | E2C1 | MOH - Ahsa | 1000
4217210501500 | E2C1 | MOH - Dammam | 5000
4217210501500 | S2C1 | MOH - Najran | 11000
4217210501500 | S2C2 | MOH - Baha | 7000
4217210501500 | W2C1 | MOH - Jeddah | 3000
4217210501500 | W2C1 | MOH - Makkah | 2000
4217210501500 | W2C1 | MOH - Qonfodah | 500
4228152700100 | W2C1 | C.WH in Jeddah for MOH مستودع جدة - وزارة الصحة | 6
4228152700300 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 4
4228152700300 | 1100 | MOH - Qasim Health Directorateالمديريةالعامة للشؤون الصحية القصيم | 5
4228152700300 | S2C2 | MOH - Baha | 31
4228152700300 | W2C1 | MOH - Makkah | 13
4228152700900 | W2C1 | C.WH in Jeddah for MOH مستودع جدة - وزارة الصحة | 25
4228152801500 | C2C1 | MOH - Riiyadh Cluster 1 | 98952
4228152801500 | C2C1 | MOH - Riiyadh Cluster 3 | 59372
4228152801500 | W2C1 | MOH - Qonfodah | 20509
4228152801900 | C2C1 | MOH - Riiyadh Cluster 1 | 985
4228152801900 | C2C1 | MOH - Riiyadh Cluster 3 | 591
4228152801900 | W2C1 | MOH - Qonfodah | 82
4228152802700 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 21
4228152803000 | C2C1 | MOH - Riiyadh Cluster 1 | 1846
4228152803000 | C2C1 | MOH - Riiyadh Cluster 3 | 1108
4228152803000 | W2C1 | MOH - Qonfodah | 24
4228170402900 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 376
4228170402900 | 1100 | MOH - North boarders Health Direct.المديريةالعامة للشؤون الصحية الحدود | 84
4228180300900 | C2C1 | MOH - Riiyadh Cluster 1 | 100
4228180300900 | C2C1 | MOH - Riiyadh Cluster 3 | 60
4228180301200 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 2628
4228180301200 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 1797
4228180301200 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 6284
4228180301200 | 1100 | MOH - North boarders Health Direct.المديريةالعامة للشؤون الصحية الحدود | 1400
4228180301200 | C2C1 | MOH - Riiyadh Cluster 1 | 1815
4228180301200 | C2C1 | MOH - Riiyadh Cluster 3 | 1089
4228180301200 | W2C1 | MOH - Qonfodah | 558
4228180801800 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 50
4228180801800 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 10
4228180801800 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 3
4228180801800 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 10
4228180801800 | 1100 | MOH - North boarders Health Direct.المديريةالعامة للشؤون الصحية الحدود | 5
4228180801800 | 1100 | MOH - Qasim Health Directorateالمديريةالعامة للشؤون الصحية القصيم | 13
4228180801800 | 1100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | 21
4228180801800 | C2C1 | MOH - Riiyadh Cluster 1 | 7
4228180801800 | C2C1 | MOH - Riiyadh Cluster 2 | 3
4228180801800 | C2C1 | MOH - Riiyadh Cluster 3 | 4
4228180801800 | E2C1 | MOH - Ahsa | 10
4228180801800 | E2C1 | MOH - Dammam | 21
4228180801800 | S2C1 | MOH - Najran | 80
4228180801800 | S2C2 | MOH - Baha | 203
4228180801800 | W2C1 | MOH - Jeddah | 55
4228180801800 | W2C1 | MOH - Makkah | 25
4228180801800 | W2C1 | MOH - Qonfodah | 26
4228181000600 | C2C1 | MOH - Riiyadh Cluster 1 | 3315
4228181000600 | C2C1 | MOH - Riiyadh Cluster 3 | 1989
4228181000600 | W2C1 | MOH - Qonfodah | 934
4228190203400 | W2C1 | MOH - Qonfodah | 19
4228190204400 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 60
4228190204400 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 12
4228190204400 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 6
4228190204400 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 6
4228190204400 | 1100 | MOH - Madinah Health Directorateالمديريةالعامة للشؤون الصحية المدين | 12
4228190204400 | 1100 | MOH - North boarders Health Direct.المديريةالعامة للشؤون الصحية الحدود | 6
4228190204400 | 1100 | MOH - Qasim Health Directorateالمديريةالعامة للشؤون الصحية القصيم | 30
4228190204400 | 1100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | 24
4228190204400 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 30
4228190204400 | 1100 | MOH - Taif Health Clusterالتجمع الصحي بالطائف | 60
4228190204400 | C2C1 | MOH - Riiyadh Cluster 1 | 11
4228190204400 | C2C1 | MOH - Riiyadh Cluster 2 | 4
4228190204400 | C2C1 | MOH - Riiyadh Cluster 3 | 6
4228190204400 | E2C1 | MOH - Ahsa | 18
4228190204400 | E2C1 | MOH - Dammam | 48
4228190204400 | S2C1 | MOH - Najran | 12
4228190204400 | S2C2 | MOH - Baha | 180
4228190204400 | W2C1 | MOH - Jeddah | 66
4228190204400 | W2C1 | MOH - Makkah | 30
4228190204400 | W2C1 | MOH - Qonfodah | 6
4228190204600 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 108
4228190204600 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 201
4228190204600 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 219
4228190204600 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 15
4228190204600 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 69
4228190204600 | 1100 | MOH - Madinah Health Directorateالمديريةالعامة للشؤون الصحية المدين | 9
4228190204600 | 1100 | MOH - Qasim Health Directorateالمديريةالعامة للشؤون الصحية القصيم | 87
4228190204600 | 1100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | 9
4228190204600 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 408
4228190204600 | 1100 | MOH - Taif Health Clusterالتجمع الصحي بالطائف | 168
4228190204600 | C2C1 | MOH - PMAH | 36
4228190204600 | C2C1 | MOH - Riiyadh Cluster 1 | 522
4228190204600 | C2C1 | MOH - Riiyadh Cluster 2 | 209
4228190204600 | C2C1 | MOH - Riiyadh Cluster 3 | 313
4228190204600 | E2C1 | MOH - Ahsa | 30
4228190204600 | E2C1 | MOH - Dammam | 54
4228190204600 | S2C1 | MOH - Najran | 51
4228190204600 | S2C2 | MOH - Baha | 591
4228190204600 | W2C1 | MOH - Jeddah | 126
4228190204600 | W2C1 | MOH - Makkah | 45
4228190204600 | W2C1 | MOH - Qonfodah | 18
4231154606200 | C2C1 | MOH - Riiyadh Cluster 1 | 261
4231154606200 | W2C1 | MOH - Qonfodah | 54
4231154607200 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 805
4231154607200 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 33
4231154607200 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 109
4231154607200 | 1100 | MOH - Madinah Health Directorateالمديريةالعامة للشؤون الصحية المدين | 274
4231154607200 | 1100 | MOH - North boarders Health Direct.المديريةالعامة للشؤون الصحية الحدود | 536
4231154607200 | 1100 | MOH - Qasim Health Directorateالمديريةالعامة للشؤون الصحية القصيم | 55
4231154607200 | 1100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | 37
4231154607200 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 338
4231154607200 | 1100 | MOH - Taif Health Clusterالتجمع الصحي بالطائف | 523
4231154607200 | C2C1 | MOH - Riiyadh Cluster 1 | 374
4231154607200 | C2C1 | MOH - Riiyadh Cluster 3 | 224
4231154607200 | S2C1 | MOH - Najran | 330
4231154607200 | S2C2 | MOH - Baha | 410
4231154607200 | W2C1 | MOH - Jeddah | 2580
4231154607200 | W2C1 | MOH - Makkah | 900
4231154607600 | C2C1 | MOH - Riiyadh Cluster 1 | 628
4231154607600 | W2C1 | MOH - Qonfodah | 14
4231160601400 | 1100 | MOH - North boarders Health Direct.المديريةالعامة للشؤون الصحية الحدود | 36
4231210805000 | C2C1 | MOH - Riiyadh Cluster 1 | 78064
4231210805000 | W2C1 | MOH - Jeddah | 108711
4231210805000 | W2C1 | MOH - Qonfodah | 4641