## الطرح
SN | Item Code | Item Description | UOM | Nedded QTY | SRM Number
1 | 4111300000100 | AMPOULE, METHAMPHETAMINE-D5, 0.1 MG/ML STANDARD,SOLUTION, 1ML | PC | 5 | 3000016076
2 | 4111300000200 | AMPOULE, (+) 11 NOR 9 THC 9 CARBOXY DELTA 9 GLUCURONIDE 100UG/ML, METHANOL SOLVENT, SOLUTION, 1ML | PC | 5 | 3000016076
3 | 4111300000300 | KIT, PPM GC-MS, COMPATIBLE WITH THERMO | PC | 2 | 3000016076
4 | 4111300000400 | KIT, PPM GC-FID-HS, COMPATIBLE WITH THERMO | PC | 2 | 3000016076
5 | 4111300000500 | BOTTLE, NITRATE NITROGEN STANDARD SOLUTION 100 MG/L, LIQUID, WATER LAB, 500ML | BOTTLE | 1 | 3000016076
6 | 4111300000600 | BOTTLE, AMMONIA STANDARD SOLUTION 1 MG/L, LIQUID, WATER LAB, 500ML | BOTTLE | 4 | 3000016076
7 | 4111300000700 | BOTTLE, AMMONIA STANDARD SOLUTION 10 MG/L, LIQUID, WATER LAB, 500ML | BOTTLE | 2 | 3000016076
8 | 4111300000800 | BOTTLE, IRON STANDARD SOLUTION 1 MG/L, LIQUID, WATER LAB, 100ML | BOTTLE | 6 | 3000016076
9 | 4111300000900 | BOTTLE, IRON STANDARD SOLUTION 100 MG/L, LIQUID, WATER LAB, 100ML | BOTTLE | 4 | 3000016076
10 | 4111300001000 | KIT, CRACK SET REAGENT FOR METAL DIGESTION, SAMPLE PREPARATION FOR (PB, CD,FE, CU, NI, ZN, IRON TRACE, COPPER TRACE, NICLE TRACE), WATER LAB | KIT | 10 | 3000016076
11 | 4111300001100 | BOTTLE, COPPER STANDARD SOLUTION 100 MG/L, LIQUID, WATER LAB, 100ML | BOTTLE | 4 | 3000016076
12 | 4111300001200 | BOTTLE, COPPER STANDARD SOLUTION 10 MG/L, LIQUID, WATER LAB, 100ML | BOTTLE | 2 | 3000016076
13 | 4111300001300 | BOTTLE, MULTI-ELEMENT STANDARD SOLUTION 1, ICP-MS, LIQUID, WATER LAB, 100ML | BOTTLE | 4 | 3000016076
14 | 4111300001400 | BOTTLE, MULTI-ELEMENT STANDARD SOLUTION 5, ICP-MS, LIQUID, WATER LAB, 100ML | BOTTLE | 4 | 3000016076
15 | 4111300001500 | BOTTLE, ARSENIC STANDARD SOLUTION 1 MG/L, ICP-MS, LIQUID, WATER LAB, 100ML | BOTTLE | 2 | 3000016076
16 | 4111300001600 | BOTTLE, SELENIUM STANDARD SOLUTION 1 MG/L, ICP-MS, LIQUID, WATER LAB, 100ML | BOTTLE | 2 | 3000016076
17 | 4111300001700 | BOTTLE, MERCURY STANDARD SOLUTION 10MG/L, ICP-MS, LIQUID, WATER LAB, 100ML | BOTTLE | 2 | 3000016076
18 | 4111300001800 | TEST, FREE CHLORINE CUVETTE TEST 0.05-2 MG/L , WATER LAB | TEST | 500 | 3000016076
19 | 4111300001900 | BOTTLE, PH 4 STANDARD SOLUTION, LIQUID | BOTTLE | 4 | 3000016076
20 | 4111300002000 | BOTTLE, PH 7 STANDARD SOLUTION, LIQUID | BOTTLE | 4 | 3000016076
21 | 4111300002100 | PRINTER, ZEBRA MODEL ZD421T, LABELING | PC | 5 | 3000016076
22 | 4111300002200 | BOTTLE, NINE ANION STANDARD, (F-,CL-, BR-, BRO3-, CIO3-, NO2-, NO3-, PO4-3, SO2-4), LIQUID, WATER LAB, 50ML | BOTTLE | 3 | 3000016076
23 | 4111300002300 | BOTTLE, NINE ANION STANDARD, (F-,CL-, BR-, CIO3-, NO2-, PO4-3, SO2-4), LIQUID, WATER LAB, 50ML | BOTTLE | 3 | 3000016076
24 | 4111300002400 | BOTTLE, SIX CATION RETENTION TIME STANDARD, LIQUID, WATER LAB, 50ML | BOTTLE | 3 | 3000016076
25 | 4111300002500 | BOTTLE, COMBINED SIX CATION STANDARD, LIQUID, WATER LAB, 50ML | BOTTLE | 3 | 3000016076