## الطرح
SN | Item Code | Item Description | UOM | Nedded QTY | SRM Number
1 | 4215162700500 | "MOUTH MIRROR, DISPOSABLE, PLASTIC, 100/PACK" | EA | 1800 | 3000017029
2 | 4229552504600 | ALLOGRAFT BONE PARTICULATE(1.00–2.0 MM) (0.5 CC) MIXED CORTICAL-CANCELLOUS (DFDBA DEMINERALIZED FREEZE-DRIED BONE ALLOGRAFT) OR OSTEOINDUCTIVE EQUIVALENT. | EA | 5400 | 3000017029
3 | 4215300100100 | ANESTHETIC GEL 20% BENZOCAINE ASSORTED FLAVOR | EA | 1500 | 3000017029
4 | 4229552504700 | ALLOGRAFT BONE PARTICULATE(1.00–2.0 MM) (1.0 CC) MIXED CORTICAL-CANCELLOUS (DFDBA DEMINERALIZED FREEZE-DRIED BONE ALLOGRAFT) OR OSTEOINDUCTIVE EQUIVALENT. | EA | 5400 | 3000017029
5 | 4229552504800 | ALLOGRAFT BONE PARTICULATE(1.00–2.0 MM) (1.5 CC) MIXED CORTICAL-CANCELLOUS (DFDBA DEMINERALIZED FREEZE-DRIED BONE ALLOGRAFT) OR OSTEOINDUCTIVE EQUIVALENT. | EA | 5400 | 3000017029
6 | 4215251100100 | "DENTAL GLASS DAPPEN DISH, ASSORTED 4 DIFFERENT COLORS" | EA | 1500 | 3000017029
7 | 4229552504200 | ALLOGRAFT BONE PARTICULATE(0.25–1.0 MM) (0.5 CC) MIXED CORTICAL-CANCELLOUS (DFDBA DEMINERALIZED FREEZE-DRIED BONE ALLOGRAFT) OR OSTEOINDUCTIVE EQUIVALENT. | EA | 5400 | 3000017029
8 | 4215150350900 | PREMIXED BIO CERAMIC ROOT REPAIR ENDODONTIC INJECTABLE SEALER MATERIAL COMPOSED OF ZIRCONIUM OXIDE TRICALCIUM SILICATE DICALCIUM SILICATE TANTALUM PENTAOXIDE AND CALCIUM SULPHATE ANTIBACTERIAL BIOACTIVE AND OSTEOGENIC NON TOXIC SHORT SETTING TIME PACKED IN SYRINGE (2-2.5G) | PC | 10 | 3000017029
9 | 4215150351000 | PREMIXED BIO CERAMIC ROOT REPAIR FILLING CONDENSABLE PUTTY MATERIAL COMPOSED OF ZIRCONIUM OXIDE TRICALCIUM SILICATE DICALCIUM SILICATE TANTALUM PENTAOXIDE AND CALCIUM SULPHATE ANTIBACTERIAL BIOACTIVE AND OSTEOGENIC NON TOXIC PACKED IN SYRINGE | PC | 10 | 3000017029
10 | 4215162406700 | SILICONE HOSE FOR MICROMOTOR HANDPIECE CONNECTION SUITABLE FOR E-TYPE LOW-SPEED ATTACHMENTS INCLUDING POWER SUPPLY LINE AND AIR LINES MEDICAL-GRADE FLEXIBLE SILICONE MATERIAL NON-AUTOCLAVABLE CLEANABLE WITH DISINFECTANTS COLOR-CODED INTERNAL LINES OUTER SHEATH DIAMETER NOT EXCEEDING 11MM COMPATIBLE WITH DENTAL DELIVERY UNITS | PAC | 10 | 3000017029
11 | 4215291002000 | SILICONE HOSE FOR 3-WAY DENTAL SYRINGE CONNECTION (AIR/WATER) TWO-LINE DESIGN WITH COLOR-CODED INTERNAL TUBING FOR SEPARATE AIR AND WATER FLOW MADE OF MEDICAL-GRADE FLEXIBLE SILICONE NON-AUTOCLAVABLE OUTER DIAMETER ≤ 11MM COMPATIBLE WITH SYRINGE UNITS IN STANDARD DENTAL CHAIRS | PAC | 10 | 3000017029
12 | 4215291002100 | SILICONE HOSE FOR ULTRASONIC SCALER UNIT CONNECTION DESIGNED FOR WATER LINE AND OPTIONAL POWER CABLE OR CONTROL WIRE FLEXIBLE MEDICAL-GRADE SILICONE CONSTRUCTION SURFACE CLEANABLE DIAMETER NOT EXCEEDING 10MM COMPATIBLE WITH BUILT-IN SCALER UNITS IN DENTAL CHAIRS OR STANDALONE UNITS | PAC | 10 | 3000017029
13 | 4215291001900 | OPEN-END SILICONE HOSE FOR 6-HOLE HIGH-SPEED HANDPIECE WITH FIBER OPTIC SUPPORT INCLUDES DRIVE AIR EXHAUST AIR WATER SPRAY AIR ELECTRIC WIRES AND FIBER OPTIC LINE COMPATIBLE WITH UNIVERSAL COUPLINGS NON-AUTOCLAVABLE CLEANABLE WITH STANDARD SURFACE DISINFECTANTS OUTER SHEATH DIAMETER ≤ 11MM COLOR-CODED INTERNAL LINES FOR EASY INSTALLATION | PAC | 10 | 3000017029
14 | 4215271215500 | STAINLESS STEEL BAND FOR DECIDUOUS MOLAR ASSORTED SIZES (UPPER AND LOWER RIGHT AND LEFT) | EA | 10 | 3000017029
15 | 4215161201200 | "MOUTH RETRACTOR, PLASTIC SPANDEX, LARGE SIZE, AUTOCLAVABLE" | EA | 1500 | 3000017029
16 | 4215161201100 | "MOUTH RETRACTOR, PLASTIC SPANDEX, SMALL SIZE, AUTOCLAVABLE" | EA | 1500 | 3000017029
17 | 4215162900200 | ENDODONTIC RING KIT AND INSERTS | EA | 1500 | 3000017029
18 | 4215161200800 | "LIP RETRACTOR STANDARD SIZE, PLASTIC, AUTOCLAVABLE" | EA | 1800 | 3000017029
19 | 4215164400300 | MOUTH PROP SILICONE RUBBER SET OF SMALL | EA | 1800 | 3000017029
20 | 4215164400400 | MOUTH PROP SILICONE RUBBER SET OF MEDIUM | EA | 1500 | 3000017029
21 | 4215164400500 | MOUTH PROP SILICONE RUBBER SET OF LARGE | EA | 1500 | 3000017029
22 | 4215164400600 | "MOUTH PROP SILICONE RUBBER SET OF SMALL, MEDIUM AND LARGE" | EA | 1500 | 3000017029
23 | 4215150162500 | DENTAL INTRA-ORAL X-RAY AIMING DEVICE COMPLETE KIT INCLUDES: AIMING RINGS INDICATOR ARMS AND BITE BLOCKS SUITABLE FOR ANTERIOR POSTERIOR BITEWING AND ENDODONTIC X-RAYS. COLOUR CODED COMPONENTS MADE FROM STURDY MEDICAL-GRADE PLASTIC AND METAL COMBINATION AUOCLAVABLE FULLY COMPATIBLE WITH MAJOR DIGITAL SENSORS. | EA | 12 | 3000017029
24 | 4215162406800 | SILICONE HOSE FOR HIGH-SPEED TURBINE HANDPIECE CONNECTION MULTI-LINE DESIGN INCLUDING DRIVE AIR EXHAUST AIR SPRAY AIR WATER LINE AND OPTIONAL ELECTRIC CABLES OR FIBER OPTIC LINE FOR 6-HOLE CONFIGURATIONS NON-AUTOCLAVABLE SURFACE CLEANABLE FLEXIBLE MEDICAL-GRADE SILICONE MATERIAL OUTER DIAMETER ≤ 11MM COLOR-CODED INTERNAL TUBES COMPATIBLE WITH EXISTING DENTAL UNIT SYSTEMS. | PAC | 10 | 3000017029
25 | 4215150350800 | INTRA ORAL MIXING CURVED TIP FOR LIGHT BODY IMPRESSION MATERIAL UNIVERSAL SHADE YELLOW | PC | 10000 | 3000017029
26 | 4215150501700 | ETCHING GEL 35 - 37.5% PHOSPHORIC ACID CONCENTRATION IDEAL VISCOSITY SYRINGE TIP DELIVERY REFILL SYRINGE NOT LESS THAN 3.0 ML OF PHOSPHORIC ACID/SYRINGE WITH MICRO TIPS ONE EACH (EA) = ONE (1) PACK | PC | 300 | 3000017029
27 | 4215181300200 | "TUBES AND PLUGS COMPOSITE OR CEMENT DISPENSER, DISPOSABLE" | EA | 1500 | 3000017029
28 | 4215150004900 | SYRINGE FOR FREE FLOW IMPRESSION | EA | 1500 | 3000017029
29 | 4215245700200 | POLYCARBOXYLATE CEMENT (POWDER TO BE USED WITH WATER) | EA | 1500 | 3000017029
30 | 4215150200000 | DISPOSABLE PLASTIC MIXING WELL FOR BOND 2-4 HOLE | BOX | 1500 | 3000017029
31 | 4229210201700 | BTR BROKEN INSTRUMENT REMOVAL KIT INCLUDE ( CALIBRATOR TOOL TIP WITH 0.3 WITH LOOP SPRING SOFT-MEDIUM-HARD AND RING) | KIT | 10 | 3000017029
32 | 4215150501400 | REFILL TIP INCLUDE MICRO-WIRE SIZE 0.3MM (YELLOW) | PC | 10 | 3000017029
33 | 4215150501500 | REFILL TIP INCLUDE MICRO-WIRE SIZE 0.4MM (BLACK) | PC | 10 | 3000017029
34 | 4215250101100 | "SURGICAL ASPIRATOR TIPS, PLASTIC, DIAMETER 1/10 INCHES" | PC | 4000 | 3000017029
35 | 4215242405300 | DUAL CURE RESIN-MODIFIED GLASS IONOMER SELF ADHESIVE FLUORIDE-RELEASING FOR ROOT RESORPTION ROOT PERFORATION PULP CAPPING FRACTURED TEETH CLASS V BASE AND LINER MATERIAL CROWN RELINE AND CEMENTATION FURCATIONS REPAIR WITH NO ADVERSE EFFECTS ON SURROUNDING ALVEOLAR BONE PACKED IN AUTO-MIX SYRINGE INCLUDING MULTIPLE TIPS | PC | 10 | 3000017029
36 | 4215242405400 | SILANE PORCELAIN PRIMER SINGLE OR TWO-COMPONENT FOR ENHANCING BONDING BETWEEN GLASS-CERAMIC SURFACES (FELDSPATHIC LITHIUM DISILICATE METAL) AND RESIN CEMENTS. SILANE CONTENT: (1–3%) PACKED IN BOTTLE OR SYRINGE WITH TIPS | PAC | 10 | 3000017029

## توزيع المناطق
Generic Mat Code | Plant | Delivery Address | Nedded QTY