## الطرح
SN | Item Code | Item Description | UOM | Nedded QTY | SRM Number
1 | 4114000075600 | PLATELET AGGREGATION REAGENTS (ARACHIDONIC ACID) KIT FOR BCT INSTRUMENT, COMPLETE WITH ALL REAGENTS TO PERFORM THE TEST | EA | 20.0 | 3000017454
2 | 4228160301000 | HIGH-LEVEL OXIDIZING AGENT AND SPORICIDAL DISINFECTANT CHLORINE DIOXIDE FOAM EFFECTIVE IN 30 SECONDS CONTACT TIME FOR THE DISINFECTION OF INTRA-CAVITY ULTRASOUND PROBES. CONCENTRATION 175-225PPM, 250ML BOTTLE | BT | 18.0 | 3000017454