## قائمة البنود
SA | NUPCO Code | Item Description | UoM | QUANTITY | SRM #
1 | 4227190322600 | "TUBE ENDOTRACHEAL, PVC, ORAL / NASAL TYPE, PROFILE CUFF HIGH VOLUME/LOWPRESSURE, RADIOPAQUE WITH 15MM TERMINATION CONNECTOR, NUMERIC AL SCALINGEVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATION BETWEENID/OD, SMOOTH FORMED MURPHY EYE AND TIP, SMOOTH TAPER ED MEMBRANE CUFF,DISPOSABLE, STERILE, SIZE, 3.5MM (ID)" | items (Pieces) | 92 | 3000017270
2 | 4227190322700 | "TUBE ENDOTRACHEAL, PVC, ORAL / NASAL TYPE, PROFILE CUFF HIGH VOLUME/LOWPRESSURE, RADIOPAQUE WITH 15MM TERMINATION CONNECTOR, NUMERIC AL SCALINGEVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATION BETWEENID/OD, SMOOTH FORMED MURPHY EYE AND TIP, SMOOTH TAPER ED MEMBRANE CUFF,DISPOSABLE, STERILE, SIZE, 4.0MM (ID)" | items (Pieces) | 2 | 3000017270
3 | 4227191531300 | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | items (Pieces) | 950 | 3000017270
4 | 4227201808300 | HANDLE LARYNGOSCOPE FIBER OPTIC SIZE SMALL (DISPOSABLE) | items (Pieces) | 60 | 3000017270
5 | 4227250021800 | TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, ORAL TYPE, PROFILE CONICAL SHAPECUFF HIGH VOLUME/LOW PRESSURE, RADIOPAQUE WITH 15MM TERMINATIONCONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, NUMERICAL SCALING EVERY 1CM STARTING FROM INSERTION SIDE, WITH TWO MARKING VOCAL CORD CORRECTPOSITION, PROPER CORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE,5.0MM (ID ) | items (Pieces) | 114 | 3000017270
6 | 4227250025500 | TUBE ENDOTRACHEAL, PVC, SPECIALIST SOFT NASAL NORTH, PROFILE CUFF HIGHVOLUME LOW PRESSURE, ATRAUMATIC ROUNDED TIP, CURVED TOWARDS THEFOREHEAD, ATRAUMATIC MURPHY EYE, DISPOSABLE, STERILE, LATEX FREE, SIZE,3.5MM (ID) | items (Pieces) | 55 | 3000017270
7 | 4227250025700 | TUBE ENDOTRACHEAL, PVC, SPECIALIST SOFT NASAL NORTH, PROFILE CUFF HIGHVOLUME LOW PRESSURE, ATRAUMATIC ROUNDED TIP, CURVED TOWARDS THEFOREHEAD, ATRAUMATIC MURPHY EYE, DISPOSABLE, STERILE, LATEX FREE, SIZE,4.0MM (ID) | items (Pieces) | 65 | 3000017270
8 | 4227250025900 | TUBE ENDOTRACHEAL, PVC, SPECIALIST SOFT NASAL NORTH, PROFILE CUFF HIGHVOLUME LOW PRESSURE, ATRAUMATIC ROUNDED TIP, CURVED TOWARDS THEFOREHEAD, ATRAUMATIC MURPHY EYE, DISPOSABLE, STERILE, LATEX FREE, SIZE,4.5MM (ID) | items (Pieces) | 130 | 3000017270
9 | 4227250026000 | TUBE ENDOTRACHEAL, SILICON, SPECIALIST SOFT NASAL NORTH, PROFILE CUFFHIGH VOLUME LOW PRESSURE, ATRAUMATIC ROUNDED TIP, CURVED TOWARDS THEFOREHEAD, ATRAUMATIC MURPHY EYE, DISPOSABLE, STERILE, LATEX FREE, SIZE,5.0MM (ID) | items (Pieces) | 65 | 3000017270
10 | 4227250026100 | TUBE ENDOTRACHEAL, PVC, SPECIALIST SOFT NASAL NORTH, PROFILE CUFF HIGHVOLUME LOW PRESSURE, ATRAUMATIC ROUNDED TIP, CURVED TOWARDS THEFOREHEAD, ATRAUMATIC MURPHY EYE, DISPOSABLE, STERILE, LATEX FREE, SIZE,5.0MM (ID) | items (Pieces) | 61 | 3000017270
11 | 4227250026200 | TUBE ENDOTRACHEAL, SILICON, SPECIALIST SOFT NASAL NORTH, PROFILE CUFFHIGH VOLUME LOW PRESSURE, ATRAUMATIC ROUNDED TIP, CURVED TOWARDS THEFOREHEAD, ATRAUMATIC MURPHY EYE, DISPOSABLE, STERILE, LATEX FREE, SIZE,5.5MM (ID) | items (Pieces) | 65 | 3000017270
12 | 4227250037500 | CATHETER SUCTION, SILICON MATERIAL, SIZE 8 FR, COLOR CODED, STERILEPACKAGE, LATEX FREE WITH CONTROL VALVE, WHISTLE TIP SOFT CATHETER,GRADED | items (Pieces) | 12500 | 3000017270
13 | 4227250037600 | CATHETER SUCTION, SILICON MATERIAL, SIZE 10 FR, COLOR CODED, STERILEPACKAGE, LATEX FREE WITH CONTROL VALVE, WHISTLE TIP SOFT CATHETER,GRADED | items (Pieces) | 5100 | 3000017270
14 | 4227250037800 | CATHETER SUCTION, SILICON MATERIAL, SIZE 14 FR, COLOR CODED, STERILEPACKAGE, LATEX FREE WITH CONTROL VALVE, WHISTLE TIP SOFT CATHETER,GRADED | items (Pieces) | 5500 | 3000017270
15 | 4227250038000 | RAPID INFUSION CATHETER EXCHANGE SET SIZE 7 FR, LENGTH 5CM, SPRINGGUIDEWIRE APPROX. 30-35CM SOFT TIP BOTH SIDE, TISSUE DILATOR, SCALPELNUMBER 11 | SET | 37 | 3000017270
16 | 4227250054200 | CANNULA SAFETY IV, PASSIVE SAFETY MECHANISM, WITH FLEXIBLE WINGS, WITHINJECTION PORT, NOTCHED NEEDLE, 20G X 32MM | items (Pieces) | 11200 | 3000017270
17 | 4227250054500 | CANNULA SAFETY IV, PASSIVE SAFETY MECHANISM, WITH FLEXIBLE WINGS, WITHINJECTION PORT, NOTCHED NEEDLE, 16G X 45MM | items (Pieces) | 350 | 3000017270
18 | 4227250054600 | CANNULA SAFETY IV, PASSIVE SAFETY MECHANISM, WITH FLEXIBLE WINGS, WITHINJECTION PORT, NOTCHED NEEDLE, 14G X 45MM | items (Pieces) | 350 | 3000017270
19 | 4227250055200 | CANNULA INTRAVENOUS WITH WINGS, SPECIAL PEDIATRIC/NEONATE FOR PUNCTURESMALL AND FRAGILE VESSELS, MATERIAL PTFE, WITHOUT INJECTION PORT, WITHREMOVABLE WINGS HOLDER TO FACILITATE, INTERNATIONAL COLOR CODED,DISPOSABLE, STERILE SIZE: 24 G X LENGTH 18-23MM | each | 4750 | 3000017270
20 | 4229553300300 | "DEVICE, NASAL INTRANASAL MUCOSAL ATOMIZATION, WITH 3 ML SYRINGE, LATEXFREE, DISPOSABLE" | each | 150 | 3000017270

## توزيع المناطق
CUSTOMER | Original Generic | Plant | Delivery Address | QUANTITY
MOI - SFH Riyadh | 4227190322600 | C6C1 | MOI - SFH Riyadh | 92
MOI - SFH Riyadh | 4227190322700 | C6C1 | MOI - SFH Riyadh | 2
MOI - SFH Riyadh | 4227191531300 | C6C1 | MOI - SFH Riyadh | 950
MOI - SFH Riyadh | 4227201808300 | C6C1 | MOI - SFH Riyadh | 60
MOI - SFH Riyadh | 4227250021800 | C6C1 | MOI - SFH Riyadh | 114
MOI - SFH Riyadh | 4227250025500 | C6C1 | MOI - SFH Riyadh | 55
MOI - SFH Riyadh | 4227250025700 | C6C1 | MOI - SFH Riyadh | 65
MOI - SFH Riyadh | 4227250025900 | C6C1 | MOI - SFH Riyadh | 130
MOI - SFH Riyadh | 4227250026000 | C6C1 | MOI - SFH Riyadh | 65
MOI - SFH Riyadh | 4227250026100 | C6C1 | MOI - SFH Riyadh | 61
MOI - SFH Riyadh | 4227250026200 | C6C1 | MOI - SFH Riyadh | 65
MOI - SFH Riyadh | 4227250037500 | C6C1 | MOI - SFH Riyadh | 12500
MOI - SFH Riyadh | 4227250037600 | C6C1 | MOI - SFH Riyadh | 5100
MOI - SFH Riyadh | 4227250037800 | C6C1 | MOI - SFH Riyadh | 5500
MOI - SFH Riyadh | 4227250038000 | C6C1 | MOI - SFH Riyadh | 37
MOI - SFH Riyadh | 4227250054200 | C6C1 | MOI - SFH Riyadh | 11200
MOI - SFH Riyadh | 4227250054500 | C6C1 | MOI - SFH Riyadh | 350
MOI - SFH Riyadh | 4227250054600 | C6C1 | MOI - SFH Riyadh | 350
MOI - SFH Riyadh | 4227250055200 | C6C1 | MOI - SFH Riyadh | 4750
MOI - SFH Riyadh | 4229553300300 | C6C1 | MOI - SFH Riyadh | 150