## الطرح
SN | Item Code | Item Description | UOM | Nedded QTY | SRM Number
1 | 4222160900300 | ADMIN SET BLOOD WITH FILTER | EA | 50 | 3000018383
2 | 4227190345000 | TUBE ENDOTRACHEAL, PVC, ORAL / NASAL TYPE, PROFILE CUFF HIGH VOLUME/LOW PRESSURE, RADIOPAQUE WITH 15MM TERMINATION CONNECTOR, NUMERI CAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATION BETWEEN ID/OD, SMOOTH FORMED MURPHY EYE AND TIP, SMOOTH TAPE RED MEMBRANE CUFF, DISPOSABLE, STERILE, SIZE, 2.5MM (ID) | EA | 50 | 3000018383
3 | 4227191534500 | "MASK OXYGEN, ADULT SIZE, NON-REBREATHER, WITH METAL STRIP OVER NOSE AND 600 - 1000 ML RESERVOIR BAG, STATIC RESISTANT, ADJUSTABLE ELASTIC BAND, ONE WAY VALVE ON BOTH SIDES, OXYGEN TUBING KINK RESISTANT LENGTH AT LEAST 2.1 M DISPOSABLE. | EA | 1000 | 3000018383
4 | 4227201807900 | "BLADE LARYNGOSCOPE MILLER SIZE 1, DISPOSABLE, MADE OF STAINLESS STEEL, MUST BE COMPATIBLE WITH LARYNGOSCOPE HANDLE AND EASY TO INSTALL AND REMOVE" | EA | 5 | 3000018383
5 | 4227250018700 | BLADE LARYNGOSCOPE MILLER SIZE 00, DISPOSABLE, MADE OF STAINLESS STEEL, MUST BE COMPATIBLE WITH LARYNGOSCOPE HANDLE AND EASY TO INSTALL AND REMOVE | ST | 5 | 3000018383
6 | 4227250024900 | TUBE ENDOTRACHEAL, SILICON, SPECIALIST SOFT NASAL NORTH, UNCUFFED, ATRAUMATIC ROUNDED TIP, CURVED TOWARDS THE FOREHEAD, ATRAUMATIC MURPHY EYE, DISPOSABLE, STERILE, LATEX FREE, SIZE, 6.0MM (ID) | ST | 40 | 3000018383

## توزيع المناطق
Generic Mat Code | Plant | Delivery Address | Nedded QTY
4222160900300 | RCJ1 | RC - Jubail | 50
4227190345000 | RCJ1 | RC - Jubail | 50
4227191534500 | RCJ1 | RC - Jubail | 1000
4227201807900 | RCJ1 | RC - Jubail | 5
4227250018700 | RCJ1 | RC - Jubail | 5
4227250024900 | RCJ1 | RC - Jubail | 40