## الطرح
SN | Item Code | Item Description | UOM | Nedded QTY | SRM Number
1 | 4229180253800 | BILIARY BIOPSY FORCEPS STAINLESS STEEL SHEATH DIMETER 2.1 MM OR LESS/LENGTH NOT LESS THAN 220 CM | each | 630 | 3000018870
2 | 4229494104300 | WIRE GUIDED REUSABLE GRADUATED MECHANICAL BILIARY DILATATOR FOR BILIARYAND PANCREATIC STRICTURE ASSORTED SIZES AND DIAMETERS (INCLUDING 7 F AND8.5F AND 10F) | each | 842 | 3000018870
3 | 4229631300700 | "DISTAL CAP FOR DIAGNOSTIC SIDEVIEW DUODENOSCOPE, ASSORTED SIZES,COMPATIBLE WITH EACH HOSPITAL MACHINE, REUSABLE" | each | 15 | 3000018870
4 | 4227150401400 | THROUGH THE SCOPE (TTS) UNCOVERED SELF EXPANDING ESOPHAGEAL METALLICSTENT, ASSORTED SIZES AND DIAMETERS | each | 16 | 3000018870
5 | 4227190906300 | "BIOPSY VALVE, FOR BRONCHOSCOPE, REUSABLE (IT SHOULD BE COMPATIBLE WITHHOSPITAL STANDARD)" | each | 15 | 3000018870
6 | 4228200001300 | "ADAPTOR (PLUG), AIR/WATER /SUCTION FOR MANUAL CLEANING, FOR GASTROSCOPEAND COLONOSCOPE AND DUODENOSCOPE, COMPATIBLE WITH EACH HOSPITAL SCOPE,DISPOSABLE" | each | 15 | 3000018870
7 | 4229490818200 | "BIOPSY FORCEPS FOR PLEUROSCOPY, SINGLE USE" | items (Pieces) | 15 | 3000018870
8 | 4115000037000 | DETECTION, FOR ENDOSCOPY PROTEIN, 2.8MM | each | 880 | 3000018870
9 | 4110180402000 | CLEANING BRUSH WITH BALL TIP FOR SCOPE CHANNEL, REUSABLE, ASSORTED SIZES | each | 1 | 3000018870
10 | 4228202100200 | DOUBLE HEADER CLEANING BRUSH FOR SUCTION/AIR WATER PORTS (TWO DIFFERENTSIZES BRUSHES AT EACH END), REUSABLE | each | 15 | 3000018870
11 | 4229490013000 | EUS CELIAC PLEXUS NEUROLYSIS FNA NEEDLE, DISTAL NEEDLE TIP WITH SIDEHOLES, ASSORTED SIZES | each | 247 | 3000018870
12 | 4229501701600 | "ENDOSCOPIC ULTRASOUND GUIDED FINE NEEDLE, FIDUCIAL PLACEMENT SYSTEM,PRELOADED" | each | 15 | 3000018870
13 | 4214260100700 | "FINE NEEDLE ASPIRATION (FNA NEEDLE), COMPATIBLE WITH INTERCHANGEABLEEUS DELIVERY SYSTEM, ASSORTED SIZES (INCLUDING 19G, 22 G, 25 G)" | each | 15 | 3000018870
14 | 4214250420400 | "FINE NEEDLE BIOPSY (FNB NEEDLE), COMPATIBLE WITH INTERCHANGEABLE EUSDELIVERY SYSTEM, ASSORTED SIZES (INCLUDING 19G, 22 G, 25 G)" | each | 15 | 3000018870
15 | 4229496702000 | ELECTROCAUTERY KNIFE, FOR BRONCHOSCOPY, STANDARD TYPE, (IT SHOULD BECOMPATIBLE WITH HOSPITAL STANDARD) | items (Pieces) | 15 | 3000018870