## الطرح
SN | Item Code | Item Description | UOM | Nedded QTY | SRM Number
1 | 4229310729600 | ANGLING HEAD WRENCH, FOR THOMPSON RETRACTOR, (OR EQUIVALENT), REUSABLE | EA | 36 | 3000019117
2 | 4229490823500 | "FORCEPS, ENDOSCOPY, PEREZ CASTRO, LONG JAWS FOR STEINSTRAßE, RIGID, DOUBLE ACTION JAWS, 4 FR, LENGTH 60 CM, REUSABLE" | EA | 70 | 3000019117
3 | 4229180254200 | FORCEPS, MINIMALLY INVASIVE, ANGULATED FENESTRATED, LENGTH 40 -50 CM, DIAMETER 5 MM, 22-24 MM JAWS LENGTH, WITH PROGRESSIVE RATCHET, REUSABLE | EA | 12 | 3000019117
4 | 4229180267700 | "FORCEPS, MINIMALLY INVASIVE, GRASPING, EXTRA DELICATE, SERRATED W/ TRIANGULAR JAWS CURVED UPWARDS TO THE RIGHT, WORKING LENGTH 23.0 -25.0 CM, REUSABLE" | EA | 36 | 3000019117
5 | 4229680280800 | FORCEPS, SURGICAL, PLATE HOLDING, TITANIUM, LENGTH = 15.0 - 16.0CM, REUSABLE | EA | 10 | 3000019117
6 | 4229180250500 | "OPTICAL FORCEPS, FOR PEANUTS AND SOFT, FOREIGN BODIES WITH SPRING-ACTION HANDLE, REUSABLE" | EA | 60 | 3000019117
7 | 4229180250300 | "OPTICAL FORCEPS, LARGE JAWS SHARP, FOR REMOVING LARGE FRAGMENTS OF TISSUES, REUSABLE" | EA | 34 | 3000019117
8 | 4229161423700 | SCISSORS, 40- 45 DEGREE, SINGLE-ACTION, TUBE-SHAFT, VALVE GATE (OR EQUIVALENT), CLASSIC, DIAMETER = 5MM, WORKING LENGTH 20 - 30CM, REUSABLE | EA | 30 | 3000019117
9 | 4229680044600 | SCISSORS, MICRO, SHARP/BLUNT/STRAIGHT, TUNGSTEN CARBIDE, LENGTH = 14.0 - 15.0 CM, REUSABLE | EA | 10 | 3000019117
10 | 4229680336000 | "HAND HELD BUR, TILLEY ANTRUM, DIAMETER 8 MM, TOTAL LENGTH 17 - 18 CM, REUSABLE" | EA | 100 | 3000019117
11 | 4229680106800 | "LARYNGOSCOPE, LARYNX EXAMINATION/SPREAD, NO.5, LENGTH 17 CM, REUSABLE" | EA | 40 | 3000019117
12 | 4229680318100 | "SEEKER, GRANTS, STAINLESS STEEL, 15 CM, REUSABLE" | EA | 60 | 3000019117
13 | 4229310716600 | VALVE, SILICONE LEAFLET, SIZE 6 MM, (OR EQUIVALENT), REUSABLE | EA | 30 | 3000019117
14 | 4229310205000 | MINIMALLY INVASIVE HOOK, FOR NERVES AND VESSELS, WITH ADJUSTABLE LENGTH, LENGTH MINIMUM 200 MM, MAXIMUM 270 MM, REUSABLE | EA | 18 | 3000019117
15 | 4229530222600 | CANNULA, INJECTION AND ASPIRATION, DIAMETER 5 MM, ASPIRATION NEEDLE 3 MM, TOTAL LENGTH 33 - 36 CM, STAINLESS STEEL, REUSABLE | EA | 61 | 3000019117
16 | 4214252500300 | CANNULA, IRRIGATING HAMBURG, CURVED, WITH BULB TIP, REUSABLE | EA | 44 | 3000019117
17 | 4229680123500 | CANNULA, TONSIL, ANGLED, SIZE: 1.3MM X 13.0MM, REUSABLE | EA | 5 | 3000019117
18 | 4228152200200 | "INSERT TRAY, FOR PLASTIC CONTAINER FOR STERILIZING AND STORAGE PERFORATED WITH LID, WITH SILICON MAT, FOR TWO-LEVEL STORAGE, FOR USE UP TO 43 CM LAPAROSCOPIC INSTRUMENTS, EXTERNAL DIMENSIONS 68 CM X 32.5 CM X 15.5 CM OR EQUIVALENT, REUSABLE" | EA | 94 | 3000019117
19 | 4229161213800 | RONGEUR, PROF. YAN DESIGN AORTIC VALVE MINIMALLY INVASIVE, LENGTH = 230MM, JAWS = 6X12MM, WORKING LENGTH = 150MM, REUSABLE | EA | 14 | 3000019117
20 | 4229420607200 | "ELEVATOR, DOUBLE ENDED, ONE SIDE ELEVATOR AND THE OTHER SIDE IS CURETTE, 90 DEGREE ANGLED, LENGTH 19 - 20 CM, REUSBLE" | EA | 5 | 3000019117
21 | 4229161326200 | "PUNCH, CORNEAL, THOMAS NEUHANN/KERATOPLASTY DEVICE, REUSABLE" | EA | 81 | 3000019117
22 | 4214160601900 | "GALLIPOT, POLYPROPYLENE, CAPACITY: 0.35L, REUSABLE" | EA | 45 | 3000019117
23 | 4229514329700 | CUTTING LOOP, UNIPOLAR, STRAIGHT, 13 FR, REUSABLE | EA | 150 | 3000019117
24 | 4111171501800 | DEFLECTING DEVICE WITH TELESCOPE GUIDING TUBE FROM PROXIMAL TO DISTAL END (OR EQUIVALENT) REUSABLE | EA | 104 | 3000019117
25 | 4229680335700 | "FORCEPS, IMPLANTATION, ANGLED 10.0 MM SHAFTS/SILICONE TUBE COATED TIP, STAINLESS STEEL, LENGTH 10 - 11 CM, REUSABLE " | EA | 67 | 3000019117
26 | 4229180250400 | "OPTICAL FORCEPS ,LARGE JAWS BLUNT, SERRATED FOR REMOVING LARGE FOREIGN BODIES, REUSABLE" | EA | 34 | 3000019117
27 | 4229180250600 | "ADAPTOR, GLASS WINDOW, FOR RIGID BRONCHOSCOPE AND ESOPHAGOSCOPE, REUSABLE" | EA | 20 | 3000019117
28 | 4229541415300 | "BOTTLE, FOR PRESERVING HOT/ COLD WATER, STAINLESS STEEL, REUSABLE " | EA | 58 | 3000019117
29 | 4228200000600 | BOX TRANSPORTATION PROPYLENE W/ REVERSIBLE DELIVERY LABEL POCKET LOCKABLE AND AUTOCLAVABLE SIZE 790 X 400 X 320MM OR EQUIVALENT, REUSABLE | EA | 80 | 3000019117
30 | 4229680371000 | DISCS, FIXATION, PAIR, K-WIRES, REUSABLE | EA | 10 | 3000019117
31 | 4229680020200 | ELEMENT, FIXATION, NEUROSURGERY, UNIVERSAL, DIAMETER = 6.0MM, REUSABLE | EA | 100 | 3000019117
32 | 4220180902900 | PISTOL INJECTOR, 0.56 CC PER CLICK, OVERALL LENGTH 157MM, INCLUDES 19 GAUGE NEEDLE, CONNECTOR, WRENCH, REUSABLE | EA | 20 | 3000019117
33 | 4229680305900 | CLAMP, MUSCLE, BERENNS, STAINLESS STEEL, REUSABLE | EA | 8 | 3000019117
34 | 4229680321600 | CANNULA, IRRIGATION, BONN MODEL/DELICATE/FLATTENED/ANGLED TIP, TIP LENGTH = 10.0MM, SHAFT LENGTH = 22.0MM, REUSABLE | EA | 30 | 3000019117
35 | 4229680331100 | "CANNULA, IRRIGATION, RENTSCH/ANGLED SHAFT, REUSABLE " | EA | 20 | 3000019117
36 | 4229161326300 | "KNIFE, PYLORIC W/ LUER-LOCK CONNECTOR FOR CLEANING, SIZE 3 MM, LENGTH 10 CM, REUSABLE " | EA | 90 | 3000019117
37 | 4229161327900 | "BLADE, CORNEAL,THOMAS NEUHANN/KERATOPLASTY TREPHINE PUNCH, ASSORTED SIZES 7.0 - 9.9 MM, REUSABLE" | EA | 76 | 3000019117
38 | 4229680011800 | FITTING, CATHETER, CONICAL, DIAMETER = 3.0MM, LENGTH = 9.0MM, REUSABLE | EA | 95 | 3000019117
39 | 4215164600500 | PROTECTOR, TEETH SILICONE, REUSABLE | EA | 35 | 3000019117
40 | 4229310730100 | ELITE II RAIL CLAMP, FOR THOMPSON RETRACTOR, WITH 2 CAM JOINTS, (OREQUIVALENT), ASSORTED SIZES, REUSABLE | each | 103 | 3000019117
41 | 4229310729800 | BILATERAL CROSSBAR, HINGED, FOR THOMPSON RETRACTOR, (OR EQUIVALENT),REUSABLE | each | 92 | 3000019117
42 | 4229310730400 | S-LOCK MICRO ADJUSTMENT CLIP, FOR THOMPSON RETRACTOR, NON-ANGLING, (OREQUIVALENT), ASSORTED LENGTH, REUSABLE | each | 37 | 3000019117
43 | 4229310730300 | S-LOCK MICRO ADJUSTMENT CLIP, FOR THOMPSON RETRACTOR, ANGLING, (OREQUIVALENT), ASSORTED LENGTH, REUSABLE | each | 33 | 3000019117
44 | 4229310730500 | ANGLED ARM, 18 INCH,FOR THOMPSON RETRACTOR, SIZE 8 X 10 INCH (OREQUIVALENT), REUSABLE | each | 76 | 3000019117
45 | 4229310721400 | ANGLED ARM, 24 INCH,FOR THOMPSON RETRACTOR, SIZE 11 X 13 INCH (OREQUIVALENT), REUSABLE | each | 56 | 3000019117
46 | 4229310730600 | ANGLED ARM, 24 INCH,FOR THOMPSON RETRACTOR, SIZE 8 X 16 INCH (OREQUIVALENT), REUSABLE | each | 76 | 3000019117
47 | 4229310729900 | CAM I JOINT, SERRATED AND NON SERRATED, FOR THOMPSON RETRACTOR, (OREQUIVALENT), REUSABLE | each | 63 | 3000019117
48 | 4229310730000 | CAM II CLIP-ON, FOR THOMPSON RETRACTOR, WITH ANGLING HEAD (OREQUIVALENT), ASSORTED SIZES, REUSABLE | each | 16 | 3000019117
49 | 4229310730200 | MICRO ADJUSTMENT CLIP II, FOR THOMPSON RETRACTOR, ANGLING, (OREQUIVALENT), ASSORTED LENGTH, REUSABLE | each | 36 | 3000019117
50 | 4229310732000 | BLADE, MALLEABLE, FOR THOMPSON RETRACTOR, SIZE 13.0 MM X 64 MM, REUSABLE | each | 61 | 3000019117
51 | 4229310731800 | BLADE, MALLEABLE, FOR THOMPSON RETRACTOR, SIZE 13.0 MM X 152 MM,REUSABLE | each | 40 | 3000019117
52 | 4229310731900 | BLADE, MALLEABLE, FOR THOMPSON RETRACTOR, SIZE 13 MM X 203 MM, REUSABLE | each | 92 | 3000019117
53 | 4229310732200 | BLADE, MALLEABLE, FOR THOMPSON RETRACTOR, SIZE 25 MM X 203 MM, REUSABLE | each | 49 | 3000019117
54 | 4229310732100 | BLADE, MALLEABLE, FOR THOMPSON RETRACTOR, SIZE 25 MM X 102 MM, REUSABLE | each | 35 | 3000019117
55 | 4229310732300 | BLADE, MALLEABLE, FOR THOMPSON RETRACTOR, SIZE 51 MM X 203 MM, REUSABLE | each | 35 | 3000019117
56 | 4229310732400 | BLADE, MALLEABLE, FOR THOMPSON RETRACTOR, SIZE 64 MM X 254 MM, REUSABLE | each | 39 | 3000019117
57 | 4229310732500 | BLADE, MALLEABLE, FOR THOMPSON RETRACTOR, SIZE 76 MM X 254 MM, REUSABLE | each | 44 | 3000019117
58 | 4229310731700 | BLADE, MALLEABLE, FOR THOMPSON RETRACTOR, SIZE 102 MM X 254 MM, REUSABLE | each | 44 | 3000019117
59 | 4229310731600 | BLADE, KELLYFOR THOMPSON RETRACTOR, SIZE 89MM X 76MM, (OR EQUIVALENT),REUSABLE | each | 141 | 3000019117
60 | 4229310731000 | BLADE BALFOUR FOR THOMPSON RETRACTOR SIZE 70 MM X 76 MM WITHOUT LIPS (OREQUIVALENT) REUSABLE | each | 91 | 3000019117
61 | 4229310731400 | BLADE BALFOUR FOR THOMPSON RETRACTOR SIZE 83 MM X 76 MM (OR EQUIVALENT)REUSABLE | each | 91 | 3000019117
62 | 4229310731300 | BLADE BALFOUR FOR THOMPSON RETRACTOR SIZE 83 MM X 76 MM WITHOUT LIPS (OREQUIVALENT) REUSABLE | each | 92 | 3000019117
63 | 4229310731100 | BLADE BALFOUR FOR THOMPSON RETRACTOR SIZE 83 MM X 127 MM (OR EQUIVALENT)REUSABLE | each | 92 | 3000019117
64 | 4229310730900 | BLADE BALFOUR FOR THOMPSON RETRACTOR SIZE 30 MM X 30 MM (OR EQUIVALENT)REUSABLE | each | 90 | 3000019117
65 | 4229310732700 | BLADE, RICHARDSON, FOR THOMPSON RETRACTOR, 57MM X 178MM, (OREQUIVALENT), REUSABLE | each | 26 | 3000019117
66 | 4229310731500 | BLADE, HARRINGTON, FOR THOMPSON RETRACTOR, 64MM X 152MM, (OREQUIVALENT), REUSABLE | each | 27 | 3000019117
67 | 4229310732600 | BLADE, MALLEABLE FINGER, FOR THOMPSON RETRACTOR, SIZE 152 MM, (OREQUIVALENT), REUSABLE | each | 30 | 3000019117
68 | 4229310731200 | BLADE BALFOUR FOR THOMPSON RETRACTOR SIZE 83 MM X 57 MM (OR EQUIVALENT)REUSABLE | each | 107 | 3000019117
69 | 4229310730700 | BLADE BALFOUR FOR THOMPSON RETRACTOR SIZE 102 MM X 57 MM (OR EQUIVALENT)REUSABLE | each | 107 | 3000019117
70 | 4229310730800 | BLADE BALFOUR FOR THOMPSON RETRACTOR SIZE 114 MM X 57 MM (OR EQUIVALENT)REUSABLE | each | 107 | 3000019117
71 | 4229313901000 | "BLADE, KELLYFOR THOMPSON RETRACTOR, SIZE 64MM X 76MM, (OR EQUIVALENT),REUSABLE" | each | 30 | 3000019117
72 | 4229310002800 | "BLADE, ST. MARK'S, FOR THOMPSON RETRACTOR, 64MM X 178MM, (OREQUIVALENT), REUSABLE" | each | 35 | 3000019117
73 | 4229310734500 | CAM II CLIP-ON, FOR THOMPSON RETRACTOR, NON ANGLING, WITH HANDLE, (OREQUIVALENT), ASSORTED SIZES, REUSABLE | items (Pieces) | 3 | 3000019117
74 | 4229310734600 | BLADE, MALLEABLE, FOR THOMPSON RETRACTOR, SIZE 51 MM X 102 MM, REUSABLE | items (Pieces) | 2 | 3000019117
75 | 4229310734700 | BLADE, KELLY FOR THOMPSON RETRACTOR, SIZE( 38 - 51 ) MM X (50 - 64 )MM,(OR EQUIVALENT), REUSABLE | items (Pieces) | 2 | 3000019117
76 | 4229310734800 | BLADE, DEAVER, FOR THOMPSON RETRACTOR, ASSORTED SIZES, (OR EQUIVALENT),REUSABLE | items (Pieces) | 2 | 3000019117
77 | 4229310734900 | BLADE BALFOUR FOR THOMPSON RETRACTOR SIZE 70 MM X 51 MM WITHOUT LIPS (OREQUIVALENT) REUSABLE | items (Pieces) | 2 | 3000019117
78 | 4229310735000 | BLADE BALFOUR FOR THOMPSON RETRACTOR SIZE 51 MM X 51 MM WITHOUT LIPS (OREQUIVALENT) REUSABLE | items (Pieces) | 2 | 3000019117
79 | 4229310735100 | 12 INCH ANGLED ARM,FOR THOMPSON RETRACTOR, SIZE (6X6) INCH, (OREQUIVALENT), REUSABLE | items (Pieces) | 2 | 3000019117
80 | 4229310735200 | ELITE II RAIL CLAMP, FOR THOMPSON RETRACTOR, WITH TWO 1/2 INCH CAMJOINTS, (OR EQUIVALENT), ASSORTED SIZES, REUSABLE | items (Pieces) | 2 | 3000019117
81 | 4228150916700 | STERILIZATION TRAY WITH LID, FOR THOMPSON RETRACTOR, (OR EQUIVALENT),REUSABLE | items (Pieces) | 2 | 3000019117
82 | 4229680339600 | SCISSORS, MICRO, ZANINI/6.0MM LONG BLADES/STRAIGHT, STAINLESS STEEL,REUSABLE | each | 30 | 3000019117
83 | 4229680407700 | "BOARD, BLOCK, CUTTING, SIZE 5.5 CM X 8.7 CM X 1.2 CM, TEFLON, REUSABLE" | each | 29 | 3000019117
84 | 4229350107400 | "SUCTION TUBE, MINIMALLY INVASIVE, LENGTH 33 CM, CURVED, REUSABLE" | each | 18 | 3000019117
85 | 4229270207500 | "ELEVATOR, PERIOSTEAL, STRAIGHT, WORKING LENGTH 16 - 17CM, TOTAL LENGTH42 - 43 CM, REUSABLE" | each | 14 | 3000019117
86 | 4229680133300 | "CONTAINER, STERILIZATION INSTRUMENT, WITH LID, SIZE 60 CM X 30 CM X 16CM, STAINLESS STEEL, REUSABLE" | each | 10 | 3000019117
87 | 4229680706400 | "FORCEPS, ALLIGATOR LARYNGEAL, ROSEN MICRO-CURVED MINI FLAP RETRACTORLEFT WITH DIAMOND DUST, LENGTH 22 - 23CM, REUSABLE" | each | 160 | 3000019117
88 | 4229680422000 | "FORCEPS, CLAMP, DUVAL LUNG/STRAIGHT/TRIANGULAR/SERRATED, STAINLESSSTEEL, LENGTH 20 - 21 CM, REUSABLE" | each | 5 | 3000019117
89 | 4229180264300 | "FORCEPS, CLAMP, HEANEY/STRAIGHT, STAINLESS STEEL, LENGTH = 19.0 - 21.0CM, TEETH: 1, HYSTERECTOMY, REUSABLE" | each | 60 | 3000019117
90 | 4229180264400 | "FORCEPS, CLAMP, HEANEY/STRAIGHT, STAINLESS STEEL, LENGTH = 19.0 - 21.0CM, TEETH: 2, HYSTERECTOMY, REUSABLE" | each | 170 | 3000019117
91 | 4229680175300 | "FORCEPS, CLAMP, TENACULUM/STRAIGHT, STAINLESS STEEL, LENGTH 26.5 CM,TEETH: 4X3, REUSABLE" | each | 10 | 3000019117
92 | 4229680323200 | "FORCEPS, CONJUNCTIVA, KAUFMANN/TYING PLATFORM/TEETH: 1X2, LENGTH 7 - 8CM, STAINLESS STEEL, REUSABLE" | each | 142 | 3000019117
93 | 4229680440200 | FORCEPS MICRO ATRAUMATIC/STRAIGHT TITANIUM LENGTH=18.0CM TIP WIDTH=0.3MM REUSABLE | each | 14 | 3000019117
94 | 4229680268400 | "FORCEPS, MICRO, STANDARD, TUNGSTEN CARBIDE, LENGTH 15 - 16 CM, TIPWIDTH 1 MM, 1X2, REUSABLE" | each | 60 | 3000019117
95 | 4229680422200 | "FORCEPS, TISSUE, FERRIS SMITH, STAINLESS STEEL, 1X2, LENGTH 14 - 16 CM,REUSABLE" | each | 10 | 3000019117
96 | 4229680324400 | "RETRACTOR,WOUND, SENN/DOUBLE ENDED/THREE SHARP PRONGS ON ONE END,STAINLESS STEEL, LENGTH 16 - 17 CM, REUSABLE" | each | 48 | 3000019117
97 | 4229680041800 | SCISSORS DISSECTING LAHEY/CURVED TUNGSTEN CARBIDE LENGTH=14.5CM REUSABLE | each | 10 | 3000019117
98 | 4229161428400 | "SCISSORS, DISSECTING, MAYO CURVED, TUNGSTEN CARBIDE, LENGTH 28 - 30 CM,REUSABLE" | each | 48 | 3000019117
99 | 4229680159700 | "SCISSORS, DISSECTING, MAYO LEXER/FINE TIP/CURVED, TUNGSTEN CARBIDE,LENGTH 16 CM, REUSABLE" | each | 24 | 3000019117
100 | 4229680093000 | SCISSORS DISSECTING METZENBAUM FINE/CURVED STAINLESS STEEL LENGTH=11.0CMREUSABLE | each | 10 | 3000019117
101 | 4229161432400 | "SCISSORS, JACOBSON/MICRO, SUPERGRIP, CURVED, TIP 7 MM, LENGTH 16.0-18.0CM, SHARP, REUSABLE" | items (Pieces) | 15 | 3000019117
102 | 4229161432600 | "SCISSORS, JACOBSON/MICRO, SUPERGRIP, CURVED, TIP 10 MM, LENGTH 16.0-18.0 CM, SHARP, REUSABLE" | items (Pieces) | 15 | 3000019117
103 | 4229161432300 | "SCISSORS, JACOBSON/MICRO, SUPERGRIP, STRAIGHT, TIP 7 MM, LENGTH 16.0 -18.0 CM, SHARP, REUSABLE" | items (Pieces) | 10 | 3000019117
104 | 4229161432500 | "SCISSORS, JACOBSON/MICRO, SUPERGRIP, STRAIGHT, TIP10 MM, LENGTH 16.0-18.0 CM, SHARP, REUSABLE" | items (Pieces) | 15 | 3000019117
105 | 4229680158000 | "SCISSORS, MAYO CURVED/SERRATED, TUNGSTEN CARBIDE, LENGTH 17 CM,REUSABLE" | each | 20 | 3000019117
106 | 4229680158200 | "SCISSORS, MAYO STRAIGHT/SERRATED, TUNGSTEN CARBIDE, LENGTH 23 CM,REUSABLE" | each | 20 | 3000019117
107 | 4229680418400 | "SCISSORS, METZENBAUM CURVED/SERRATED, TUNGSTEN CARBIDE, LENGTH 20.5 CM,REUSABLE" | each | 10 | 3000019117
108 | 4229680147700 | "SCISSORS, METZENBAUM/SHARP-BLUNT/STRAIGHT, STAINLESS STEEL, LENGTH 16 -16.5 CM, REUSABLE" | each | 50 | 3000019117
109 | 4229680109600 | SCISSORS MICRO SHARP-SHARP/LEFT/CURVED STAINLESS STEEL LENGTH=23.0CM TIPWIDTH= 4.0MM REUSABLE | each | 10 | 3000019117
110 | 4229680109700 | SCISSORS MICRO SHARP-SHARP/RIGHT/CURVED STAINLESS STEEL LENGTH=23.0CMTIP WIDTH= 4.0MM REUSABLE | each | 60 | 3000019117
111 | 4229680065400 | SCISSORS OPERATING GUM/S-SHAPE TUNGSTEN CARBIDE LENGTH=11.5CM REUSABLE | each | 10 | 3000019117
112 | 4229680332300 | SCISSORS SURGICAL LIGHT CURVE/SHARP-SHARP/FLAT SERRATED HANDLE STAINLESSSTEEL LENGTH=10.0CM REUSABLE | each | 5 | 3000019117
113 | 4229680158100 | SCISSORS SURGICAL MAYO STRAIGHT/SERRATED TUNGSTEN CARBIDE LENGTH=18.0CMREUSABLE | each | 49 | 3000019117
114 | 4229680086300 | SCISSORS SURGICAL OLIVER SUTURE APPLYING/SHARP-SHARP/STRAIGHT STAINLESSSTEEL WITH TUNGSTEN CARBIDE TIPS LENGTH=11.5CM REUSABLE | each | 30 | 3000019117
115 | 4229680037300 | SCISSORS VASCULAR DEBAKEY ANGLED 25 DEGREE STAINLESS STEEL LENGTH=19.0CMREUSABLE | each | 26 | 3000019117
116 | 4229680334400 | STERN-GILLS SCISSORS, SHARP TIP 10MM, REUSABLE | each | 132 | 3000019117
117 | 4229633912600 | OUTER SHEATH, WITH LUER-LOCK, CONNECTOR, SIZE 10 MM, LENGTH 30 CM,REUSABLE | each | 46 | 3000019117
118 | 4229633912700 | OUTER SHEATH, WITHOUT LUER-LOCK, CONNECTOR, SIZE 5 MM, LENGTH 30 CM,REUSABLE | each | 30 | 3000019117
119 | 4229490014800 | LAPAROSCOPIC METAL HANDLE, ROTATING, WITHOUT RATCHET, WITH CONNECTOR PINFOR UNIPOLAR COAGULATION, REUSABLE | each | 194 | 3000019117
120 | 4229633911900 | LAPAROSCOPIC OUTER SHEATH, METAL, INSULATED, 3.5MM X 36CM, REUSABLE | each | 162 | 3000019117
121 | 4229633912300 | LAPAROSCOPIC OUTER SHEATH, METAL, INSULATED, 5MM X 43CM, REUSABLE | each | 50 | 3000019117
122 | 4229490828400 | LAPAROSCOPIC, FORCEPS, DISSECTING AND GRASPING,<(>,<)> ROTATING,DISMANTLING, INSULATED, WITH CONNECTOR PIN FOR UNIPOLAR COAGULATION,WITH LUER-LOCK IRRIGATION CONNECTOR FOR CLEANING, SINGLE ACTION JAWS,“TIGER JAWS”, 2 X 4 TEETH, SIZE 3MM, LENGTH 20 CM, REUSABLE | each | 10 | 3000019117
123 | 4229180274000 | "LAPAROSCOPIC, GRASPING FORCEPS, ROTATING, DISMANTLING, INSULATED, WITHCONNECTOR PIN FOR UNIPOLAR COAGULATION, WITH LUER-LOCK IRRIGATIONCONNECTOR FOR CLEANING, SINGLE ACTION JAWS, FENESTRATED, WITH ESPECIALLYFINE ATRAUMATIC SERRATION, SIZE 3.0 - 3.5 MM, LENGTH 20 CM, REUSABLE" | items (Pieces) | 10 | 3000019117
124 | 4229492901100 | LAPAROSCOPIC, LIVER RETRACTOR 10MM, GOLDEN FINGER, 36CM, REUSABLE | each | 52 | 3000019117
125 | 4229490608900 | LAPAROSCOPIC, MICRO HOOK SCISSORS, ROTATING, DISMANTLING, INSULATED,WITH CONNECTOR PIN FOR UNIPOLAR COAGULATION, WITH LUER-LOCK IRRIGATIONCONNECTOR FOR CLEANING, SINGLE ACTION JAWS, SIZE 3MM, LENGTH 20 CM,REUSABLE | each | 5 | 3000019117
126 | 4229490829300 | LAPAROSCOPIC, REDDICK-OLSEN FORCEPS, DISSECTING AND GRASPING,<(>,<)>ROTATING, DISMANTLING, WITHOUT CONNECTOR PIN FOR UNIPOLAR COAGULATION,WITH LUER-LOCK IRRIGATION CONNECTOR FOR CLEANING, DOUBLE ACTION JAWS,ROBUST, SIZE 3MM, LENGTH 20 CM, REUSABLE | each | 70 | 3000019117
127 | 4229490609200 | LAPAROSCOPIC, SCISSORS, ROTATING, DISMANTLING, INSULATED, WITH CONNECTORPIN FOR UNIPOLAR COAGULATION, WITH LUER- LOCK IRRIGATION CONNECTOR FORCLEANING, DOUBLE ACTION JAWS, SERRATED, CURVED, CONICAL, SIZE 3MM,LENGTH 20 CM, REUSABLE | each | 3 | 3000019117
128 | 4229491500100 | LAPAROSCOPIC, TAN PYLORIC SPREADER AND GRASPING FORCEPS ROTATINGDISMANTLING INSULATED WITH CONNECTOR PIN FOR UNIPOLAR COAGULATION WITHLUER- LOCK IRRIGATION CONNECTOR FOR CLEANING DOUBLE ACTION JAWS IN- ANDOUTSIDE SERRATED JAWS SIZE 3MM LENGTH 20 CM, REUSABLE | each | 9 | 3000019117
129 | 4229490829600 | NEEDLE HOLDER, DISMANTLING, ERGONOMIC PISTOL HANDLE WITH DISENGAGEABLERATCHET, RATCHET RELEASE ON RIGHT SIDE, STRAIGHT JAWS, 5 MM, LENGTH 36CM, REUSABLE | each | 95 | 3000019117
130 | 4229490829400 | NEEDLE HOLDER, ERGONOMIC, STRAIGHT HANDLE WITH DISENGAGEABLE RATCHET,RATCHET RELEASE ON RIGHT SIDE, LEFT CURVED JAWS 5 MM LENGTH 36 CM,REUSABLE | each | 101 | 3000019117
131 | 4229290315000 | "NEEDLE HOLDER, LAPAROSCOPY, CURVED TO LEFT, DIAMETER 5 MM, LENGTH 30 -31 CM, TUNGSTEN CARBIDE, REUSABLE" | each | 52 | 3000019117
132 | 4229290314900 | "NEEDLE HOLDER, LAPAROSCOPY, CURVED TO RIGHT, DIAMETER 5 MM, LENGTH 30 -31 CM, TUNGSTEN CARBIDE, REUSABLE" | each | 64 | 3000019117
133 | 4229680244600 | NEEDLE HOLDER MICRO/STRAIGHT/WITH LOCK TUNGSTEN CARBIDE LENGTH=22.0CMREUSABLE | each | 10 | 3000019117
134 | 4229680011300 | "CLAMP, BULLDOG, GLOVER, CURVED JAW, JAW LENGTH 33 MM, TOTAL LENGTH 7CM, STAINLESS STEEL, REUSABLE" | each | 20 | 3000019117
135 | 4229180223900 | "CLAMP, DEBAKEY, FOR THORACOSCOPIC, WITH RATCHET, 1X2, WORKING LENGTH 11- 12 CM, TOTAL LENGTH 29 - 30 CM, REUSABLE" | each | 10 | 3000019117
136 | 4229680516600 | CLAMP, EYE MUSCLE, APT MODEL, REUSABLE | items (Pieces) | 20 | 3000019117
137 | 4229180246600 | "CLAMP, THORACOSCOPIC, DEBAKEY ( 10 MM SHAFT ) HARKEN #1 RING HANDLEWIDE DEBAKEY JAWS WITHOUT RATCHET 9.5 CM, WORKING LENGTH 24 - 25 CM,TOTAL LENGTH 35 - 36 CM (OR EQUIVALENT) REUSABLE" | each | 78 | 3000019117
138 | 4229180246700 | "CLAMP, THORACOSCOPIC, DEBAKEY ( 10 MM SHAFT ) HARKEN #2 RING HANDLEWIDE DEBAKEY JAWS WITHOUT RATCHET 9.5 CM, WORKING LENGTH 24 - 25 CM,TOTAL LENGTH 35 - 36 CM (OR EQUIVALENT) REUSABLE" | each | 78 | 3000019117
139 | 4229680429400 | "FORCEPS, CLAMP, VASCULAR, SATINSKY/LARGE, STRAIGHT, STAINLESS STEEL,LENGTH 25.5 CM, REUSABLE" | each | 16 | 3000019117
140 | 4228150906200 | "CONTAINER, PLASTIC FOR STERILIZATION, PERFORATED, WITH LID, ESPECIALLYSUITED FOR HYDROGEN PEROXIDE, SIZE 45 CM X 9 CM X 4 CM OR EQUIVALENT,USE WITH TWO RIGID ENDOSCOPES, REUSABLE" | each | 34 | 3000019117
141 | 4229680012300 | "CONTAINER, STERILIZATION INSTRUMENT, 2 TRAY,WITH LID, SIZE 30 CM X 30CM X 15 CM, STAINLESS STEEL, REUSABLE" | each | 10 | 3000019117
142 | 4229680132300 | "CONTAINER, STERILIZATION INSTRUMENT, WITH LID, SIZE 30 CM X 30 CM X 9CM, STAINLESS STEEL, REUSABLE" | each | 46 | 3000019117
143 | 4229680013000 | "CONTAINER, STERILIZATION INSTRUMENT, WITH LID, SIZE 60 CM X 30 CM X 11CM, STAINLESS STEEL, REUSABLE" | each | 10 | 3000019117
144 | 4229680068500 | "FRAME, LABEL FOR CONTAINERS, COLOR WHITE, REUSABLE" | each | 33 | 3000019117
145 | 4228151300900 | "TRAY, FINISH SHINY, PERFORATED BOTTOM, SIZE 31 CM X 25 CM X 4 CM OREQUIVALENT, STAINLESS STEEL, REUSABLE" | each | 11 | 3000019117
146 | 4228151300600 | "TRAY, FOR CSSD WASHERS, PERFORATED BOTTOM, WITH SOLID STAINLESS STEELSIDES, SIZE 41 CM X 25 CM X 4 CM OR EQUIVALENT, REUSABLE" | each | 14 | 3000019117
147 | 4228151300300 | "TRAY, FOR CSSD WASHERS, PERFORATED BOTTOM, WITH SOLID STAINLESS STEELSIDES, SIZE 41 CM X 25 CM X 8 CM OR EQUIVALENT, REUSABLE" | each | 10 | 3000019117
148 | 4229680417600 | "TUBE, SUCTION, FERGUSSON, DIAMETER 2.5MM, WORKING LENGTH 200 MM, TOTALLENGTH 275 - 285MM, REUSABLE" | each | 71 | 3000019117
149 | 4229350117300 | "TUBE, SUCTION, FERGUSSON, DIAMETER 3.5MM, WORKING LENGTH 110 MM,TOTALLENGTH 190 - 200MM, REUSABLE" | each | 120 | 3000019117
150 | 4229350117500 | TUBE, SUCTION, FERGUSSON, DIAMETER 3.5MM, WORKING LENGTH 160 MM, TOTALLENGTH 240 - 250MM, REUSABLE | each | 45 | 3000019117
151 | 4229680242500 | "TUBE, SUCTION, FERGUSSON, DIAMETER 3.5MM, WORKING LENGTH 200 MM, TOTALLENGTH 275 - 285MM, REUSABLE" | each | 25 | 3000019117
152 | 4214271902400 | "COLD KNIFE, RING-SHAPED, FOR ADULT, RESECTOSCOPE, NOT TO BE USED WITHHIGH FREQUENCY MACHINE, REUSABLE" | each | 45 | 3000019117
153 | 4229680108400 | "KNIFE, ROSEN, ROUND CUT, 90 DEGREE, LENGTH 15 CM, TIP DIAMETER 1,6 MM,STAINLESS STEEL, REUSABLE" | each | 20 | 3000019117
154 | 4229270205700 | "ELEVATOR, CREGO PERIOSTEAL, BLUNT, CURVED 15MM, LENGTH 19.0 - 20.0 CM,REUSABLE" | each | 139 | 3000019117
155 | 4229680304200 | "PROBE, ANEL LACRIMAL, LARGE 1.0MM DIAMETER, REUSABLE" | each | 60 | 3000019117
156 | 4229680304400 | "PROBE,ANEL LACRIMAL, SMALL 0.6MM DIAMETER, REUSABLE" | each | 49 | 3000019117
157 | 4229633911000 | "LAPAROSCOPIC OUTER SHEATH, METAL, WITH LUER-LOCK CONNECTOR FORCLEANING, SIZE 3 MM, LENGTH 20 CM, REUSABLE" | each | 104 | 3000019117
158 | 4229680324300 | "GOUGE, RHINOLOGY, KILLIAN, LENGTH 13 CM, TIP WIDTH 5MM, REUSABLE" | each | 48 | 3000019117
159 | 4214273600900 | CATHETER UROLOGY CURVED DIAMETER=15.0FR LENGTH=15.0CM WOMEN WITH STYLETREUSABLE | each | 20 | 3000019117
160 | 4229680085700 | "NIPPER, NAIL, STRAIGHT JAWS / DOUBLE SPRING, STAINLESS STEEL, LENGTH 13- 14 CM, REUSABLE" | each | 74 | 3000019117
161 | 4228150915000 | "TRAY, PERFORATED, MINIMALLY INVASIVE, OBADIA 3D RETRACTOR SET, 405 X250 X 70 MM, WITH LID AND ACCESSORIES, REUSABLE" | each | 10 | 3000019117
162 | 4228150915100 | "TRAY, PERFORATED, WITH ARTICULATED LID, FOR YAN RETRACTOR, 400 X 250 X70 MM, WITH ACCESSORIES, REUSABLE" | each | 81 | 3000019117
163 | 4228150914900 | TRAY, STERILIZATION, FOR ADAMS RETRACTOR AND 3 HOOKS : WIRE MESH BASKETFULL SIZE 540 X 240 X 80 MM, WITH REMOVABLE LID AND ACCESSORIES,REUSABLE | each | 85 | 3000019117

## توزيع المناطق
Generic Mat Code | Plant | Delivery Address | Nedded QTY