## الطرح
SN | Generic Code | Item Description | UOM | Quantity | SRM number
1 | 4217210501500 | TRAY LINER, MADE OF CELLULOSE FIBERS 80 G TO BE USE UNDER THE SURGICAL TRAY TO ABSORB ANY MOISTURE AFTER THE CYCLE, WHITE, SIZE 500 X 300 MM. | EA | 500 | 3000019373
2 | 4228152800900 | CHEMICAL INTEGRATOR CLASS 5 STRIP MOVING INK TECHNOLOGY | EA | 9282 | 3000019373
3 | 4228152802200 | LABEL INFORMATION CARD, FOR RIGID STERILIZATION CONTAINER, WITH TYPE 1 STEAM CHEMICAL INDICATOR, CONTAIN ALL THE FIELDS RELEVANT FOR RECORDING INFORMATION, UNERASABLE, 35 MM X 80 MM | EA | 2000 | 3000019373
4 | 4228170402900 | ALKALINE DETERGENT, SODIUM/POTASSIUM HYDROXIDE, EFFECTIVE ON HARD TO CLEAN SOILS, DISSOLVES COMPLETELY IN HARD OR SOFT WATER, EASY TO RINSE, LOW FOAMING, SUITABLE FOR AUTOMATIC CLEANING, 2-5 ML DOSE FORMULA, PH ALKALINE 10 – 13 BEFORE DILUTION, CORROSION INHIBITOR, BIODEGRADABLE, FIT TO CABINET (WIDE CAP) GALLON. | EA | 40 | 3000019373
5 | 4228190203400 | BIOLOGICAL INDICATOR, CHALLENGE PACK FOR STEAM STERILIZER (SELF-CONTAINED BIOLOGICAL INDICATOR PLUS CHEMICAL INTEGRATOR TYPE 5) , READOUT INCUBATION TIME LESS THAN 30 MIN, EXTERNAL CHEMICAL INDICATOR TYPE 1, PROVIDE BIOLOGICAL INDICATOR CONTROL WITH SAME LOT NUMBER. | EA | 60 | 3000019373
6 | 4228190404700 | STEAM POUCH STERILIZATION ROLL FLAT, MEDICAL GRADE NOT LESS THAN 60 GSM, PUNCTURE RESISTANT PLASTIC, TRANSPARENT FILM, PROCESS INDICATOR TYPE 1 PRINTED AT DISTANCE EVERY 15 CM, SIZE: 420 MM X 100 M. | EA | 34 | 3000019373
7 | 4228190410800 | STEAM POUCH STERILIZATION ROLL FLAT, MEDICAL GRADE NOT LESS THAN 60 GSM, PUNCTURE RESISTANT PLASTIC, TRANSPARENT FILM, PROCESS INDICATOR TYPE 1 PRINTED AT DISTANCE EVERY 15 CM, SIZE: 520 MM X 100 M. | EA | 16 | 3000019373
8 | 4231160601400 | PRE CLEAN SPONGE SCOPE SHAPED IMPREGNATED IN ENZYMATIC SOLUTION SURFACTANTS ANTICORROSIVE AND ANTIFOAMING AGENT ALDEHYDES AND CHLORINE COMPONENT FREE NONTOXIC AND SAFE TO HANDLE RINSE FREE BIODEGRADABLE BACTERICIDAL SIZE 500 – 600 ML | EA | 260 | 3000019373
9 | 4231210501500 | PRE CLEAN ENZYMATIC SPRAY, FOR POINT OF USE, READY TO USE, NOT LESS THAN 3 ENZYMES (AMYLASE, PROTEASE, LIPASE), SURFACTANT, CLINGS TO SOIL, MAINTAIN THE MOISTURE DURING TRANSPORT UP TO 48 - 72 HOURS, OIL FILM FREE, DYE-FREE, NEUTRAL PH, CONTAINS CORROSION INHIBITORS, SAFE FOR ALUMINUM, SOFT METALS, GOLD HANDLES, RINSES FREE, LEAK PROOF, SIZE: 600ML # 1000 ML | EA | 13995 | 3000019373
10 | 4231210805000 | POUCH STEAM STERILIZATION PRE-CUT FLAT HEAT SEAL MEDICAL GRADE PAPER NOT LESS THAN 60 GSM (WHITE) THICK PLASTIC TRANSPARENT FILM PUNCTURE RESISTANT INDICATOR TYPE 1 PRINTED AT DISTANCE EVERY 15 CM SEAL EDGE 9 MM SIZE: L 406 MM X W 200 MM | EA | 61430 | 3000019373

## توزيع المناطق
Original Generic | Original Open Qty | Original Plant | Original Delivery Address
4228152800900 | 1000 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير
4228152800900 | 1000 | S2C2 | MOH - Bisha
4228152800900 | 33 | 1100 | MOH - Northern Border Health Clusteتجمع الحدود الشمالية الصحي
4228152800900 | 249 | C2C1 | MOH - Riiyadh Cluster 1
4228152800900 | 1750 | C2C1 | MOH - Riiyadh Cluster 2
4228152800900 | 5250 | W2C1 | MOH - Jeddah
4228170402900 | 40 | E2C1 | MOH - Hafar
4228190203400 | 60 | C2C1 | MOH - KSMC
4228152802200 | 2000 | W2C2
4231210805000 | 78 | C2C1 | MOH - Riiyadh Cluster 1
4231210805000 | 225 | C2C1 | MOH - Riiyadh Cluster 2
4231210805000 | 225 | C2C1 | MOH - Riiyadh Cluster 2
4231210805000 | 838 | C2C1 | MOH - Riiyadh Cluster 3
4231210501500 | 72 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير
4231210501500 | 96 | S2C2 | MOH - Bisha
4231210501500 | 4 | C2C1 | MOH - Riyadh
4231210501500 | 984 | C2C1 | MOH - Riiyadh Cluster 1
4231210501500 | 120 | C2C1 | MOH - Riiyadh Cluster 2
4231210501500 | 420 | C2C1 | MOH - Riiyadh Cluster 3
4231210501500 | 23 | C2C1 | MOH - PMAH
4231210501500 | 312 | C2C1 | MOH - KSMC
4231210501500 | 144 | S2C1 | MOH - Najran
4231210501500 | 168 | E2C1 | MOH - Hafar
4231210501500 | 72 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير
4231210501500 | 96 | S2C2 | MOH - Bisha
4231210501500 | 516 | 1100 | MOH - Northern Border Health Clusteتجمع الحدود الشمالية الصحي
4231210501500 | 516 | 1100 | MOH-QURAYAT Health Clusterالتجمع الصحي بمنطقة القريات
4231210501500 | 984 | C2C1 | MOH - Riiyadh Cluster 1
4231210501500 | 120 | C2C1 | MOH - Riiyadh Cluster 2
4231210501500 | 420 | C2C1 | MOH - Riiyadh Cluster 3
4231210501500 | 312 | C2C1 | MOH - KSMC
4231210501500 | 1068 | E2C1 | MOH - Dammam
4231210501500 | 648 | E2C1 | MOH - Ahsa
4231210501500 | 252 | N2C1 | MOH - Qassim
4231210501500 | 336 | N2C1 | MOH - Hail
4231210501500 | 144 | S2C1 | MOH - Najran
4231210501500 | 1128 | W2C1 | MOH - Jeddah
4231210501500 | 1788 | W2C1 | MOH - Makkah
4231210501500 | 336 | W2C1 | MOH - Makkah
4231210501500 | 1860 | W2C1 | MOH - Taif
4231210501500 | 1056 | W2C2
4231210805000 | 60064 | C2C1 | MOH - Riiyadh Cluster 1
4231160601400 | 260 | W2C1 | MOH - Jeddah
4228190404700 | 8 | C2C1 | MOH - Riiyadh Cluster 1
4228190404700 | 26 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير
4228190410800 | 16 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير
4217210501500 | 500 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال