## Sheet1
SN | Item Code | Item Description | UOM | Nedded QTY | SRM Number
1 | 4227151509800 | VENTILATOR CIRCUIT, DOUBLE LUMEN, PRESSURE LINE, NON-HEATED, WITH EXHALATION VALVE, SIZE ADULT, DISPOSABLE, OXYGEN SENSOR ADAPTER, C OMPATIBLE WITH VENTI LOGIC LS OR EQUIVALENT | SET | 100 | 3000019960
2 | 4227150505100 | CIRCUIT TRANSPORT VENTILATOR SINGLE LUMEN UNHEATED WITH PEPA PORT AND BIPAP/CPAP MASK SIZE LARGE SHOULD BE COMPATIBLE WITH O-TWO MACHINE | EA | 60 | 3000019960
3 | 4227191503700 | TRACHEOSTOMY TUBE NEONATE CUFFED STERILE ID 4.0 MM OD ( 5.6 - 6 MM ) TOTAL LENGTH ( 34 - 38 MM ) STERILE | TUB | 20 | 3000019960
4 | 4228190207900 | SHEET COUNTING PAPER FOR STEAM STERILIZER COMPATIBLE WITH CISA MACHINE OR EQUIVALENT | EA | 16 | 3000019960
5 | 4228202100300 | CLEANING BRUSH FOR AIR/WATER CHANNEL OF EUS SCOPE SINGLE USE | EA | 125 | 3000019960
6 | 4222150311400 | MFD AS PER MM CLEANSING 2.0 - CATHETER CENTRAL VENOUS TRIPLE LUMEN POLYURETHANE CATHETER GUIDE WIRE SYRINGE 5ML INTRODUCER NEEDLE SIZE 8 30CM | EA | 22 | 3000019960
7 | 4228150300800 | MFD AS PER MM CLEANSING 2.0 - FILTER BACTERIOLOGICAL SET FOR ARGON PLASMA COAGULATION SYSTEM | EA | 80 | 3000019960
8 | 4213150409900 | MFD AS PER MM CLEANSING 2.0 - COVERALL WITH HOODY UNVERSIL SIZE DISPOSABLE USE TO PREVENT SUNSTROKE / | EA | 500 | 3000019960
9 | 4227150510900 | AIRWAY ADAPTER SIZE ADULT EXTENDABLE UP TO 7CM 15MM(OD) 22MM(OD) DISPOSABLE. | PC | 450 | 3000019960
10 | 4231154603600 | DRESSING, ABSORBENT, WOUND PAD, CONTAIN OF SUPERABSORBENT POLYACRYLATE (SAP), SATURATED WITH RINGER SOLUTION, SIZE 10 X 10 CM(+\-2 CM), DISPOSABLE, STERILE, MSDS SHOULD BE PROVIDED IN SOFT COPY, (WOUND AND OSTOMY CARE) | EA | 520 | 3000019960