## الطرح
SN | Generic Code | Item Description | UOM | Quantity | SRM number
1 | 4214000063900 | SEAL, TAMPER PROOF PLASTIC SURGICAL CONTAINERS, BLUE UNIVERSAL SINGLE USE. | EA | 500 | 3000020360
2 | 4228152802700 | CLEANING INDICATOR MONITORING THE CLEANING EFFICIENCY OF THE ULTRASONIC SELF-CONTAINED VIAL VISUALLY CHECKED FOR COLOR CHANGE STORAGE IN ROOM TEMPERATURE. | EA | 27 | 3000020360
3 | 4228180301200 | BIOLOGICAL INDICATOR, SELF-CONTAINED INDIVIDUAL VIALS FOR STEAM STERILIZERS, READOUT INCUBATION TIME LESS THAN 30 MIN, EXTERNAL CHEMICAL INDICATOR TYPE 1. | EA | 101 | 3000020360
4 | 4231210501500 | PRE CLEAN ENZYMATIC SPRAY, FOR POINT OF USE, READY TO USE, NOT LESS THAN 3 ENZYMES (AMYLASE, PROTEASE, LIPASE), SURFACTANT, CLINGS TO SOIL, MAINTAIN THE MOISTURE DURING TRANSPORT UP TO 48 - 72 HOURS, OIL FILM FREE, DYE-FREE, NEUTRAL PH, CONTAINS CORROSION INHIBITORS, SAFE FOR ALUMINUM, SOFT METALS, GOLD HANDLES, RINSES FREE, LEAK PROOF, SIZE: 600ML # 1000 ML | EA | 2420 | 3000020360

## توزيع المناطق
Original Generic | Original Open Qty | Original Plant | Original Delivery Address
4228180301200 | 36 | C2C1 | مستودع الرياض - وزارة الصحة
4228180301200 | 32 | C2C1 | مستودع الرياض - وزارة الصحة
4228180301200 | 14 | C2C1 | مستودع الرياض - وزارة الصحة
4228180301200 | 19 | C2C1 | مستودع الرياض - وزارة الصحة
4228152802700 | 10 | N2C2 | مستودع نوبكو الجوف وزارة الصحة
4228152802700 | 7 | C2C1 | مستودع الرياض - وزارة الصحة
4228152802700 | 10 | C2C1 | مستودع الرياض - وزارة الصحة
4231210501500 | 531 | N2C2 | مستودع نوبكو الجوف وزارة الصحة
4231210501500 | 1005 | C2C1 | مستودع الرياض - وزارة الصحة
4231210501500 | 120 | C2C1 | مستودع الرياض - وزارة الصحة
4231210501500 | 432 | C2C1 | مستودع الرياض - وزارة الصحة
4231210501500 | 332 | C2C1 | مستودع الرياض - وزارة الصحة
4214000063900 | 500 | N2C2 | مستودع نوبكو الجوف وزارة الصحة