## الطرح
SN | Generic Code | Item Description | UOM | Quantity | SRM number
1 | 4214000063900 | SEAL, TAMPER PROOF PLASTIC SURGICAL CONTAINERS, BLUE UNIVERSAL SINGLE USE. | EA | 500 | 3000020593
2 | 4214253607200 | TROCAR, KIT, ONE BLADED OBTURATOR, WITH TWO STABILITY SLEEVES, DOUBLE GASKET, 11 MM X 100 MM, DISPOSABLE, STERILE | EA | 309 | 3000020593
3 | 4228152802700 | CLEANING INDICATOR MONITORING THE CLEANING EFFICIENCY OF THE ULTRASONIC SELF-CONTAINED VIAL VISUALLY CHECKED FOR COLOR CHANGE STORAGE IN ROOM TEMPERATURE. | EA | 27 | 3000020593
4 | 4228180301200 | BIOLOGICAL INDICATOR, SELF-CONTAINED INDIVIDUAL VIALS FOR STEAM STERILIZERS, READOUT INCUBATION TIME LESS THAN 30 MIN, EXTERNAL CHEMICAL INDICATOR TYPE 1. | EA | 101 | 3000020593
5 | 4229490804900 | INSTRUMENT, CLINCH, FOR LAPAROSCOPIC, 5 MM X 30-37 CM LENGTH, DISPOSABLE, STERILE | EA | 5 | 3000020593
6 | 4231210501500 | PRE CLEAN ENZYMATIC SPRAY, FOR POINT OF USE, READY TO USE, NOT LESS THAN 3 ENZYMES (AMYLASE, PROTEASE, LIPASE), SURFACTANT, CLINGS TO SOIL, MAINTAIN THE MOISTURE DURING TRANSPORT UP TO 48 - 72 HOURS, OIL FILM FREE, DYE-FREE, NEUTRAL PH, CONTAINS CORROSION INHIBITORS, SAFE FOR ALUMINUM, SOFT METALS, GOLD HANDLES, RINSES FREE, LEAK PROOF, SIZE: 600ML # 1000 ML | EA | 2420 | 3000020593
7 | 4231220102700 | SUTURE, SILK, MULTIFILAMENT, NON-ABSORBABLE, SIZE 2/0, 25-26 MM, 1/2 CIRCLE, TAPER POINT NEEDLE, 70-75 CM, BLACK, STERILE | DZ | 1 | 3000020593

## توزيع المناطق
Original Generic | Original Open Qty | Original Plant | Original Delivery Address
4231220102700 | 1 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير
4214253607200 | 309 | C2C1 | مستودع الرياض - وزارة الصحة
4229490804900 | 3 | S2C1 | مستودع عسير - وزارة الصحة
4229490804900 | 2 | W2C1 | مستودع جدة - وزارة الصحة
4214000063900 | 500 | N2C2 | مستودع نوبكو الجوف وزارة الصحة
4228152802700 | 10 | N2C2 | مستودع نوبكو الجوف وزارة الصحة
4228152802700 | 7 | C2C1 | مستودع الرياض - وزارة الصحة
4228180301200 | 36 | C2C1 | مستودع الرياض - وزارة الصحة
4228180301200 | 32 | C2C1 | مستودع الرياض - وزارة الصحة
4228180301200 | 14 | C2C1 | مستودع الرياض - وزارة الصحة
4228152802700 | 10 | C2C1 | مستودع الرياض - وزارة الصحة
4228180301200 | 19 | C2C1 | مستودع الرياض - وزارة الصحة
4231210501500 | 531 | N2C2 | مستودع نوبكو الجوف وزارة الصحة
4231210501500 | 1005 | C2C1 | مستودع الرياض - وزارة الصحة
4231210501500 | 120 | C2C1 | مستودع الرياض - وزارة الصحة
4231210501500 | 432 | C2C1 | مستودع الرياض - وزارة الصحة
4231210501500 | 332 | C2C1 | مستودع الرياض - وزارة الصحة