## الطرح
SN | Items Code | Item Description | UOM | Needed QTY | RFX Nr.
1 | 4229550502600 | HANDLE, FOR LONG TREPHINE BLADE, UNIVERSAL, STAINLESS STEEL, REUSABLE | EACH | 109 | 3000023906
2 | 4229494104700 | "BILIARY EXTRACTION BASKET, WIRE GUIDED, ASSORTED NUMBER OF WIRES, AND ASSORTED OPENING DIAMETER, SHORT WIRE SYSTEM (RAPID EXCHANGE)" | EA | 239 | 3000023906
3 | 4214210500400 | TRANSDUCER KIT, INTRACRANIAL PRESSURE, BOTH SUBDURAL AND INTRA PARENCHYMAL PRESSURE MONITORING, DISPOSABLE, STERILE | PIECE | 151 | 3000023906
4 | 4112210201400 | "SEPTA, 96- WELL PLATES, COMPATIBLE WITH 3500/3500XL GENETIC ANALYZERS" | TEST | 6720 | 3000023906
5 | 4118160101800 | TEST, BETA HCG (BHCG), COMPATIBLE WITH COBAS E402, E801 ANALYZER | TET | 8700 | 3000023906
6 | 4111620012600 | TEST, CREATININE, CHEMISTRY, COMPATIBLE WITH ALINITY | TET | 319500 | 3000023906
7 | 4111620013700 | TEST, TRIGLYCERIDE, CHEMISTRY, COMPATIBLE WITH ALINITY | EA | 58800 | 3000023906
8 | 4111610205100 | "VIAL, ANTI-D, FOR BLOOD GROUPING, IGG+IGM, COMPATIBLE WITH GALILEO/ECHO AND NEO-IRIS" | TEST | 293 | 3000023906
9 | 4111614763800 | TEST BARBITURATES SCREEN IMMUNOASSAY URINE COMPLETE WITH ALL TEST FOR ALINITY ANALYZER | TEST | 4800 | 3000023906
10 | 4111614764100 | TEST CANNABINOIDS SCREEN IMMUNOASSAY URINE COMPLETE WITH ALL TEST FOR ALINITY ANALYZER | TEST | 52000 | 3000023906
11 | 4111614764300 | TEST COCAINE SCREEN IMMUNOASSAY URINE COMPLETE WITH ALL TEST FOR ALINITY ANALYZER | TEST | 18000 | 3000023906
12 | 4215271215500 | STAINLESS STEEL BAND FOR DECIDUOUS MOLAR ASSORTED SIZES (UPPER AND LOWERRIGHT AND LEFT) | EA | 3670 | 3000023906
13 | 4200014200700 | INLINE SENSOR RELATED TO DETECTOR LEAK POSTOPERATIVE | Pack | 300 | 3000023906
14 | 4215210015300 | "ORBITAL FLOOR RECONSTRUCTION, FAN-SHAPED IMPLANT, POROUS POLYETHYLENE (HDPE) WITH NON-POROUS MEMBRANE, SIZE 40 MM RADIUS, THICKNESS 1.0 MM, TEMPLATE INCLUDED FOR SHAPING AND INSERTION, FIXATION WITH SCREWS OR SUTURES " | each | 84 | 3000023906
15 | 4214230200000 | PAPER, ECG PAPER, FOR MAC VU360, SIZE APPROX. 210MM X 295MM | SET | 4784 | 3000023906
16 | 4227222401800 | BREATHING CIRCUIT, NEONATAL, SINGLE LIMB HEATED BREATHING CIRCUIT KIT WITH PROXIMAL LINE TUBE, INFANT, FLOW CONNECTING TUBE, TUBING TRANSPARENT, EXTERNAL SPIRAL, HEATING ELEMENT INSERTED IN THE SPIRAL OF TUBING, INSULATED TRANSPARENT PORT, ALL REQUIRED CONNECTORS, HUMIDIFICATION CHAMBER AND WATER TRAP LATEX FREE, PHTHALATES FREE, NON-CONDUCTIVE, COMPATIBLE WITH ALL VENTILATOR BRANDS AND MODES (EXCEPT SENSOR MEDIX) IN MOH HOSPITAL’S NEONATAL UNITS (NICU) | SET | 6447 | 3000023906

## توزيع المناطق
Generic Mat Code | Plant | Delivery Address | Nedded QTY