## Sheet1
SN | Generic Code | Generic Name | Requested Quantity | UOM | INUPCO
1 | 4228152118000 | PROTECTORS/GUARD ROUND TIP, WHITE TENT, VENTED, PLASTIC, ALL ASSORTED SIZES LATEX FREE, AUTOCLAVABLE | 24000 | Each | NDP0823/26
2 | 4214360503000 | MIXING QUILL, FOR DRAWING UP FLUIDS, LUER FITTING FOR SYRINGE, TAPERED DISTAL END, NON-KINKING, LENGTH 25-30 CM, STERILE, DISPOSABLE. | 270 | each | NDP0823/26
3 | 4110630060700 | ORGANISM, SALMONELLA ENTERITIDIS ATCC 13076,DISK / STICK / SWAB, LYOPHILIZED | 1 | BOX | NDP0823/26
4 | 4214150201600 | APPLICATOR, WOODEN, NON-STERILE, WITHOUT COTTON, 6 INCH | 60000 | EACH | NDP0823/26
5 | 4229541200000 | VASCULAR GRAFT EXPANDED POLYTETRAFLUOROETHYLENE (EPTFE) STRETCH STRAIGHT THIN WALL REMOVABLE EXTERNAL RINGS 8 MM INTERNAL DIAM / ETER 70 CM LENGTH | 30 | EACH | NDP0823/26
6 | 4232171500300 | INSTRUMENTATION SET COMPLETE FOR RADIAL HEAD REPLACEMENT WITH NECESSARY CASE AND IMPLANT TRAY | 1 | EACH | NDP0823/26
7 | 4229161432000 | INSTRUMENT SCISSORS DRESSING BLUNT MOLDED FROM A HIGH-STIFFNESS STRAIGHT BLUNT/BLUNT LENGTH 14 CM (+/-2) STERILE DISPOSABLE.... | 700 | Each | NDP0823/26
8 | 4231200502900 | SKIN CLOSURE, SILK, WOVEN MESH, ADHESIVE, SIZE 32 X 2.5 cm | 170 | EACH | NDP0823/26
9 | 4229421103000 | SURGICAL INSTRUMENT TIP CAPS, OSTEOTOME WITH VENT, BLUE TINTED, ASSORTED SIZES | 15000 | Each | NDP0823/26
10 | 4110450900100 | INTRAUTERINE VACUUM SYSTEM, FOR POSTPARTUM UTERINE BLEEDING, SILICONE LOOP WITH MUTIPLE EYELETS AND SILICONE BALLON FOE CERVICAL SEALING, SINGLE USE, STERILE | 40 | EACH | NDP0823/26
11 | 4229450005700 | KIT, TREATMENT CARD/USB, PRE-FILLED SYRINGE TRYPAN BLUE 0.4%, FOR CAPSULASER MACHINE | 30 | BOX | NDP0823/26
12 | 4227191544700 | MASK OXYGEN ADULT, CLEAR PLASTIC, SMALL EXHALATION PORT BILATERAL , WITH CO2 PORT , OXYGEN TUBING RESISTANT LENGTH 2.1 M ADU LT DISPOSABLE | 400 | Each | NDP0823/26
13 | 4229290440500 | SUTURE, POLYDIOXANONE, MONOFILAMENT, ABSORBABLE, SIZE 0, 30 MM ( +/- 1 MM ), J-NEEDLE, TAPER POINT NEEDLE, 70-75 CM, VIOLET, STERILE | 5 | Box | NDP0823/26
14 | 4229516201300 | IRRIGATION TUBING, FOR FLEXIBLE URETEROSCOPY, MANUAL PUMP, PRESSURE CONTROL CHAMBER, 2 SPIKE, SINGLE USE, STERILE | 100 | EACH | NDP0823/26
15 | 4215161401800 | DENTAL SURGICAL SUCTION/ASPIRATOR TIP, STERILE, SINGLE-USE, INDIVIDUALLY PACKED, PLASTIC, NARROW CONICAL TIP, TIP OPENING 2.8–3.0 MM, COMPATIBLE WITH EACH HOSPITAL DENTAL SUCTION | 100 | EACH | NDP0823/26
16 | 4229472200900 | REPLACEMENT INJECTION PORT, NEEDLE-FREE, FOR EXTERNAL VENTRICULAR DRAINAGE SYSTEM, DISPOSABLE, STERILE | 5 | EACH | NDP0823/26
17 | 4229472201000 | REPLACEMENT BACTERIA FILTER, FOR EXTERNAL VENTRICULAR DRAINAGE SYSTEM, DISPOSABLE, STERILE | 5 | EACH | NDP0823/26
18 | 4228190204000 | SHEET SINGLE USE NON STERILE ABSORBENT 52 X 83 INCH OR 132 X 211 CM (CSSD MOR DECON NON STERILE) | 9000 | Each | NDP0823/26