## Sheet1
SN | Generic Code | SAP Generic Name | QTY | INUPCO
1 | 4231150013300 | TAPE, PEDIATRIC LENGTH BASED WEIGHT ESTIMATION, COLOR CODED | 38 | NDP0836/26
2 | 4229421103100 | SURGICAL INSTRUMENT TIP CAPS, OSTEOTOME WITH VENT, BLUE TINTED, ASSORTED SIZES | 15000 | NDP0836/26
3 | 4110421300400 | BOTTLE DISTILLED WATER 5L | 3600 | NDP0836/26
4 | 4111610585300 | STRIP, URINALYSIS, 13 PARAMETER DETERMINE (GLUCOSE, UROBILINOGEN, KETONES, BILIRUBIN, PROTEIN) | 60000 | NDP0836/26
5 | 4227160023100 | MOUTHPIECE WITH BUILT-IN BACTERIAL/VIRAL FILTER, NOSE CLIP, FOAM PADS, CORRUGATED TUBE AND ADAPTER, WITH 30 MM (ID) DIAMETER AND OVAL SHAPE TERMINAL, COMPATIBLE WITH AKTINA PULMONARY FUNCTION OR EQUIVALENT , DISPOSABLE. | 8 | NDP0836/26
6 | 4229640801500 | SPONGE,FOR ENDOSCOPY BEDSIDE CLEANING, DRY | 3 | NDP0836/26
7 | 4110630043300 | KIT LEGIONELLA PCR AND DNA EXTRACTION KITS DIRTY WATER | 1500 | NDP0836/26
8 | 4111614411300 | TEST, MONKEYPOX AND SKIN RASH PANEL, REAL-TIME PCR, COMPATIBLE WITH RADI FAST SYSTEM | 6000 | NDP0836/26
9 | 4219230301000 | SLING, PATIENT LIFT, WITH HEAD SUPPORT, CLIP ATTACHMENT, SIZE: LARGE, DISPOSABLE | 70 | NDP0836/26
10 | 4112280404000 | RACK, PERTI DISH HOLDER, SMALL | 20 | NDP0836/26
11 | 4112280404100 | RACK, PERTI DISH HOLDER, LARGE | 10 | NDP0836/26