## Sheet1
SN | GENERIC CODE | DESC | QTY | INUPCO
1 | 4214150700100 | SWAB STICKS, CHLORHEXIDINE 2 % AQUEOUS, 3 PER PACK, COTTON TIP, NOTE: MSDS SHOULD BE PROVIDED IN SOFT COPY. | 7000 | NDP0952/26
2 | 4214170509900 | PAD SET, ANKLE STRAP STIRRUP, LARGE, FOR PATIENT POSITIONING IN LITHOTOMY, APPROX. 44 X 5 X 1 CM, REUSABLE | 8 | NDP0952/26
3 | 4229511201400 | PAD, OPERATING TABLE OVERLAY, TORSO, WITH PERINEAL CUTOUT, APPROX. 100 X 51 X 1.3 CM, PRESSURE REDISTRIBUTING, REUSABLE | 20 | NDP0952/26
4 | 4215150601300 | PROFESSIONAL IN-HOME TOOTH WHITENING GEL, CARBAMIDE PEROXIDE 10%–16%, FOR USE WITH DENTAL WHITENING TRAYS, SUPPLIED IN DISPENSING SYRINGES, ONE EACH (EA) = ONE (1) KIT | 40 | NDP0952/26
5 | 4220260301700 | 18 - F PSMA INJECTION 8 MCI EXPIRATION 4 HOURS POST CALIBRATION | 240 | NDP0952/26
6 | 4214170509800 | HEADREST, PRONE POSITION, MEDIUM, WITH CENTRAL FACIAL CUTOUT AND TUBE ACCESS CHANNELS, APPROX. 22 X 20 X 12 CM, REUSABLE | 8 | NDP0952/26
7 | 4214210806900 | HOT AND COLD GEL PACKS, CAN BE MICROWAVED FOR HEAT THERAPY OR FROZEN FOR COLD THERAPY, MOLD COMFORTABLY TO THE BODY DURING TREATMENT, ASSORTED SIZE | 170 | NDP0952/26
8 | 4214170510000 | PROTECTOR, ULNAR NERVE AND FOREARM, WRAPAROUND, APPROX. 46 X 33 X 0.6 CM, WITH ADJUSTABLE CLOSURE, REUSABLE | 8 | NDP0952/26
9 | 4227150507900 | BRONCHOSCOPE DISPOSABLE FLEXIBLE SIZE 3.5MM (+/- 0.4MM) STERILE COMPATIBLE EACH HOSPITAL STANDER | 55 | NDP0952/26
10 | 4214170509700 | HEAD PAD, SUPINE POSITION, WITH CENTRAL OCCIPITAL SUPPORT, APPROX. 25 X 23 X 5.7 CM, PRESSURE REDISTRIBUTING, REUSABLE | 20 | NDP0952/26
11 | 4229511201200 | PAD SET, OPERATING TABLE OVERLAY, 3 PIECES, HEAD, TORSO WITH PERINEAL CUTOUT AND FOOT SECTIONS, PRESSURE REDISTRIBUTING, REUSABLE | 20 | NDP0952/26
12 | 4229600648700 | VASCULAR GRAFT, EPTFE, STRETCH, STRAIGHT, THIN WALL, 7 MM INTERNAL DIAMETER, 70 CM TOTAL LENGTH, STERILE | 3 | NDP0952/26
13 | 4229511201100 | PAD AND SHIELD SET, ARM/LEG GUARD, FOR OPERATING TABLE PATIENT POSITIONING AND PROTECTION, PAD APPROX. 41 X 21 X 1 CM, REUSABLE | 8 | NDP0952/26
14 | 4221151100700 | PAD, KNEE CRUTCH, MEDIUM, APPROX. 43 X 28 X 0.6 CM, FOR PRESSURE AND SHEAR PROTECTION, REUSABLE | 20 | NDP0952/26
15 | 4229511201300 | PAD, OPERATING TABLE OVERLAY, FULL LENGTH, APPROX. 183 X 50 X 1.3 CM, PRESSURE REDISTRIBUTING, REUSABLE | 20 | NDP0952/26
16 | 4215000001100 | DENTAL MOUNTED SILICON CARBIDE GREEN STONE, TAPERED FLAT END, FINE GRIT, ISO 655 104 171 513 025 OR EQUIVALENT, ONE EACH (EA) = ONE (1) PIECE | 60 | NDP0952/26
17 | 4219000085600 | PATIENT LATERAL TRANSFER BOARD, COMPACT ROLLER TYPE, SUITABLE FOR GYNECOLOGICAL AND UROLOGICAL OPERATING TABLES, FOR SAFE AND EASY PATIENT TRANSFER, SIZE 90 X 50 CM (+/-2 CM), MINIMUM LOAD CAPACITY 180 KG, LIGHTWEIGHT, REUSABLE. | 13 | NDP0952/26
18 | 4229540700000 | N95 MASK MOLDED/ FOLDED V-SHAPED REGULAR /LARGE SIZE PLEATED DESIGN THAT FLEXES WITH MOUTH MOVEMENT FOR EASIER TALKING AND EXPANDS FOR EASE OF BREATHING.(POSITIVE FACIAL LOCK) CONTAINS NO COMPONENTS MADE FROM NATURAL RUBBER LATEX. DESIGNED TO BE FLUID RESISTANT TO SPLASH AND SPATTER OF BLOOD AND OTHER INFECTIOUS MATERIALS INTENDED TO REDUCE WEARER EXPOSURE TO AIRBORNE PARTICLES PROVIDES 95% FILTRATION EFFICIENCY OF AT LEAST 0.3 MICRON PARTICLES IN A SIZE CLEARED AS A SURGICAL MASK.FILTER MATERIAL-POLYPROPYLENE DISPOSABLE..... | 60000 | NDP0952/26
19 | 4214261501200 | MIXING QUILL, FOR DRAWING UP FLUIDS, LUER FITTING FOR SYRINGE, TAPERED DISTAL END, NON-KINKING, LENGTH 25-30 CM, STERILE, DISPOSABLE | 4200 | NDP0952/26
20 | 4215161417900 | INTRAORAL ELASTICS 1/8 INCH (3.2 MM) HEAVY FORCE (6 OZ - 170 G) ONE EACH (EA) = ONE (1) PACK | 60000 | NDP0952/26
21 | 4215161401800 | DENTAL SURGICAL SUCTION/ASPIRATOR TIP, STERILE, SINGLE-USE, INDIVIDUALLY PACKED, PLASTIC, NARROW CONICAL TIP, TIP OPENING 2.8–3.0 MM, COMPATIBLE WITH EACH HOSPITAL DENTAL SUCTION | 100 | NDP0952/26
22 | 4213170403600 | TOWEL, OPERATING ROOM, LATEX FREE PREWASHED AND DELINTED S.U.D, 65 X 85 CM ( +/- 5 CM ), PACK OF 2, DISPOSABLE, STERILE | 43000 | NDP0952/26
23 | 4320154300000 | VASCULAR COUPLING DEVICE USED FOR VEINS AND ARTERIES ANASTOMOSIS ASSORTED SIZE SINGLE USE STERILE(1 FREE OF CHARGE SET OF VASCULAR / COUPLING WITH 20 EACH COUPLER).... | 60 | NDP0952/26
24 | 4229541200200 | VASCULAR GRAFT, EPTFE, STRETCH, STRAIGHT, THIN WALL, REMOVABLE EXTERNAL RINGS, 6 MM INTERNAL DIAMETER, 80 CM TOTAL LENGTH, STERILE | 100 | NDP0952/26
25 | 4215161401100 | DENTAL IMPLANT PROSTHETIC SCREWDRIVER FOR HANDPIECE/CONTRA-ANGLE, REUSABLE, STAINLESS STEEL, ASSORTED LENGTH, COMPATIBLE WITH EACH HOSPITAL DENTAL IMPLANT SYSTEM | 20 | NDP0952/26
26 | 4229161400500 | INSTRUMENT, SCISSORS, DRESSING, BLUNT, MOLDED FROM A HIGH-STIFFNESS, STRAIGHT, SHARP/BLUNT, LENGTH 14 CM (+/-2), STERILE, DISPOSABLE | 54000 | NDP0952/26
27 | 4214270212400 | FOLEY CATHETER TRAY, CONSISTENT OF: FOLEY CATHETER 2-WAYS PURE SILICON 6FR, 20-40 LONG WITH LATERAL EYES, BALLOON SIZE: 5-15 ML WITH FUNNEL END VALVE SUITABLE TO BE USED WITH SYRINGE LUER LOCK, WITH TEMPERATURE PROBE, CYLINDRICAL URINE METER, WITH DOUBLE PLASTIC HANGER AND ABOUT ONE METER LONG TUBE (CLEAR AND FIXED NUMERICAL GRADUATION WITH ANTI-REFLUX VALVE), PACKET POVIDONE-IODINE SWABSTICKS, 2 DRY SWABS, 10CC SYRINGE (PRE-FILLED WITH STERILE WATER), LATEX-FREE AND POWDER-FREE GLOVES REGULAR SIZE, LUBE JELLY, SECUREMENT DEVICE, UNDERPAD, STERILE | 380 | NDP0952/26